- BEFORE THE HON’BLE KERALA STATE ELECTRICITY REGULATORY COMMISSION

In the matter of	: Petition under Regulation 63 and Regulation 67 of the KSERC (Renewable Energy & Net Metering) Regulations 2020 seeking approval for the detailed procedure for implementing KSERC(Renewable Energy & Net Metering) Regulations,2020 and its amendments.

Petitioner		:Kerala State Electricity Board Limited

Vydyuthi Bhavanam, Pattom, Thiruvananthapuram

KSEBL most humbly submit the following:

- Kerala State Electricity Board Limited (KSEBL), is an integrated State Public Sector power utility company constituted by the State Government. KSEBL is carrying out the Generation, Transmission and Distribution functions through three strategic business units.

- Hon’ble Commission notified KSERC (Renewable Energy & Net Metering) Regulations,2020 on 7-2-2020, effective from 5-6-2020.

- Regulation 63 of the KSERC (Renewable Energy & Net Metering) Regulations,2020 stipulates the following:

Quote:

“63. Procedure for getting approval of the detailed procedure for implementing the provisions of these Regulations.-

(1) KSEB Ltd, as the incumbent distribution licensee, shall within one month from the date of notification of these Regulations in official Gazette, shall prepare and submit to the Commission, in co-ordination with STU the detailed procedure for implementing the provisions of these Regulations, including the following; (i) procedure for getting feasibility certificate for getting connectivity for RE systems. (ii) Filing applications for connectivity including format and fees to be remitted. (iii) Procedure for availing banking facility including the draft banking agreement. (iv) Billing procedure under net metering facility provided under Chapter-III, (v) Accounting and billing procedures for prosumer having RE plant with capacity more than 1 MW and captive use specified under Chapter-IV.”

- In compliance, with the above, KSEBL submitted before Hon’ble Commission, a detailed

procedure on 24-2-2021. Copy of the same is enclosed as Annexure-1.

- Subsequently, to remove difficulties in the implementation of various provisions in the Regulations and to be in line with the subsequent orders of Hon’ble Commission, following modifications are made by RE Committee constituted as per Regulations in the already submitted detailed procedure. It is humbly requested that the following modifications may also be kindly incorporated while approving the detailed procedure.

TABLE – 1

| Sl No. | Particulars of changes needed in the detailed procedure for grid connectivity | Suggestion approved by the RE committee |
| --- | --- | --- |
| 1 | Conversion of prosumer to consumer | Clause (13) (2) General conditions of KSERC (Renewable Energy & Netmetering) Regulation 2020 a sub clause may be added to permit the prosumer to consumer status when the beneficiary request the same and necessary corrections to be made in the point 2.2.1 in the detailed procedure and permitted to make modifications in the Orumanet with settlement of banked units if any. Provision to include settlement of banked units, any pending payment to be settled may be adjusted to the prosumer during settlement period to be included in Orumanet. |
| 2 | Permission to enhance feasibility capacity of RE plant during registration or modification after registration | Clause (19) (3) General conditions of KSERC (Renewable Energy & Netmetering) Regulation 2020 a sub clause may be added to permit the consumer to enhance the capacity of Solar Plant or permit modification of the capacity as per request of the beneficiary subject to the technical limits specified in the Clause 14 of the KSERC (Renewable Energy & Netmetering) Regulation 2020 and necessary corrections to be made in the point 2.5.11 in the detailed procedure and permit to make modifications in the Orumanet. Provision to include capacity enhancement or change during registration based on request of prosumer and also provision to modify the capacity before submitting the completion report. |
| 3 | Shifting or Location change of Solar plants or owner change | Clause (13) (1) General conditions of KSERC (Renewable Energy & Netmetering) Regulation 2020 a sub clause may be added to permit the prosumer to become consumer for shifting or location change of the Solar plant when the beneficiary request the same subject to the technical limits specified in the Clause 14 (1) of the KSERC (Renewable Energy & Netmetering) Regulation 2020 and necessary corrections to be made in the point 2.2 in the detailed procedure and permitted to make modifications in the Orumanet. Provision to include location change and to give fresh application for the location shifting or location change |
| 4 | Enhancement of capacity of Solar plants for Agricultural consumers – MNRE PM- KUSUM work – more capacity upto 15 kW is required for solarisation of Agricultural pumps | Clause (13) (2) (a) General conditions of KSERC (Renewable Energy & Netmetering) Regulation 2020 a sub clause may be added to permit the agricultural consumers to install ‘Renewable Energy System’ of capacity up to 20 kW, irrespective of their connected load as these agricultural consumers – solarisation of their pumps up to capacity of 15 kWp in the PM KUSUM scheme of MNRE and necessary corrections to be made in the point 2.2.1(a) in the detailed procedure and permitted to make modifications in the Orumanet. Include provision of the agricultural consumers with connected load up to 20 kW is permitted to install ‘Renewable Energy System’ of capacity up to 20 kW, irrespective of connected load |

TABLE – 2

| Sl No. | Particulars of changes needed in the detailed procedure for grid connectivity | Approved by Hon’ble KSERC |
| --- | --- | --- |
| 1 | In case of group housing societies and residential flats for common services such as lift, common lighting, club house, car parking common areas etc., to install Solar PV system under netmetering as a prosumer, upto a maximum capacity of their connected load. | Distribution licensee shall irrespective of the connected load /contract demand permit group housing societies and residential flat complexes availing at LT voltage levels for common services such as lift, common lighting, club house, car parking etc., to meet their power requirements of their common services, to install ‘Renewable Energy System’ under netmetering as a prosumer, upto a maximum capacity of 100 KW and necessary corrections to be made in the point 2.2.1(a) in the detailed procedure and permitted to make modifications in the Orumanet. Include provision of the group housing societies and residential flat complexes availing at LT voltage levels for common services such as lift, common lighting, club house, car parking etc., to meet their power requirements of their common services, to install ‘Renewable Energy System’ under netmetering as a prosumer, upto a maximum capacity of 100 KW irrespective of connected load. |
| 2 | Feasibility for consumers/ prosumers applying for netmetering facility upto 1 MW shall be permitted to avail this facility with technical restriction subject to applicable regulations as specified in Chapter III of the regulations ref (1) | Feasibility for consumers/ prosumers applying for net metering facility upto 1 MW shall be permitted to avail this facility upto their contract demand without any restriction subject to applicable regulations as specified in Chapter III of the regulations and necessary corrections to be made in the point 2.2.1(a) in the detailed procedure. |

- In addition to the above following are submitted:

- KSEB Ltd had on 28.07.2015 submitted a petition before KSERC requesting to approve the charges for the pre-commissioning tests / routine tests of grid connected solar PV plants as Rs.8000/- .

- However, Hon’ble Commission vide its order No : 1521/CT/2015 dated 01.01.2016 observed the following:

“The portion of registration fee retained by the licensee would be sufficient to meet the expenses if any, for conducting the tests required for giving connectivity. Therefore there is no need to allow a separate fee as proposed by KSEB Ltd for testing and commissioning of the grid interactive distributed solar systems of and below 1 MWp. The Commission therefore declines the request of KSEB Ltd to approve Rs 8000/- as the fee for testing and commissioning of the grid interactive distributed solar systems of and below 1 MWp.”

- Hon’ble Commission issued following orders on the above petition:

“28. Orders of the Commission : (i) In view of the fact that KSEB Ltd would be allowed to retain an amount at the rate of Rs 200/- per kWp, it is found that there is no need for any further fee for the pre-commissioning tests and routine tests as proposed by it and therefore the first prayer is declined.”

- It is submitted that there are lot of instances, where in some locations the testing team have to conduct the testing twice or thrice due to failure from the side of the Renewable energy system installed by the prosumer. KSEBL is incurring expenditure in terms of manhour of employees, proportionate charges of equipments used for testing, conveyance charges for visiting the consumer premises etc. With the increased renewable energy penetration, the expenditure towards the same is increasing significantly, which gets loaded on to the ordinary consumers of the State.

- Therefore, it is requested that the provisions in the Regulations and the detailed procedure may be modified in such a way that when the prosumer offers a RE plant for testing and the test fails due to the issues connected with the plant and its related systems, the prosumer shall re-apply for the connection afresh after observing all formalities as envisaged in the Regulations. It is also requested that the Electrical Inspectorate may also be authorized for carrying out the test.

- It is further submitted that Hon’ble Commission on 15-7-2022 notified the KSERC (Renewable Energy and Net Metering)(First Amendment)Regulations,2022, which necessitates following modifications in the detailed procedure:

- Following paragraph is to be added after 3rd paragraph of clause 2.2.1(a) of the detailed procedure.

“Explanation: The Distribution Licensee shall permit, ‘residential flats’ availing supply at LT for the common services and categorized under the domestic tariff, to install Solar PV system under net metering as Prosumer, upto a maximum capacity of 100 kW, subject to the conditions specified under Regulation 13(3) of these Regulations and other Rules and Regulations in force.”

- Insertion of new clauses under clause 2.5 of the detailed procedure for incorporating new Regulation 17A, new provisos under Regulation 18(1), 18(6), 18(A) of the amendment Regulations as follows:

“The distribution licensee shall facilitate the process for setting up of RE generation system at the prosumers’ premises.

In this regard, the licensee shall: - (a) create an online portal for receiving applications from prosumers for installation, interconnection and metering of distributed renewable energy systems or devices at their premises, and update the same on a regular basis; (b) prominently display on its website and in all its offices, the following; namely: - (i) detailed standardized procedure for installation and commissioning of roof top solar system; (ii) a single point of contact to facilitate the consumers in installation of roof top solar system from submission of application form to commissioning; (iii) address and telephone numbers of offices where filled-up application forms can be submitted; (iv) complete list of documents required to be furnished along with such applications; (v) applicable charges to be deposited by the applicant; (vi) empaneled list of service providers for the benefit of consumers who want to install roof top solar PV system through service providers; and (vii) financial incentives to the prosumers, as applicable under various schemes and programmes of the Central and State Governments;”

Provided that the application forms shall be accepted online or through hard copy or through web portal; Provided further that in case the application form submitted is in hard copy form, the same shall be scanned and uploaded on the website within 3 working days of its receipt and acknowledgement with the registration number for that application shall be generated and intimated to the applicant within this period;

Provided that in case the application form is received online through web portal of the distribution licensee, the acknowledgement with the registration number shall be generated immediately on submission of application;

Provided further that the application shall be deemed to be received on the date of generation of acknowledgement with registration number;

The application tracking mechanism based on the unique registration number shall be provided by the distribution licensee through web based application or any other mode to monitor the status of processing of the application like receipt of application, site inspection, meter installation and commissioning, etc.

Upgradation of the distribution system for connectivity: During the time period from the feasibility study till the completion of installation, in case, there is any requirement for upgradation of the distribution infrastructure like augmentation of service line, distribution transformer capacity etc., for installation of the required capacity of the solar PV system, the same shall be carried out by the distribution licensee, subject to the provisions in the Kerala Electricity Supply Code, amended from time to time.

- The instant petition is filed seeking approval of the detailed procedure submitted by Hon’ble Commission on 24-2-2021 and the modifications thereon as submitted in the instant petition.

Prayer

Considering the submissions made above, KSEBL humbly request approval of the detailed procedure prepared as per Regulation 63 of the KSERC(Renewable Energy & Net Metering) Regulations,2020 submitted before Hon’ble Commission on 24-2-2021 and the modifications thereon as submitted in the instant petition.

.

Chief Engineer(REES & SOURA, Commercial & Tariff)