## Sheet1
COST AT VOLTAGE MODEL |  | 2014-15
Energy Flow
| As per the Data of KSEB (MU) |  | Remarks
Energy Generated | 7205.07 |  | As per ARR
Auxiliary Consumption | 40.91
Energy Transferred to Transmission | 7164.16
Energy Purchased | 14854.86
External loss | 322.37
Inter-State sales
Energy Input at State pheriphery | 14532.49
Total Energy available in the System | 21696.65 | 21696.65
Transmission loss | 976.3492 | 4.5% | Assumption |  |  |  | 976.3492
Sales at EHT level | 2006.67 |  | As per ARR
Energy transferred to HT system | 18713.6308
Distribution loss (HT level) | 1235.0996 | 6.6% | Assumption |  |  |  | 1235.0996
Sales at HT level | 2810.21 |  | As per ARR
Energy Transferred to LT system | 14668.3211
Distribution loss (LT level) | 990.7611 | 6.754% | Assumption
Sales to LT consumers | 13677.56 |  | As per ARR
Distribution loss (HT+LT) | 2225.8608 |  | As per ARR
Total Losses |  | 3202.21 | As per ARR
Total Losses |  | 14.75% | As per ARR
Summary |  | EHT | HT | LT | Total
Input (MU) | 21696.65 | 21696.65 | 18713.6308 | 14668.3211
Loss (MU) |  | 976.3492 | 1235.0996 | 990.7611 | 3202.21
Sales (MU) |  | 2006.67 | 2810.21 | 13677.56 | 18494.44
Cost (ARR 2014-15)
Generation and power purchase |  | 7575.98 | As per ARR
Transmission |  | 775.21
Distribution |  | 3253.13 | [5 empty] | 775.21
Total |  | 11604.32 | [5 empty] | 18494.44
Energy Input (MU) |  | 21696.65
0.04712
| EHT (220kV/110kV/66kV) | HT (33kV/11kV) | LT (Below 11kV) | Total |  | 0.070664
Loss (%) | 4.5% | 6.6% | 6.754% | 14.76%
Loss (MU) | 976.3492 | 1235.0996 | 990.7611 | 3202.21 |  | 0.072437
Sales | 2006.67 | 2810.21 | 13677.56 | 18494.44
Energy usage | 2983.0192 | 4045.3096 | 14668.3211 | 21696.65 |  | 0.14759
Energy Transferred | 18713.6308 | 14668.3211 | 0
Energy Handled | 20720.3007 | 17478.5311 | 13677.56
Per unit Cost at Voltage Level
| At Interface point | EHT (220kV/110kV/66kV) | HT (33kV/11kV) | LT (Below 11kV)
Cost of Generation& Power purchase | 3.4918 | 3.6563 | 3.9147 | 4.1982
Wheeling/Transmisssion charges (EHT) |  | 0.37413 | 0.40057 | 0.40057
Wheeling/distribution charges (HT) |  |  | 0.93061 | 0.99802
Wheeling/distribution charges (LT) |  |  |  | 1.1892
Cost at Each interface Points | 3.4918 | 4.0304 | 5.2459 | 6.7861