| TECHNOPARK | PROJECTED ARR-ERC 2014-2015 |
| --- | --- |

# Electronics Technology Parks – Kerala (Technopark)

# Electricity Distribution Business

# AGGREGATE REVENUE REQUIREMENT

# &

# EXPECTED REVENUE FROM CHARGES

# PROJECTION FOR FY 2014-15

BEFORE THE HON’BLE KERALA STATE ELECTRICITY REGULATORY COMMISSION

Petition No	: ETPK/KSERC/ARR-ERC/2013-14/01

Date		: 04-02-2014

IN THE MATTER OF  :	Application for approval of projected Aggregate Revenue   Requirement and Expected Revenue from Charges for the financial year 2014-15.

AND

IN THE MATTER OF  : 	Electronics Technology Parks – Kerala (Technopark)

Park Centre, Technopark Campus,

Thiruvananthapuram -695581

The petitioner named above respectfully submits as under:

- This application for approval of the Aggregate Revenue Requirement (ARR) and the Expected Revenue from Charges (ERC) for the financial year 2014-15 is filed before the Hon’ble Kerala State Electricity Regulatory Commission, (hereinafter referred as Commission), in accordance with the provisions of the Electricity Act, 2003.

- This application has been prepared in accordance with the Kerala State Electricity Regulatory Commission (Conduct of Business) regulations 2003, Kerala State Electricity Regulatory Commission (Conduct of Business) Amendment Regulations, 2010 and terms and conditions of the Kerala State Electricity Regulatory Commission (Tariff) Regulations w.e.f 01-05-2013, 31-03-2014 issued by the Commission. The relevant provisions of Electricity Act 2003, were taken into consideration while preparing this petition.

Applicant

K G Girish Babu

Chief Executive Officer

Park Centre, Technopark Campus,

Date: 04-02-2014						  Thiruvananthapuram - 695581

Table of Contents

| Chapter No: | Title | Page No: |
| --- | --- | --- |
| 01 | Introduction | 05 |
| 02 | Electrical Project Details in Technopark Phase-I campus | 07 |
| 03 | Electrical Project Details in Technopark Phase-II&III campus | 10 |
| 04 | Electrical Project Details in Technopark Kollam campus | 11 |
| 05 | Electrical Project Details in Technocity campus | 13 |
| 06 | Demand Side Management Activities Proposed in FY 2014-15 | 14 |
| 07 | AT&C Losses | 15 |
| 08 | Consumer Mix Estimated for FY 2014-15 | 16 |
| 09 | Consumer Category wise Energy Requirement for 2014-15 | 17 |
| 10 | Revenue Mix estimated for 2014-15 | 21 |
| 11 | Increase in power purchase cost due to revised Bulk Supply Tariff. | 23 |
| 12 | Aggregate Revenue Requirement | 24 |
| 13 | Expected Revenue from Charges. | 25 |
| 14 | Comparison of ARR/ERC and treatment of Revenue Gap | 25 |
| 15 | Major Achievements during 2013-14. | 29 |
| Prayer |  | 30 |
| Annexure (Data Forms A-Z) |  |  |

- Introduction

In July 1990, the Government of Kerala conceptualized Technopark as a facility to foster the development of high-technology industries in the state. Technopark is an acronym for Electronics Technology Park, Kerala—an autonomous society under the Department of Information Technology, Government of Kerala. Technopark's aim is to create infrastructure and provide support required for the development of high-technology companies. Its stated mission is to "Provide, Viably, Superior Environment and Services with Assured Quality of Service to Make Technology Businesses Intrinsically Competitive and Successful, and Promote Regional Development through Synergistic Linkages between Industry, Government and Academia, based on Continuous Improvement and Innovation".

Technopark is the IT hub of the State of Kerala, and based in Trivandrum which can rightfully claim to be the knowledge capital of the region. Technopark provides world class, robust and failsafe physical, power and datacom infrastructure, offering a no compromise yet low cost enabling environment for IT industry that is leveraged by its occupant companies for a competitive advantage. Technopark aims to provide all the infrastructure and support facilities needed for IT/ITES and electronics companies to function. In addition to built-up office space, it also provides all utilities as well as the data connectivity. This is done either directly or through private partners. In addition, Technopark provides business incubation facilities for start-up firms as well as some social infrastructure for the personnel working in the park.

Technopark is the first CMMI Level 4 assessed Technology Park. Spread over 156acres (Technopark Phase-I campus), and about 4.5 million sq.ft. of built-up space, Technopark hosts over 225 IT and ITES companies, including 6 CMMI Level 5, 2 CMMI Level 3 and several ISO 9000 certified companies, employing over 30,000 IT Professionals. The select list of companies working at Technopark include  TCS, Infosys Technologies ,Oracle India Pvt Ltd, Ernst & Young, Allianz Cornhill ,UST Global, IBS, Suntec, NeSt, RR Donnelley&Co.,ICON, Collabora, RMESI, Alamy Images, Saudi Engineering Group, Toonz Animation, HCL, SperidianTechnologies,Satmetrix, Revenuemed, Accentia, Tata Elxsi etc.

Technopark has the best of nature's environment complemented by the most modern man-made facilities. Quality environment, international standard infrastructure, a comprehensive umbrella of support services, a significant cost advantage, easy access to excellent human resources and remarkable ease of starting up make Technopark, Trivandrum India's most promising IT destination.

Technopark is currently on an expansion mode by adding another 93 Acres as part of Phase III expansion, 40 acres as Technopark Kollam and 450 acres  as Technocity—an integrated IT township near Pallippuram. The policy of economic liberalisation initiated by the government of India in 1991 and the rapid growth of the global software industry during the 1990s substantially contributed to the growth of Technopark.

The units in Technopark include domestic firms, joint ventures and subsidiaries of foreign companies engaged in a wide variety of activities, which include embedded software development, smart card technology, enterprise resource planning (ERP), process control software design, engineering and computer-aided design software development, IT Enabled Services (ITES), process re-engineering, animation and e-business. Technopark is owned and administered by the Government of Kerala and is headed by a Chief Executive Officer. In addition to this, it has a Governing Council and a Project Implementation Board, both of which include top officials of the government. Administrative offices, including that of the CEO, are housed in the Park Centre building.

Technopark Phase-II campus is leased out to M/s UST Global and M/s Infosys Technologies Ltd. M/s Infosys has already started their operation from this campus.

Technopark Phase-III campus is adjacent to Technopark Phase-I campus. Technopark is constructing a 1 million sqft IT building in this campus, operation of IT/ITES clients had already been commenced from this building.

As a hub and spoke model of development, Technopark is developing a separate IT campus in the neighboring district Kollam. This campus has an area of about 44 Acres and is known as Technopark Kollam. Technopark is constructing a 1 lakh sqft IT building in this campus.

Technopark is constructing the Technocity project which is around 5kms north of the present campus. This campus is envisaged as an integrated township consisting of IT/ITES industries and will be the largest development project undertaken by Technopark. The total area of the campus will be around 450Acres.

- Electrical Project Details in Technopark Phase-I Campus.

Technopark Phase-I campus is spread over 156 Acres. There is a well-established power distribution system for supply of power to various consumers in the campus. Presently, Technopark has a power purchase agreement with KSEB for a contract demand of 15 MVA and the recorded power demand is around 15 MVA. Technopark receives electricity through four 11 kV feeders from 110 kV substation for distribution within the Technopark campus. The substation is operated and maintained by Kerala State Electricity Board (KSEB).

  - New 11 kV main receiving substation for catering to the additional power demand in future.

IT Giants M/s Tata Consultancy Services is in the process of establishing their 8 Lakh Sq. Ft software development center in Technopark Phase – I campus. The ultimate power demand projected by TCS for their SEZ campus is 9.72 MVA.

Two main receiving substations (11kV) situated within the campus receive power from 110kV substation Kazhakkuttom and feeds in to the power distribution system in Technopark Phase – I campus. These two substations are fully utilized and spare capacity is not available.

Therefore, considering the current power requirement in future it is proposed to install an additional 11 kV main receiving substation inside Technopark Phase I campus. The work has been tendered through e-tendering procedure and the contract is finalized to the lowest bidder.

The main scope of works under the contract involves the following:

- Supply, Installation, Testing and commissioning of 11kV HT panels.

- HT cable laying and end termination from 110 kV substation Kazhakkuttom to the proposed 11 kV substation.

- Modification (Civil works) of existing substation building.

The total value of the project is Rs. 1,74,62,759/- and the project was awarded to the contractor on 21-11-2013. The completion period of the project is four months.

  - Augmentation of existing power transmission system of KSEB for catering the additional power requirements of Technopark Campuses.

Presently, Technopark has a power purchase agreement with KSEB for a contract demand of 15 MVA for phase-I and 5 MVA for phase-II & III campuses respectively. At present the recorded power demand of phase-I campus is around 15 MVA and for phase-II & III campuses is around 1.5 MVA. Technopark phase-I campus avails power from KSEB through 4 No’s 11kV feeders and metering point is at EHT side. Technopark phase-III substation avails power at 110 kV voltage level from the Kazhakoottam – TERLS overhead line passing through the phase-III campus.

Technopark phase-I campus is undergoing a final expansion stage.                               Co-developers like TCS, TATA ELSXI, Leela Infopark, IBS, Amstor, M-squared building etc. are expanding their campuses. All these expansion works inside Technopark phase-I campus requires additional power during it’s operational phase. The existing contract demand with KSEB for Phase-I campus is not sufficient to cater the additional power requirement. Hence we have approached KSEB for enhancing the contract demand by 3 MVA, in order to meet the immediate requirement. As a result of various meetings and persistent follow up with KSEB, board has considered our request and accorded in principle approval for 3 MVA power allocation to phase-I campus subjected to the condition that the existing transmission system to the 110 kV substation Kazhakoottam need to be strengthened.

Technopark phase-II & III campuses are also in a rapid expansion mode. The construction of 1 million sq.ft IT building is completed in phase-III campus. The power demand expected when the building become fully operational is around 6 MVA. In Technopark phase-II campus the construction of new software development building, multi-level car parking building, food court building etc. of the co-developer M/s. Infosys Technologies Ltd. is fast progressing. The additional power requirement expected when these buildings becomes operational would be around 8 MVA. Another co-developer of Technopark M/s. UST Global is constructing their 6 Lakhs sq.ft IT building in phase-II campus, which is also nearing completion. The power requirement of this building is expected to be 6 MVA when it becomes fully operational. Considering the current expansion of projects in Technopark Phase-II & III campuses, we requested KSEB to enhance the existing power demand of 110 kV substation at phase-III campus from 5 MVA to 8 MVA for meeting the power requirement in the near future.

Considering our request KSEB has informed that in order to allocate additional power demand for Technopark, strengthening of incoming feeder from 220 kV substation Pothecode to 110 kV substation Kazhakoottam is required because the existing overhead line didn’t have the sufficient capacity to cater the additional power demand of Technopark so as to satisfy the redundancy criterion as informed by KSEB. Therefore KSEB proposed laying of new 110 kV UG cable from Pothecode substation to Kazhakoottam substation as a dedicated feeder for meeting the additional power requirement of Technopark campuses. For Technopark phase-II & III campuses, KSEB proposed laying of 110 kV UG cable from Kazhakoottam substation to Technopark phase-III substation since the existing Kazhakoottam – TERLS overhead in which the Technopark phase-III substation is connected presently will not have sufficient capacity to cater the additional power demand of phase-III substation, for the new projects in phase-II&III campuses.

We have requested KSEB to prepare and submit a detailed estimate for the augmentation of existing power transmission system of KSEB for catering the additional power requirement of Technopark Campuses. Accordingly KSEB has furnished the estimate and agreed to carry out the works under work deposit scheme.

The abstract of the estimate furnished by KSEB is as follows.

| Sl. No: | Item Description | Rs. (In lakhs) |
| --- | --- | --- |
| 01 | Laying 6.5km, 110kV UG cable – 4 runs from 220kV substation Pothencode to 110kV substation, Kazhakkuttom including it’s take off arrangement at Pothencode. | 2777.56 |
| 02 | Construction of four feeder bays at 110kV substation Kazhakkuttom, construction of single bus with sectionalizer for feeding four feeder bays with future transformer bays. | 860.78 |
| 03 | Laying 3.5km of 110kV EHV UG cable (single circuit) from 110kV substation Kazhakkuttom to 110kV substation Technopark phase-III campus including it’s take off arrangement at 110kV substation Kazhakkuttom. | 1218.71 |
| 04 | Interlinking of newly constructed bay with existing transfer bus at 110kV substation Kazhakkuttom by laying 0.5km, 1x630sqmm Aluminium UG cable and capacity enhancement of 2x12.5MVA transformer to 2x20MVA. | 388.26 |
|  | Total | 5245.31 |
|  | Service tax @ 12.36% | 648.32 |
|  | Total estimate amount | 5893.63 |
|  | Deduct: Total cost of taken back materials | 76.94 |
|  | Grand total | 5816.69 |
|  | Rounded to | 5817.00 |
| Rupees Fifty Eight Crores Seventeen Lakhs |  |  |

The detailed estimate will be presented before our project implementation board for approval after necessary corrections and modifications.

- Electrical Project Details in Technopark Phase- II & III Campus.

Technopark Phase-III Expansion is one of the ambitious projects of Technopark. 93 Acres of land adjacent to the existing Technopark Phase-I campus is being developed. Special Economic Zone status has already been obtained for 26 Acres of land. Technopark is constructing 1 million sq.ft IT building in 9 Acres SEZ land. The total capital outlay of the project is around Rs. 260 crores and the funding for the project is through a consortium of three banks. The Total power requirement of IT building constructed by Technopark will be around 6 MVA.

SEZ/ Non SEZ plots of varying acreage is allotted/ being allotted to IT/ITES co-developers. Technopark has implemented a failsafe 11kV Ring Main distribution network in the campus which will supply power to various IT/ITES companies including the IT building constructed by Technopark. The power for all establishments inside the campus will be supplied from the 110kV substation Technopark Phase-III.

  - Electrification of 1million sqft IT building in Phase-III campus Technopark.

Technopark is constructing a 1 million sqft built-up area IT building in Technopark Phase-III campus. This building is a multi-tenant facility which will be leased out to prospective IT/ITES companies. Power to this building will be supplied from 110kV substation Phase-III in the campus. Main components for power distribution in the building are

- 4No’s 2500kVA Transformers.

- 3No’s 1500kVA DG Sets and 4 No’s 625kVA DG sets for providing power back-up during power failures/ outages.

The construction works are nearing completion which will be completed in the forthcoming financial year.

  - Installation of compact secondary substation in Technopark phase-III campus.

A 500kVA compact secondary substation in Technocity campus is relocated to Technopark phase-III campus for providing power to SBC modules in 2nd floor of the building and for providing construction power to co-developers. The works are progressing at site and the fund requirement for this work is Rs. 15 lakhs.

- Electrical Project Details in Technopark Kollam Campus.

Kerala State Electricity Regulatory Commission has extended the electricity distribution license for Technopark, Kollam. Technopark as part of the hub and spoke model of development is expanding its activities to Kundra, Kollam, which is 63 km away from the Trivandrum Campus. This is to tap the Kerala's unique advantage of uniform talent distribution, Infrastructure and supporting IT platforms, e.g. telecom, datacom and digital exchanges, excellent infrastructure availability and back-up support. Technopark Kollam is located in 44.46 acres of prime land beside scenic Kanjirode Lake. This park is being developed as a Special Economic Zone.

As a distribution licensee, Technopark sets up its own power distribution infrastructure in this campus and distributes power to various investors in the campus. A receiving substation of 12.5 MVA capacity is being set up in the campus. Power will be drawn from the Kundara substation of KSEB at 110 KV and will be stepped down to 11 KV. Technopark also ensures 100% back up power arrangement.

Power for IT/ITES companies inside the campus will be supplied from the 110kV substation. The power will be conveyed to the 110kV substation through 110kV EHT UG Cables. The work of laying of these cables is entrusted with KSEB under work deposit scheme.

4.1	Electrification of IT Building Phase-I at Technopark Kollam

The power infrastructure required for IT building at Technopark Kollam is being implemented. Power to this IT building will be supplied from 110kV substation in the campus. Main components for power distribution in the building are

- 1 No. 1600kVA Transformer and 1 No. 500kVA Transformer.

- 2 No’s 625kVA DG sets.

Sanction for energization of the electrical installation in the building has been obtained from the electrical inspectorate. The project has been successfully completed and commissioned on December 2013.

- 110kV substation at Technopark Kollam

Construction of 110kV substation in the Campus in the final stages. A 12.5MVA transformer is installed in the substation to cater the initial power demand. Power to this substation will be sourced from 220kV substation Kundara which is around 2.6km away from the location. Power will be conveyed through 110kV EHV UG cable. Laying of this cable from 220kV substation Kundara is carried out by KSEB. Power to the extent of 6MVA is allocated in the 110kV feeder to this substation.

4 Runs 1Cx500mm2 110kV EHV UG cable is required for providing power from 220kV substation Kundara. The length of this cable would be around 2.6 kms. The work includes providing 1No. 110kV feeder bay for accommodating 110kV feeder to Technopark Kollam by shifting 2 No’s existing feeder bays for facilitating bus extension and installation of equipment. This is a capital intensive project necessary for providing power to Technopark Kollam. This work is undertaken by KSEB and is nearing completion. Technopark has already deposited Rs. 1829.61 lakhs with KSEB as work deposit for this purpose. The 110kV substation in Technopark Kollam campus could be commissioned after completion of this work.

- Electrical Project Details in Technocity Campus.

The Technocity project which is purported to be the State's biggest IT infrastructure project was officially launched on 05th June 2010. Technocity is being developed as an integrated township on 451 acres, and will encompass IT, ITeS infrastructure as well as residential, commercial facilities in addition to public service and educational institutions.

The creation of the integrated facilities would entail a capital outlay of Rs 5,000-8,000 crore spread over 7-10 years. This development has been planned in the public-private partnership (PPP) model in association with technically and financially competent private developers. There would be multiple partnerships in association with developers of varying financial capabilities for various parcels of land within the 451-acre campus. The entire project will be implemented through multiple special purpose vehicles in conjunction with leading developers. The first phase of the development is set to be completed within 3 years.

- 110/33/11 kV Air Insulated Substation & 110 kV Incoming UG Cable to AIS.

Initial power demand is proposed to be met by setting up an EHV main receiving substation. Instead of the conventional 110/33 kV or 110/11 kV substation 110/33/11 kV Substation is proposed due to the following reasons.

- The land parcels proposed by stakeholders of Technocity varies from large to small land parcels which calls for varied power demand which ranges from 11kV to 33kV.

- As per the Kerala Electricity Supply Code, up to 3 MVA, power shall be given at 11kV voltage level and beyond 3MVA up to 12MVA power shall be given at 33kV voltage level. Therefore, the distribution of power inside Technocity is to be done at 11kV and 33kV voltage levels.

The Substation is equipped with 2Nos. of 110/33kV; 12.5MVA and 1 No. 33/11kV; 10MVA transformer. The total estimated cost for Supply, Installation, Testing and Commissioning (SITC) of 110/33/11 kV Substation is Rs. 922 lakhs.

110 kV EHV UG cable will be laid for conveying power from Pothencode 220kV substation to the proposed 110kV substation in Technocity. The cable size is, 500 sq.mm single core, XLPE armored Aluminium cable. Four runs of cable ie. Single circuit of single core cable and one spare cable will be laid. The total estimated cost for this work is Rs. 1481 lakhs. Both the projects are proposed to be carried out as a single work package and the total capital outlay is Rs. 2403 lakhs.

- Demand Side Management Activities Proposed in FY 2014-15

Demand side management provides a range of technical, organizational and behavioral solutions to cut or decrease electricity consumption and demand side management is necessitated due to the steep rise in power consumption during peak hours, to improve the quality and reliability of power supply and to mitigate the impact of rising tariffs. Technopark aims to improve final electricity-using systems, reduce consumption, while preserving the same level of service and comfort.

  - LED street light system proposed in Technopark Phase-III campus.

Technopark proposes to implement LED street light system in the internal roads of the Technopark Phase-III campus. The solar LED street lighting project proposed during FY 2013-14 did not take off. The LED street lighting project proposed to be implemented may be connected to a solar generating station at a later stage.

The use of LED light fixtures having less power consumption than other light fixtures will reduce the power consumption for street lighting.

  - Conducting awareness programmes for minimizing the energy wastage.

Awareness programmes are planned to be conducted in the coming financial year for educating the consumers in order to minimize energy wastage in the customer’s premises. Leaflets will be distributed explaining various measures like usage of star rated equipment, proper energy usage practices etc. Through these activities we aim to alert the consumers about the energy wastage occurring in their office premises and providing solutions to avoid energy wastage.

- AT&C Losses.

The aggregate losses of the system are subdivided into technical and commercial losses. The technical losses consists of the losses in the transmission and distribution network, losses in transformer and other electrical equipment whereas commercial losses includes losses due to incorrect metering, billing errors, tampering of meters, sluggish meters etc.

All the electromagnetic type energy meters fitted in EB feeders in Technopark phase-I campus are replaced with more accurate electronic energy meters/ Trivector meters for accurate measurement of energy consumption. The detailed tabulation of the energy meters replaced are as follows.

| Sl. No: | Building Name | No: of electromagnetic energy meters replaced |
| --- | --- | --- |
| 1 | Nila | 47 |
| 2 | Gayatri | 8 |
| 3 | Chandragiri | 2 |
| 4 | Technomall | 14 |
| 5 | Park Centre | 8 |
| 6 | Pampa & Periyar | 5 |
| Total No. of meters replaced |  | 84 |

Technopark has 5 No’s power transformers in 110kV substations and over 60 distribution transformers in service inside the campus which are installed by Technopark/ other co-developers. Considerable amount of energy losses occurs in these transformers. Also losses occurs in UG cables and other LT cables, however it is low compared with the transformation losses.

A comparison of the AT&C losses based on the trued up figures and the figures approved by Hon’ble Commission is shown below.

- Consumer Mix Estimated for FY 2014-15

The consumer mix proposed for FY 2014-15 as per the latest schedule of tariff is as follows which indicates percentage share of each category.

| Category | No. of Consumers | % Share |
| --- | --- | --- |
| HT-I (Industrial) | 16 | 3.38% |
| HT - II (Non Industrial) | 1 | 0.21% |
| HT - IV (Commercial) | 1 | 0.21% |
| LT IVA (Industrial - Non TOD) | 6 | 1.27% |
| LT IVB Industrial IT & ITES < 20kW (Non TOD tariff) | 52 | 10.97% |
| LT IVB IT & ITES >= 20kW (TOD tariff) | 198 | 41.77% |
| LT - VI (B) Non-Domestic (1-Ph & 3-Ph) | 4 | 0.84% |
| LT VI C Non-Domestic (1-Ph & 3-Ph) | 37 | 7.81% |
| LT VII (A) Commercial (1-Ph) | 66 | 13.92% |
| LT VII (A) Commercial (3-Ph) | 58 | 12.24% |
| LT VII (B) Commercial | 16 | 3.38% |
| LT VIII General (3-ph) | 1 | 0.21% |
| Self Consumption | 3 | 0.63% |
| Street Lighting | 15 | 3.16% |
| Total | 474 | 100% |

It may be noted that the maximum number of consumers are from the LT industrial IT/ITES category, these consumers along with the IT/ ITES consumers under the HT category are the mainstay of the licensee. Consumers coming under self-consumption are Technopark phase-I campus, 110kV substation Technopark phase-III and Technopark Kollam campus. The total share of non IT consumers in the consumer base is 42.61%.

- Consumer Category wise Energy Requirement for 2014-15

Projection of consumption and demand is made taking into consideration the increase in power consumption due to the existing consumers and power consumption expected due to the addition of new consumers. The Technopark Phase-I Campus is almost saturated so new consumers expected for FY 2014-15 is less. Consumer growth is happening in IT buildings inside Technopark Phase-I Campus like leela Infopark building. The places where addition of new consumers is expected to take place are Tejaswini building, Leela Infopark building, Amstor building, Reception building, Bhavani building and TCS SEZ campus. TATA consultancy services is setting up their software development centre in 25Acres of SEZ land in Technopark Phase-I campus. The construction works of TCS campus is expected to be completed in financial year 2014-15. Only a part of the final demand projected for TCS campus is considered to project their consumption. M/s TATA consultancy services, Infosys Technologies ltd. (second connection) etc. are the HT consumers expected to be added to the consumer base in the financial year 2014-15.

UST global is constructing an IP enabled IT building in the land allotted to them in Technopark phase-2 campus. This building is expected to commence it’s operations during the next financial year. The electrical installation of the building was completed and sanction for energization obtained from electrical inspectorate. Power to their premises was energized during September 2013. The power consumption of existing consumer M/s Infosys is also expected to increase as their third IT building SDB-3 and support facilities is expected to commence operation. M/s Infosys has also started construction of their multi-level car parking facility which is expected to be completed by end of the next financial year.

The 1 million sqft IT building constructed by Technopark in phase-III campus was inaugurated on 15th January 2014. This IT building is a multi-tenant facility which will be occupied progressively. Six IT/ITES consumers has already started their operations from the building. The interior works of SBC modules in 2nd floor is completed and the works are fast progressing for third floor. Twenty two consumers will commence operations from the SBC modules. The power consumption of new consumers in this building is also considered for projecting the energy requirement.

The construction of 1-lakh sqft IT building in Technopark Kollam was also completed during the last financial year. IT/ITES consumers has already started operations from this building.

The expected consumption of consumers from various categories is tabulated as follows. Majority of the consumers and energy consumption is happening in the LT category of consumers. The consumer strength of HT consumer category is very less when compared with the LT consumer category, however around one third of the overall energy consumption is from these category of consumers. 97% of energy in the HT category is consumed by IT/ITES industrial consumers. Consumption of Non Industrial/ Commercial categories is less.

90% of the consumption in the LT category is by IT/ITES industrial consumers, out of this 58% of the consumption is by consumers having power demand over 20kW. Self-consumption/ Auxiliary consumption of the licensee are 1% of the total consumption of LT consumers.

The consumer categories have diversified as per the new tariff schedule. For the LT IT/ITES consumers TOD tariff is considered for the consumers having a connected load of 20kW or above. The consumer wise details and their annual consumption expected is tabulated below.

| Category | No. of Consumers | Annual Energy Consumption in Lakh Units | % Consumption |
| --- | --- | --- | --- |
| HT-I (Industrial) | 16 | 228.22 | 33.30% |
| HT - II (Non Industrial) | 1 | 1.52 | 0.22% |
| HT - IV (Commercial) | 1 | 7.91 | 1.15% |
| LT IVA (Industrial - Non TOD) | 6 | 2.38 | 0.35% |
| LT IVB Industrial IT & ITES < 20kW (Non TOD tariff) | 52 | 10.69 | 1.56% |
| LT IVB IT & ITES >= 20kW (TOD tariff) | 198 | 401.78 | 58.62% |
| LT - VI (B) Non-Domestic (1-Ph & 3-Ph) | 4 | 1.19 | 0.17% |
| LT VI C Non-Domestic (1-Ph & 3-Ph) | 37 | 3.98 | 0.58% |
| LT VII (A) Commercial (1-Ph) | 66 | 1.64 | 0.24% |
| LT VII (A) Commercial (3-Ph) | 58 | 17.89 | 2.61% |
| LT VII (B) Commercial | 16 | 0.16 | 0.02% |
| LT VIII General (3-ph) | 1 | 0.07 | 0.01% |
| Self Consumption | 3 | 4.75 | 0.69% |
| Street Lighting | 15 | 3.17 | 0.46% |
| Total | 474 | 685.36 | 100.00% |

The consumption pattern is represented graphically below.

- Revenue Mix estimated for 2012-13

The revenue mix is prepared by considering the revenue from tariff only, state levies and other income are not considered while calculating the revenue mix.

The revenue from various categories of consumers are tabulated below and graphical representation is also given.

| Category | No. of Consumers | Revenue (Rs. In lakhs) | % Share |
| --- | --- | --- | --- |
| HT-I (Industrial) | 16 | 1437.72 | 34.50% |
| HT - II (Non Industrial) | 1 | 9.28 | 0.22% |
| HT - IV (Commercial) | 1 | 54.74 | 1.31% |
| LT IVA (Industrial - Non TOD) | 6 | 11.48 | 0.28% |
| LT IVB Industrial IT & ITES < 20kW (Non TOD tariff) | 52 | 58.88 | 1.41% |
| LT IVB IT & ITES >= 20kW (TOD tariff) | 198 | 2321.85 | 55.71% |
| LT - VI (B) Non-Domestic (1-Ph & 3-Ph) | 4 | 8.52 | 0.20% |
| LT VI C Non-Domestic (1-Ph & 3-Ph) | 37 | 36.54 | 0.88% |
| LT VII (A) Commercial (1-Ph) | 66 | 14.10 | 0.34% |
| LT VII (A) Commercial (3-Ph) | 58 | 177.80 | 4.27% |
| LT VII (B) Commercial | 16 | 0.92 | 0.02% |
| LT VIII General (3-ph) | 1 | 0.84 | 0.02% |
| Self-Consumption | 3 | 25.64 | 0.62% |
| Street Lighting | 15 | 9.55 | 0.23% |
| Total | 474 | 4167.85 | 100.00% |

It is to be noted that about 92% of revenue is generated from IT/ITES industrial consumers in HT/LT categories. Even slight changes in tariff for these categories could seriously affect revenue from sale of power. Therefore HT/LT IT/ITES industrial consumers are the mainstay of the revenue from sale of power.

It may be seen that only 7% of the revenue is generated from non-industrial category of consumers. 92% of the revenue is contributed by IT/ITES industrial category of consumers, this makes our operations industry oriented. 0.6% of the total revenue is accounted for self-consumption and 0.23% share  is for street lighting in the campus.

- Increase in power purchase cost due to revised Bulk Supply Tariff.

The retails supply tariff is revised as per schedule of tariff and terms and conditions of retail supply with effect from 01-05-2013. Two part variable tariff scheme is adopted by Hon’ble Commission. Variable bulk supply tariff scheme is adopted for the licensees. In the case of Technopark there was an increase of 21% towards energy tariff, however the demand tariff remained the same. This has significantly increased the power purchase cost. For attaining a better understanding the revenue from power sales from industrial consumers and power purchase cost is compared by applying previous tariff and the present tariff.

The bulk supply tariff prior to 01-05-2013 and the bulk supply tariff w.e.f           01-05-2015 is shown below.

| BST prior to 01-05-2013 |  | BST w.e.f 01-05-2013 |  |
| --- | --- | --- | --- |
| Demand Charges (Rs./kVA) | Energy Charges (Rs./Unit) | Demand Charges (Rs./kVA) | Energy Charges (Rs./Unit) |
| 300 | 4.00 | 300 | 4.85 |

A comparison of power purchase cost as per the existing tariff and previous tariff based on the power purchase details estimated for 2014-15 is shown below.

| Power Purchase Estimated from KSEB |  | Purchase Cost as per BST prior to 01-05-2013 |  |  | Purchase Cost as per BST w.e.f 01-05-2013 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Demand (kVA) | Consumption (kWh) | Demand Charges (Rs.In Lakhs) | Energy Charges (Rs.In Lakhs) | Total Charges (Rs.In Lakhs) | Demand Charges (Rs.In Lakhs) | Energy Charges (Rs.In Lakhs) | Total Charges (Rs.In Lakhs) |
| 25000 | 71400459 | 901.80 | 2856 | 3757.8 | 901.8 | 3463 | 4364.8 |

It may please be noted that there is a phenomenal increase of 52.83% on energy charges alone owing to the revised BST implemented from 01-05-2013 onwards. Due to this the power purchase cost has increased manifold and made the operation of the licensee financially unviable.

- Aggregate Revenue Requirement.

Technopark depends on KSEB for purchase of power. The ARR is prepared based on the revised bulk supply tariff.

- Fixed charges. 300/kVA with a penalty of 50% over the normal demand charge where the demand exceeds the contract demand.

- Variable Charges Rs. 4.85/Unit

The summary of ARR is as follows.

| Item description | 2013-14 (Approved) Rs. In lakhs | 2014-15 (Projected) Rs. In lakhs |
| --- | --- | --- |
| Cost for power purchase from KSEB | 4172.03 | 4364.72 |
| Repair & Maintenance Expenses (O&M) | 196.70 | 199.14 |
| Section 3 Electricity Duty | - | - |
| Employee cost | 17.27 | 18.99 |
| Interest & Finance Charges | 61.81 | 147.73 |
| Administration & General Expenditure | 58.04 | 64.00 |
| Depreciation | 124.40 | 152.46 |
| Total Amount | 4630.25 | 4947.04 |

- Expected Revenue from Charges.

The major source of income is the revenue generated from sale of power. Other sources such as Interest, recoveries etc. are minimal only. A comparison of expected revenue for FY 2014-15 vis a vis the approved ERC for 2013-14 is shown below.

The summary of ERC is as follows

| Item description | 2013-14 (Approved) Rs. In lakhs | 2014-15 (Projected) Rs. In lakhs |
| --- | --- | --- |
| Revenue from sale of power | 4523.61 | 4170.86 |
| Interest on securities/ KSEB deposit. | 19.40 | 10.50 |
| Interest on bank fixed deposits | 0.30 | 31.50 |
| Interest from banks | 0.20 | 0.50 |
| Misc. recoveries | 0.50 | 0.50 |
| Total Amount | 4544.01 | 4213.86 |

- Comparison of ARR/ERC and Treatment of Revenue Gap

A comparison of ARR and ERC for 2014-15 is made and is as shown below.

| Particulars | 2013-14 (Approved) Rs. In lakhs | 2014-15 (Projected) Rs. In lakhs |
| --- | --- | --- |
| Aggregate revenue requirement | 4640.25 | 4947.04 |
| Less: Tariff and Non-tariff income | 4544.01 | 4213.86 |
| Revenue Excess/ (Deficit) | (96.24) | (733.18) |
| Add: Return in investment | 10.00 | 593.03 |
| Net revenue excess/ (deficit) | (86.24) | (1298.15) |

The ARR-ERC approved by Hon’ble Commission for the FY 2014-15 is shown below.

It may be noted that there is a steep increase in power purchase cost. Compared with the approved figures for 2013-14, the power purchase cost has increased substantially even though the projected power purchase for the financial year is less than the previous projected figure.

A comparison of power purchase details approved by Hon’ble Commission for FY 2012-13 and the estimated figures for 2013-14 is shown below.

| Purchase Details | Approved (2013-14) | Estimated (2014-15) |
| --- | --- | --- |
| Power Demand (MVA) | 25.05 | 25.05 |
| Energy Requirement (MU) | 81.75 | 71.40 |

The increase in purchase cost is mainly attributed to the increase in bulk supply tariff. The net revenue deficit without considering the equity component comes to Rs. 733.18 lakhs. The approved revenue gap during 2013-14 was Rs. 96.24 lakhs, this has increased significantly mainly due to the following reasons.

- Increase in bulk supply tariff by 21%.

- Reduction of fixed charges for IT category consumers.

- Implementation of TOD tariff scheme for consumers under IT/ITES category.

There has been proportionate increase in R&M expenditure, A&G expenses, etc. following the inflationary trend in the prevailing conditions.

Revenue gap to this extent is beyond the control of the licensee, and this could make the licensee operation financially unviable. So certain measures need to be adopted urgently for avoiding this huge revenue gap.

Treatment of Revenue Gap

There is significant increase in the power purchase cost from KSEB even though the energy consumption is less than the last year’s projection. The per unit cost of power purchase from KSEB is Rs. 6.11 whereas the per unit cost of energy sales is Rs. 6.09. There is a loss of 2ps./unit in the energy sales itself. The operations of the licensee will become unsustainable due to the huge revenue gap. In addition to this the licensee has to source funds for ongoing and upcoming projects as well. A trend of increase in the bulk supply tariff during the previous years is shown below.

There is a steep increase of 76% in the energy tariff during the last three years however the increase in fixed charges is 22.4%. The BST tariff scheme and the rationalization of tariff structure have made the operations of the licensee very difficult. The increase in the BST is too high considering the weak financial position of the licensee. The bulk supply tariff need to be reduced for maintaining the revenue gap within manageable limits.

- Major Achievements during FY 2013-14.

1. Replacement of electro-mechanical energy meters.

Following the directive of Hon’ble Commission, Technopark had conducted a systematic study to identify the electro-mechanical energy meters installed in the EB feeders of various consumers. Technopark had taken initiative for replacement of those energy meters with more accurate electronic/ static type energy meters. Some of the last remaining meters which was replaced are as follows.

| Sl. No: | Building Name | No: of electromagnetic energy meters replaced |
| --- | --- | --- |
| 1 | Nila | 47 |
| 2 | Gayatri | 8 |
| 3 | Chandragiri | 2 |
| 4 | Technomall | 14 |
| 5 | Park Centre | 8 |
| 6 | Pampa & Periyar | 5 |
| Total No. of meters replaced |  | 84 |

2. Completion of 500kVA substation at Technocity campus.

A 500kVA compact secondary substation has been installed at Technocity campus which is aimed at providing construction power supply to major IT/ITES clients occupying land parcels in the campus. The works of this substation has been completed and is ready for energization.

3. Inauguration of 1 million sqft IT building in Technopark phase-III campus.

The twin towers Ganga and Yamuna IT buildings have been inaugurated by Hon’ble Chief minister of Kerala on 15th January 2014.

PRAYER:

Technopark therefore prays before the Hon’ble Kerala State Electricity Regulatory Commission to

- Approve the projected ARR/ERC for the financial year 2014-15.

- Reduce the bulk supply tariff for maintaining the revenue gap within manageable limits.

Annexure:

Data forms A-Z enclosed herewith in alphabetical order.