W/Island

24/02/2020

FORM 2

[See Regulation 24(5)]

- BEFORE THE KERALA STATE ELECTRICITYREGULATORY COMMISSION

- OP No………………..

IN THE MATTER OF:

Petition under Section 181of the Electricity Act, 2003 (Central Act36 of 2003),   and as per   Regulation 52 and 179   of Kerala Electricity Supply Code 2014 and all other powers enabling in this behalf.

NAME AND FULL ADDRESS

OF COMPLAINANT/ APPLICANT:

Petition is filed by 								: 	Cochin Port Trust

Office of Dy.CME (Ele)

Finance Department Building,

W/Island, Kochi  – 682 009,

Mob: 9633392449

Email dycmeele@cochinport.gov.in

NAMES AND FULL ADDRESSESS

OF RESPONDENTS 				:

General Manager (Infra projects).

Cochin Shipyard Ltd

Administrative Building,

Post  Bag No 1653

Perumanoor  P.O, Kochi

Pin No. 682 015  .

AFFIDAVIT VERIFYING PETITION

I, M.M. Abdul Rahim  , Son of late Shri Mohammad, M.A   aged 59 years residing at Chathenkeril House, Nettoor (P.O), Ernakulam 682   do solemnly affirm and state as follows:

- I am the Authorised Signatory of  Cochin Port Trust (Power of attorney enclosed)

- I am a complainant/Petitioner in the above matter on behalf of Cochin Port Trust.

- The statement made in the pages of complaint/petition application herein now shown to me and marked with page no. 1 to ….. are true to my knowledge and the statement made in …… nos. of pages are based on information received and I believe them to be true.

Solemnly affirmed at W/Island on this day of 24th February 2020  that the content of the above affidavit are true to my knowledge, no part of it is false and nothing material has been concealed there from.

Complainant/Petitioner

M.M. Abdul Rahim

Authorized Signatory

For	Cochin Port Trust

Identified before me Notary

W/Island ,

24.02.2020

FORM 1

[See Regulation 24(3)]

General Heading for petitions

BEFORE THE KERALA STATE ELECTRICITY

REGULATORY COMMISSION

PETITION NO:

IN THE MATTER OF:

Permission for Supply of electricity to be given at 2 points   for same purpose and   at same voltage level against Reg No 52 of Kerala Electricity Supply Code 2014.

Fees Rs.10,000 ( Rupees Ten Thousand   only) as per Annex II, Reg.8 (ii), schedule offers see Regulation 64 (1) of Kerala State Electricity Regulatory Commission (Conduct of Business) Third Amendment Regulation 2014, is enclosed as DD drawn in favour of the Secretary ,KSERC, payable at Trivandrum from …………………………Bank, ………………………………….(Branch Code:………………..), drawn by us, is attached herewith.

REFERNCE:

- Electricity Act 2003

- Kerala State Electricity Regulatory Commission (Conduct of Business) Third Amendment Regulation 2014.

- Electricity Supply Code 2014.

NAMES AND FULL ADDRESSESS

OF RESPONDENTS:

General Manager (Infra projects).

Cochin Shipyard Ltd

Administrative Building,

Post  Bag No 1653

Perumanoor  P.O, Kochi

Pin No. 682 015  .

- INTRODUCTION

- Cochin Port Trust (CoPT) hereinafter called as “The Licensee” is a deemed distribution Licensee under the proviso to Section 14 of Electricity Act 2003, in accordance with the distribution license issued to the Port Trust by H.H. The Maharaja of erstwhile Cochin State for distribution of electricity in the Cochin Port Trust Area and nearby premises.

- This Hon’ble Commission vide its order dated 18.01.2010 in exercise of the powers conferred on it by section 14 of the Electricity Act 2003, granted to this petitioner to extend its power distribution area to the Special Economic Zones at Vallarpadam and Puthuvypeen in Ernakulam District, Kerala State.

- Background for the petition

- M/s Cochin Shipyard Ltd ( CSL) hereinafter called as “the Consumer” is an HT Consumer of Cochin Port Trust at W. Island with a Contract demand  of 350 kVA for their ship repair facilities in the old workshop premises at W/Island.

- The consumer  vide letter Dtd -03/09/2014 (Annexure 1) has requested to accord in approval for providing 5000 KVA HT power supply in 2 separate feeders to their existing workshop premises and   to their proposed shift lifting arrangements to be constructed in the nearby premises .

- Accordingly the licensee vide letter dated 17/09/2014 (Annexure 2) has intimated   that 2 independent and dedicated 11 KV feeders with separate metering arrangement could be given to the consumer. The consumer was also informed to    submit the application for power in the prescribed format as per Kerala Electricity Supply code 2014 ( KES Code 2014).

- Meantime the Cochin Port administration   has allotted 8.134 Ha of land for their proposed ship lift  facility for a period of 30 years   outside peripheral wall of existing ship repair area in old work shop. (Annexure 3)

- After exchanging various communications, the consumer has finally submitted formal application for HT power supply to the tune of 950 KVA vide its letter dated 29/06/2018 and again load was reduced to 350 KVA. (Annexure 4 ).  The consumer further indicated vide its letter dated 29/06/2018 (Annexure 5 ) that  the probable quantity of HT power and date of power requirement as  indicated as below,

| S.N | Quantity of Power | Probable date | Remarks |
| --- | --- | --- | --- |
| 1 | 1100 KVA | 01/06/2019 | In Feeder -1 |
| 2 | 1600 KVA | 15/09/2019 | In feeder -1 |
| 3 | 950 KVA | 15/09/2019 | Feeder -2 |

- The consumer stated vide letter dated 06/11/2018 (Annexure 5) that as per the DPR of the project the estimated maximum demand of power for ISRF facility is around 5000 KVA and   internal supply system was designed based on the contention that the licensee  would provide 2 independent feeders.

- As per the site inspection conducted in the premises of the consumer,   it was understood that the proposed power supply with 2 incoming feeders are going to be used   for operating electrical facilities at existing premises and for proposed shift lift project as single  premises.

- Availing 2 independent supply in a single premises is not permitted as per  Kerala Electricity Supply code vide Clause No 52 clearly states that “Supply shall be given only at 1 point for same purpose at same voltage level at single premises”. More over if power supply from 2 sources is given to single premises, isolation of power supply   from a single point is not possible in the event of any electrical accident.

- The above matter was informed to the consumer vide letter 30/07/2019 (Annexure 6).

- However the consumer again request that since they have already designed their internal electrical distribution system with 2 independent incomings from CoPT side and the 2 feeders so provided would be used for both existing and proposed facility as combined unit as communicated through mail dated 13/01/2020. They further stated that the licensee  have once   agreed to provide 2 independent feeders to their premises vide letter dated30/09/2015   and hence licensee may please provide required power in 2 independent feeders.

- The approval of providing 2 independent feeders  by CoPT, vide its letter dated 30/09/2015 as alleged by M/s CSL was for  providing power supply to 2 independent premises, one for existing and another for new projects. The commitment given by CoPT was fully in line with provisions of Kerala Electricity Supply code 2014.

- Finally the licensee had agreed that the request of the consumer for providing 2 independent  feeders to a single premises may be considered subject to the approval of Hon’ble this KSERC, upon filing the petition   by the licensee.

- Grounds

- Clause No 52 of Kerala Electricity Supply Code 2014  clearly states that “Supply shall be given only at 1 point for same purpose at same voltage level at single premises”. Hence the request of the consumer has no merit as far as the relevant statutory provision is concerned.

- However since  the consumer has completed its internal  power distribution network with  2 HT  feeders as incomers and they have already completed major portion of work accordingly, their request may be considered favourably with a condition that  the consumer shall comply with following safety norms,

- Necessary interlocking / safety arrangements shall be incorporated in   internal supply network of the consumer to ensure that no power shall be back fed to CoPT’s grid.

- The consumer shall get necessary approval from the Central Electricity Authority (CEA) for the installation as per rule.

- Section   179 of Kerala Electricity Supply code empowers this Hon’ble Commission  to relax any provisions of the Kerala Electricity Supply code 2014,    “if any difficulty arises in giving effect to any of the provisions of this Code or there is a dispute regarding interpretation of any provision, the matter shall be expeditiously referred to the Commission and The Commission shall pass necessary orders after hearing the parties concerned”.

- Prayer:-

In view of the above, The Hon’ble Commission may kindly issue necessary orders permitting to provide 2 independent HT power supply to the premises of the consumer M/s Cochin Shipyard Ltd, Kochi  at the premises   International Ship repair facility at W/Island with the conditions mentioned as per para No 2 (i) & (ii) under clause C of the petition.

Deponent

(M.M.Abdul Rahim)

Dy.CME (Ele)i/c

For Cochin Port Trust

W/Island

Dated