## D7.2
Form D 7.2
Distribution Losses
FY 2019-20
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island & Vallarpadam | 110kV & 11 kV | 11 & 4 | 11 | 37.437 |  |  | 36.734 | 0.703 | 1.8778 | 0.703 | 1.8778 | 0 | 0
…
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Note :- As per Truing up order of the Hon'ble Commission for the FY 2019-20
Form D 7.2
Distribution Losses
FY 2020-21
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Tdistribution loss as per the truing up petition
W.Island & Vallarpadam | 110 kV & 11kV | 11 & 4 | 11 | 35.226 |  |  | 34.544 | 0.682 | 1.9361 | 0.682 | 1.9361 | 0 | 0
Distribution loss as per truing up order of the Hon'ble Commission for the FY 2020-21
W.Island & Vallarpadam | 110 kV & 11kV | 11 & 4 | 11 | 35.226 |  |  | 34.544 | 0.662 | 1.8793 | 0.662 | 1.8793 | 0 | 0
Note:- The distribution loss was higher than the approved level, the quantum of power purchased corresponding to the excess distribution loss of 0.20 lakhs units was disallowed by the Hon'ble Commission
Distribution a per the Annual Energy Audit Report by the Accredited Energy Auditor
W.Island & Vallarpadam | 110 kV & 11kV | 11 & 4 | 11 | 35.226 |  |  | 34.219
Solar generation |  |  |  | 0.355
Total |  |  |  | 35.581 |  |  | 34.219 | 1.362 | 3.8279 | 1.362 | 3.8279 | 0 | 0
Note:- As per Annual Energy Report of the AEA , solar generation of 0.355 MU utilized for Port use are accounted in Energy Input. Also street light consumption miscalculated and units is 0.845 MU instead of 1.17 MU . Hence actual loss is 3.82 % .
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Form D 7.2
Distribution Losses
2021-22
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11 | 25.494
Vallarpadam | 11 kV | 4 | 0 | 10.866
Solar generation /export/DG | 440 V | NA | NA | 0.359
… |  |  |  | 36.719 |  |  | 35.406 | 1.313 | 3.5758 | 1.313 | 1.313 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
2022-23
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11 | 26.9953
Vallarpadam | 11 kV | 4 | 0 | 9.1826
Solar generation /export/DG | 440 V | NA | NA | 0.33301
Total |  |  |  | 36.511 |  | 0 | 35.5876 | 0.92336 | 2.529 | 0.92336 | 2.529 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Form D 7.2
Distribution Losses
2023-24
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11
Vallarpadam | 11 kV | 4 | 0
Solar generation /export/DG | 440 V | NA | NA
Total |  |  |  | 41.7743 |  | 0 | 40.3957 | 1.3786 | 3.3 | 1.3786 | 3.3 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Form D 7.2
Distribution Losses
2024-25
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11
Vallarpadam | 11 kV | 4 | 0
Solar generation /export/DG | 11KV/440 V | NA | NA
Total |  |  |  | 56.4413 |  | 0 | 54.5788 | 1.8626 | 3.3 | 1.8626 | 3.3 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Form D 7.2
Distribution Losses
2025-26
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11
Vallarpadam | 11 kV | 4 | 0
Solar generation /export/DG | 11KV/440 V | NA | NA
Total |  |  |  | 96.5092 |  | 0 | 93.5174 | 2.9918 | 3.1 | 2.9918 | 3.1 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27
Form D 7.2
Distribution Losses
2026-27
Name of Distribution Licensee: CoPA
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Energy Sent to lower network | Direct Sale | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
W. Island | 110kV | 11 | 11
Vallarpadam | 11 kV | 4 | 0
Solar generation /export/DG | 11KV/440 V | NA | NA
Total |  |  |  | 104.7137 |  | 0 | 101.5723 | 3.1414 | 3 | 3.1414 | 3 | 0 | 0
* Note : To be furnished separately for each year commencing from 2019-20 to 2026-27

## LOSS Cal
POWER INPUT 2022-23 ACTUAL | [12 empty] | SALES 2022-23 ACTUAL
| KSEB UNITS 2022-23 Actual | [6 empty] | Solar |  | Total Solar | DG | Total | Sales | Less BPCL NTB | Actual Sales | Loss Units | Loss %
| W/I |  |  |  |  | Vallar | Total Units | Port | Prosumer
2022-03-01 | 2506800 |  |  |  |  | 921050 | 3427850 | 27870 | 2104 | 29974 | 35 | 3457859
2022-04-01 | 2604600 |  |  |  |  | 1141850 | 3746450 | 23970 | 1112 | 25082 | 835 | 3772367
2022-05-01 | 2650350 |  |  |  |  | 816000 | 3466350 | 20140 | 692 | 20832 | 27 | 3487209
2022-06-01 | 2130600 |  |  |  |  | 691700 | 2822300 | 21970 | 1783 | 23753 | 559 | 2846612
2022-07-01 | 2002950 |  |  |  |  | 695200 | 2698150 | 21400 | 2264 | 23664 | 12 | 2721826
2022-08-01 | 1973850 |  |  |  |  | 647640 | 2621490 | 22330 | 2745 | 25075 | 164 | 2646729
2022-09-01 | 2043300 |  |  |  |  | 703480 | 2746780 | 28230 | 3422 | 31652 | 283 | 2778715
2022-10-01 | 2134200 |  |  |  |  | 851320 | 2985520 | 28290 | 3009 | 31299 | 40 | 3016859
2022-11-01 | 2239350 |  |  |  |  | 698840 | 2938190 | 24750 | 2998 | 27748 | 392 | 2966330
2022-12-01 | 2301900 |  |  |  |  | 703120 | 3005020 | 24870 | 2788 | 27658 | 233 | 3032911 |  |  |  |  | -
2023-01-01 | 2242200 |  |  |  |  | 648400 | 2890600 | 28750 | 4203 | 32953 | 381 | 2923934
2023-02-01 | 2165250 |  |  |  |  | 664000 | 2829250 | 25190 | 3483 | 28673 | 1685 | 2859608
| 26995350 |  |  |  |  | 9182600 | 36177950 | 297760 | 30603 | 328363 | 4646 | 36510959 | 35864562 | 276968 | 35587594 | 923365 | 2.529
[9 empty] | Solar + DG |  | 0.33301
| FY | W.Island | Vallarpadam | Total | Solar W. Island | Total Power Input | %Loss | Loss Units | Sales Calculated
| 2022-23 | 26995350 | 9182600 | 36177950 | 328363 | 36.511 | 2.529 | 0.92336 | 35.5876 |  | Actual % Loss
| 2023-24 | 27805210 | 13619078 | 41424288 | 350000 | 41.7743 | 3.3 | 1.3786 | 40.3957 |  | Loss % as per trajectory submitted to Commission
| 2024-25 | 31577972.82 | 22298350 | 53876322.82 | 2565000 | 56.4413 | 3.3 | 1.8626 | 54.5788 |  | Loss % as per trajectory submitted to Commission
| 2025-26 | 32534937 | 61384274 | 93919211 | 2590000 | 96.5092 | 3.1 | 2.9918 | 93.5174
| 2026-27 | 39012437 | 60191250 | 99203687 | 5510000 | 104.7137 | 3 | 3.1414 | 101.5723