DETAILED PROJECT REPORT

| Project: | Replacement of energy meters of consumers in area of distribution of power supply under KDHPCL. |
| --- | --- |

INTRODUCTION

In the areas of distribution of power supply of KDHPCL, most of the meters installed in the consumer premises are electro-mechanical. These are old, obsolete, and prone to faults. Hence on detection of any malfunction we must replace it with newer electronic meters. The old and ageing electro-mechanical meters are unable to register consumption of power by new energy efficient devices like LEDs etc. which consume low energy. Further, due to mechanical friction, the accuracy of such meters is also prone to error. Due to all these reasons, there are losses in the energy metering and the same can be curtailed by introduction of newer electronic meters with improved accuracy and reliability.

In view of the foregoing, we have accessed the requirement of the meters and have decided to replace the existing electromechanical meters with electronic meters in a phased manner.

SELECTION OF METERS

We have purchased electronic meters from M/s L & T, M/s Secure, M/s Kelton and M/s HPL and put the meters on trial. On completion of the trail, we find that the meters manufactured by M/s L&T and M/s Secure are suitable for our conditions.

PRESNET STATUS

Over the years, we have replaced almost 9000 Meters in our distribution area, and the balance requirement of meters to be replaced is approximately 7000.

TIME FRAME

We append below the time frame for replacement of electronic meters:

COST ESTIMATES

Apart from cost of the electronic meter, the other requirement for the replacement of the meters includes meter board, fuse base and carrier wiring material, and labour etc. for installation. The cost of one electronic meter is Rs 700/- and the balance amount is for accessories. The rough estimate for replacing 3000 electronic meters is as given below:

| Sl. No | Description | Unit | Qty | Rate in Rs. | Amount in Rs. |
| --- | --- | --- | --- | --- | --- |
| 1 | 5-30 AMP Electronic Kwh Meters | Nos | 3000 | 700 | 21,00,000 |
| 2 | Meter Wooden MTR Board10X12" | Nos | 3000 | 150 | 450,000 |
| 3 | 32A Porcelain Fusebar and carrier | Nos | 3000 | 130 | 390,000 |
| 4 | Wiring Accessories |  |  |  | 10,000 |
| 5 | Labour |  |  |  | 50,000 |
|  |  |  |  |  | 30,00,000 |

Approximate cost of replacement of one electronic meter is – Rs 1000/-.

BUDGETERY PROVISION

| Sl No | Year of Replacement | No of Meters | Rate per Meter in Rs. | Budget Proposed is Rs. |
| --- | --- | --- | --- | --- |
| 1 | 2022-2023 | - | - | - |
| 2 | 2023-2024 | 3000 | 1000 | 30,00,000 |
| 3 | 2024-2025 | 3000 | 1000 | 30,00,000 |
| 4 | 2025-2026 | 1000 | 1000 | 10,00,000 |
| 5 | 2026-2027 | - | 1000 | - |
|  | Total | 7000 | 1000 | 70,00,000 |

^ Budget is prepared on current cost estimate.

COST BENEFIT ANALYIS

The proposed meters have improved reliability and hence chances of breakdown and replacement are reduced. The new meters will also improve the metering efficiency which will help reduce the distribution losses in the network. Whilst it will be difficult to arrive at a direct correlation of the efforts in replacement of the meters and financial benefits arising, it is quite certain that all these factors combined will improve the quality and efficiency of our power supply.

CONCLUSION

There is need to change the meter for accurate metering of the electrical consumption, to ensure energy consumption and reduce the losses to the distribution licensee on account of meter failure or non-accurate electromechanical meters. In view of paucity of fund, we are constrained to change the meters in a phased manner.

We humbly request the Hon. Commission to kindly approve the Capital Investment Plan to change the meters in the next five years as stated above.