DETAILED PROJECT REPORT

| Project: | Installation of transformers for improvement of supply voltage of LT Lines in the areas of distribution of power supply under KDHPCL |
| --- | --- |

INTRODUCTION

We have identified some areas in LT side, where we need to improve the supply voltages. We propose to achieve this by installation of new LT transformers for separation of load. Also, in one case we need to change the LT conductors delivering the power to the area.

PRESENT STATUS AND TIME FRAME

The areas identified for voltage improvement are as detailed below.

| Sl. No. | Name of Area | Proposal | Proposed Time frame | Cost estimate reference |
| --- | --- | --- | --- | --- |
| 1 | Munnar Colony | Installation of new 100 kVA transformer | 2022-23 | Table 1 |
| 2 | Chunduvurrai Estate | Installation of new 100 kVA transformer | 2023-24 | Table 2 |
| 3 | Letchmi Estate | Installation of new 63 kVA transformer and Replacement of existing 1kms ACSR conductors | 2025-26 | Table 3 |
| 4 | Kanniamallay Division | Installation of new 100 kVA transformer | 2025-26 | Table 4 |
| 5 | Periavurrai Division | Installation of new 63 kVA transformer | 2026-27 | Table 5 |

^ Budgets are prepared at the current cost estimate.

DETAILED COST ESTIMATES

| Table 1- Installation of new 100 kVA transformers at Munnar colony |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit | Quantity | Rate in Rs. | Amount in Rs. |
| 1 | 100 KVA Transformer | Nos | 1 | 270,000 | 270,000 |
| 2 | 9 Meter HT POST (Structure ) | Nos | 2 | 12,500 | 25,000 |
| 3 | Channel cross arm 3 M | Nos | 6 | 2,164 | 12,984 |
| 4 | Clamp G.I. for channel cross arm | Nos | 6 | 102.30 | 613.80 |
| 5 | Bolt & Nut of sizes | Kgs | 15 | 100 | 1,500 |
| 6 | Washers of sizes | Kgs | 7 | 275 | 1,925 |
| 7 | 11 KV AB Switch 400 A | Set | 1 | 13,246 | 13,246 |
| 8 | D.O. Fuse unit | Set | 1 | 1,374 | 1,374 |
| 9 | 11 KV Lightning Arrestor | Nos | 3 | 328 | 984 |
| 10 | Provision for pipe earthing | Nos | 5 | 2,890.25 | 14,451.25 |
| 11 | Provision for Jumpering | Set | 1 | 1,373.31 | 13,73.31 |
| 12 | Provision for clamping | set | 1 | 522.81 | 522.81 |
| 13 | Fuse unit 63 A | Nos | 3 | 296.30 | 888.90 |
| 14 | Distribution Box | Nos | 1 | 3,456.20 | 3,456.20 |
| 15 | Statutory Boards | Nos | 2 | 14.52 | 29.04 |
| 16 | 2 line X arm | Nos | 2 | 215.60 | 431.20 |
| 17 | Clamp G.I for 2 line cross arm | Nos | 5 | 91.30 | 456.50 |
| 18 | Lock & Key | Nos | 1 | 157.30 | 157.30 |
| 19 | LT XLPE AI. 1X50 sq mm unamoured cable | Mtrs | 50 | 320.00 | 16,000 |
| 20 | AI socket 50 sq. mm. | Nos | 16 | 8.09 | 129.44 |
| 21 | Civil work | Ls | Ls | 100,000 | 100,000 |
| 22 | Labour | Nos | 42 | 650.00 | 27,300 |
| 23 | Transport | Ls | Ls | 100,00 | 10,000 |
|  | Total |  |  |  | 502,822.75 |

| Table 2- Installation of new 100 kVA transformers at Chundavurrai Estate |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit | Quantity | Rate in Rs. | Amount in Rs. |
| 1 | 100 KVA Transformer | Nos | 1 | 270,000 | 270,000 |
| 2 | 9 Meter HT POST (Structure ) | Nos | 2 | 12,500 | 25,000 |
| 3 | Channel cross arm 3 M | Nos | 6 | 2,164 | 12,984 |
| 4 | Clamp G.I. for channel cross arm | Nos | 6 | 102.30 | 613.80 |
| 5 | Bolt & Nut of sizes | Kgs | 15 | 100 | 1,500 |
| 6 | Washers of sizes | Kgs | 7 | 275 | 1,925 |
| 7 | 11 KV AB Switch 400 A | Set | 1 | 13,246 | 13,246 |
| 8 | D.O. Fuse unit | Set | 1 | 1,374 | 1,374 |
| 9 | 11 KV Lightning Arrestor | Nos | 3 | 328 | 984 |
| 10 | Provision for pipe earthing | Nos | 5 | 2,890.25 | 14,451.25 |
| 11 | Provision for Jumpering | Set | 1 | 1,373.31 | 13,73.31 |
| 12 | Provision for clamping | set | 1 | 522.81 | 522.81 |
| 13 | Fuse unit 63 A | Nos | 3 | 296.30 | 888.90 |
| 14 | Distribution Box | Nos | 1 | 3,456.20 | 3,456.20 |
| 15 | Statutory Boards | Nos | 2 | 14.52 | 29.04 |
| 16 | 2 line X arm | Nos | 2 | 215.60 | 431.20 |
| 17 | Clamp G.I for 2 line cross arm | Nos | 5 | 91.30 | 456.50 |
| 18 | Lock & Key | Nos | 1 | 157.30 | 157.30 |
| 19 | LT XLPE AI. 1X50 sq mm unamoured cable | Mtrs | 50 | 320.00 | 16,000 |
| 20 | AI socket 50 sq. mm. | Nos | 16 | 8.09 | 129.44 |
| 21 | Civil work | Ls | Ls | 100,000 | 100,000 |
| 22 | Labour | Nos | 42 | 650.00 | 27,300 |
| 23 | Transport | Ls | Ls | 100,00 | 10,000 |
|  | Total |  |  |  | 502,822.75 |

| Table 3- Voltage Improvement in Letchimi Estate (Transformer structure with 1 KM HT OH Line) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI.No | Description | Unit | Quantity | Rate in Rs. | Amount in Rs. |
| 1 | 63 KVA Transformer | Nos | 1 | 170,000 | 170,000 |
| 2 | 9 Meter HT POST (Structure ) | Nos | 2 | 12,500 | 25,000 |
| 3 | Channel cross arm 3 M | Nos | 6 | 2,164 | 12,984 |
| 4 | Clamp G.I. for channel cross arm | Nos | 6 | 102.30 | 613.80 |
| 5 | Bolt & Nut of sizes | Kgs | 15 | 100 | 1,500 |
| 6 | Washers of sizes | Kgs | 7 | 275 | 1,925 |
| 7 | 11 KV AB Switch 400 A | Set | 1 | 13,246 | 13,246 |
| 8 | D.O. Fuse unit | Set | 1 | 1374 | 1,374 |
| 9 | 11 KV Lightning Arrestor | Nos | 3 | 328 | 984.00 |
| 10 | Provision for pipe earthing | Nos | 5 | 2,890.25 | 14,451.25 |
| 11 | Provision for Jumpering | Set | 1 | 1,373.31 | 1,373.31 |
| 12 | Provision for clamping | set | 1 | 522.81 | 522.81 |
| 13 | Fuse unit 63 A | Nos | 3 | 296.30 | 888.90 |
| 14 | Distribution Box | Nos | 1 | 3,456.20 | 3,456.20 |
| 15 | Statutory Boards | Nos | 2 | 14.52 | 29.04 |
| 16 | 2 line X arm | Nos | 2 | 215.60 | 431.20 |
| 17 | Clamp G.I for 2 line cross arm | Nos | 5 | 91.30 | 456.50 |
| 18 | Lock & Key | Nos | 1 | 157.30 | 157.30 |
| 19 | LT XLPE AI. 1X50 sq mm unamoured cable | Mtrs | 50 | 320 | 16,000 |
| 20 | AI socket 50 sq. mm. | Nos | 16 | 8.09 | 129.44 |
| 21 | Civil work | Ls | Ls | 120,000 | 120,000 |
| 22 | LABOUR | Nos | 42 | 650 | 27,300 |
| 23 | Transport | Ls | Ls | 10,000 | 10,000 |
|  | Sub-total |  |  |  | 422,822.75 |
| 24 | Posts | Nos | 11 | 12,500 | 137,500 |
| 25 | HT Cross arm | Nos | 11 | 1,200 | 13,200 |
| 26 | Disc insulator | Nos | 6 | 650 | 3,900 |
| 27 | Pin | Nos | 33 | 125 | 4,125 |
| 28 | ACSR | Kgs | 1052 | 225 | 236,700 |
| 29 | GI Wire for Earth | Kgs | 50 | 95 | 4,750 |
| 30 | Stay Set | Nos | 9 | 2,500 | 22,500 |
| 31 | Transport charges |  |  |  | 20,000 |
| 32 | Labour charges |  |  |  | 35,000 |
|  | Sub-total |  |  |  | 477,675.00 |
|  | Total |  |  |  | 900,497.75 |

| Table 4- Installation of new 100 kVA transformers at Kanniamallay Estate |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit | Quantity | Rate in Rs. | Amount in Rs. |
| 1 | 100 KVA Transformer | Nos | 1 | 270,000 | 270,000 |
| 2 | 9 Meter HT POST (Structure ) | Nos | 2 | 12,500 | 25,000 |
| 3 | Channel cross arm 3 M | Nos | 6 | 2,164 | 12,984 |
| 4 | Clamp G.I. for channel cross arm | Nos | 6 | 102.30 | 613.80 |
| 5 | Bolt & Nut of sizes | Kgs | 15 | 100 | 1,500 |
| 6 | Washers of sizes | Kgs | 7 | 275 | 1,925 |
| 7 | 11 KV AB Switch 400 A | Set | 1 | 13,246 | 13,246 |
| 8 | D.O. Fuse unit | Set | 1 | 1,374 | 1,374 |
| 9 | 11 KV Lightning Arrestor | Nos | 3 | 328 | 984 |
| 10 | Provision for pipe earthing | Nos | 5 | 2,890.25 | 14,451.25 |
| 11 | Provision for Jumpering | Set | 1 | 1,373.31 | 13,73.31 |
| 12 | Provision for clamping | set | 1 | 522.81 | 522.81 |
| 13 | Fuse unit 63 A | Nos | 3 | 296.30 | 888.90 |
| 14 | Distribution Box | Nos | 1 | 3,456.20 | 3,456.20 |
| 15 | Statutory Boards | Nos | 2 | 14.52 | 29.04 |
| 16 | 2 line X arm | Nos | 2 | 215.60 | 431.20 |
| 17 | Clamp G.I for 2 line cross arm | Nos | 5 | 91.30 | 456.50 |
| 18 | Lock & Key | Nos | 1 | 157.30 | 157.30 |
| 19 | LT XLPE AI. 1X50 sq mm unamoured cable | Mtrs | 50 | 320.00 | 16,000 |
| 20 | AI socket 50 sq. mm. | Nos | 16 | 8.09 | 129.44 |
| 21 | Civil work | Ls | Ls | 100,000 | 100,000 |
| 22 | Labour | Nos | 42 | 650.00 | 27,300 |
| 23 | Transport | Ls | Ls | 100,00 | 10,000 |
|  | Total |  |  |  | 502,822.75 |

| Table 5- Voltage improvement at Periavurrai Division |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No | Description | Unit | Quantity | Rate in Rs. | Amount in Rs. |
| 1 | 63 KVA Transformer | Nos | 1 | 170,000 | 170,000 |
| 2 | 9 Meter HT POST (Structure ) | Nos | 2 | 12,500 | 25,000 |
| 3 | Channel cross arm 3 M | Nos | 6 | 2,164 | 12,984 |
| 4 | Clamp G.I. for channel cross arm | Nos | 6 | 102.30 | 613.80 |
| 5 | Bolt & Nut of sizes | Kgs | 15 | 100 | 1,500 |
| 6 | Washers of sizes | Kgs | 7 | 275 | 1,925 |
| 7 | 11 KV AB Switch 400 A | Set | 1 | 13,246 | 13,246 |
| 8 | D.O. Fuse unit | Set | 1 | 1,374 | 1,374 |
| 9 | 11 KV Lightning Arrestor | Nos | 3 | 328 | 984 |
| 10 | Provision for pipe earthing | Nos | 5 | 2,890.25 | 14,451.25 |
| 11 | Provision for Jumpering | Set | 1 | 1,373.31 | 1,373.31 |
| 12 | Provision for clamping | set | 1 | 522.81 | 522.81 |
| 13 | Fuse unit 63 A | Nos | 3 | 296.30 | 888.90 |
| 14 | Distribution Box | Nos | 1 | 3,456.20 | 3,456.20 |
| 15 | Statutory Boards | Nos | 2 | 14.52 | 29.04 |
| 16 | 2 line X arm | Nos | 2 | 215.60 | 431.20 |
| 17 | Clamp G.I for 2 line cross arm | Nos | 5 | 91.30 | 456.50 |
| 18 | Lock & Key | Nos | 1 | 157.30 | 157.30 |
| 19 | LT XLPE AI. 1X50 sq mm unamoured cable | Mtrs | 50 | 320.00 | 16,000 |
| 20 | AI socket 50 sq. mm. | Nos | 16 | 8.09 | 129.44 |
| 21 | Civil work |  |  |  | 100,000 |
| 22 | Labour charges |  |  |  | 27,300 |
| 23 | Transport charges |  |  |  | 10,000 |
|  | Total |  |  |  | 402,822.75 |

VOLTAGE IMPROVEMNET COST FOR THE CONTROL PERIOD

| Sl No | Year of undertaking Voltage Improvement Measures | Budget Proposed is Rs. |
| --- | --- | --- |
| 1 | 2022-2023 | 502,822.75 |
| 2 | 2023-2024 | 502,822.75 |
| 3 | 2024-2025 | - |
| 4 | 2025-2026 | 14,03,320.50 |
| 5 | 2026-2027 | 402,822.75 |
|  | Total | 28,11,788.75 |

COST BENEFIT ANALYIS

This exercise is required for improving the voltage. It is done as it will be beneficial to the consumers in that area.

CONCLUSION

This exercise is required for improving the voltage.

We humbly request The Honorable Commission to kindly approve the Capital Investment Plan to undertake the voltage improvement works in the next five years as stated above.