CHAPTER – 2:  TRUING-UP OF ARR OF SBU – GENERATION

2.1	The generation capacity of SBU G comprises a mix of Hydel, Thermal, solar and wind power stations.  The  total installed capacity as on 31.03.2019 is 2237.59 MW of which 92.01 % is Hydel, 7.15% is Thermal, 0.75 % from solar and rest from the wind. The source wise generation capacity details are given in the table- G 1 below:

| Table- G 1 : Source wise Generation Capacity |  |
| --- | --- |
| Source | Installed Capacity (MW) as on 31.03.2019 |
| Hydel | 2058.75 |
| Thermal | 159.96 |
| Wind | 2.03 |
| Solar | 16.85 |
| Total (Generation) | 2237.59 |

2.2	Energy generated and purchased by the petitioner to meet the demand in the year totals to 25623.58 MU. Energy generated by the petitioner’s Generation Business Unit was 7626.37 MU (29.76%) out of which 7602.41 MU was from own Hydro-electric Stations and remaining 23.96MU was generated from thermal, wind and solar stations. Source wise generation details are enclosed as Table-G2 below. Details of energy generated and expenses are furnished in paragraphs hereunder.

| Table – G2 : Energy Generation from own stations for FY 2018-19 (MU) |  |  |  |
| --- | --- | --- | --- |
| Source | KSERC approval | Audited Accounts | Difference |
| Gross Generation |  |  |  |
| Hydro | 7889.48 | 7602.41 | 287.07 |
| BDPP | 0 | 0.29 | -0.29 |
| KDPP | 0 | 3.799 | -3.799 |
| Wind | 1.79 | 1.33 | 0.46 |
| Solar | 14.96 | 18.54 | -3.58 |
| Subtotal | 7906.23 | 7626.37 | 279.861 |
| Aux consumption |  |  |  |
| Hydro | 82.05 | 31.81 | 50.24 |
| BDPP | 0 | 0.62 | -0.62 |
| KDPP | 0 | 0.82 | -0.82 |
| Wind | 0.17 | 0 | 0.17 |
| Solar |  | 0 |  |
| Sub total | 82.22 | 33.25 | 48.97 |
| Net Generation |  |  |  |
| Hydro | 7807.42 | 7570.6 | 236.82 |
| BDPP | 0 | (-) 0.33 | 0.33 |
| KDPP | 0 | 2.979 | -2.979 |
| Wind | 16.58 | 1.33 | (-)3.29 |
| Solar |  | 18.54 |  |
| Subtotal | 7824.01 | 7593.119 | 230.881 |

2.3 Hydro Generation:

2.3.1	Approved net hydro generation for the FY 2018-19 as per the MYT Order dated 08.07.2018 was         7807.42 MU whereas the actual hydro generation was 7570.60 MU leaving a shortage of 236.82 MU (3.03%). The outage of generating stations due to flood had affected the overall generation from the hydro resources. The details of hydel generation and station wise generation details are given in Table- G3 and G4 respectively hereunder. Presently, in hydel stations, there is no provision for metering the energy consumed by excitation systems. Hence the auxiliary consumption as per audited accounts is lower than the approved values. However, in stations, where RMU works in progress, provision for metering the excitation energy is also ensured. For the purpose of true up, the petitioner is only claiming the actual auxiliary consumption as recorded.

| Table-G3 : Hydel Generation for FY 2018-19 (MU) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Month | Generation | Aux Consumption | Net hydro Generation | Month | Generation | Aux Consumption | Net hydro Generation |
| Apr-18 | 633.30 | 2.29 | 631.01 | Oct-18 | 845.12 | 2.99 | 842.13 |
| May-18 | 604.00 | 2.84 | 601.16 | Nov-18 | 527.19 | 2.54 | 524.65 |
| Jun-18 | 565.95 | 2.60 | 563.35 | Dec-18 | 360.15 | 2.24 | 357.91 |
| Jul-18 | 841.76 | 3.26 | 838.50 | Jan-19 | 359.12 | 2.08 | 357.04 |
| Aug-18 | 1038.63 | 2.99 | 1035.64 | Feb-19 | 429.79 | 2.25 | 427.54 |
| Sep-18 | 792.24 | 2.80 | 789.44 | Mar-19 | 605.15 | 2.92 | 602.23 |
|  |  |  |  | Total | 7602.41 | 31.81 | 7570.60 |

| Table-G4 : Station Wise Hydel Generation for 2018-19 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Hydro Electric Stations | Generation (MU) | No | Hydro Electric Stations | Generation (MU) |
| 1 | Idukki | 2921.48 | 19 | Chembukadav I & II | 7.11 |
| 2 | Sabarigiri | 1513.19 | 20 | Kuttiady Tail Race | 8.45 |
| 3 | Kuttiady (Units :1 - 6) | 692.75 | 21 | Ranni-Perinadu | 3.73 |
| 4 | Lower Periyar | 524.26 | 22 | Addyanpara | 0.32 |
| 5 | Neriamangalam+NES | 377.84 | 23 | Peppara | 8.23 |
| 6 | Poringalkuthu + PLBE | 192.8 | 24 | Vellathuval SHEP | 2.74 |
| 7 | Idamalayar | 345.4699 | 25 | Lower Meenmutty | 6.11 |
| 8 | Sholayar | 202.63 | 26 | Madupetty | 1.63 |
| 9 | Pallivasal | 185.25 | 27 | Chimony | 6.69 |
| 10 | Kakkad | 221.573 | 28 | Malampuzha | 4.32 |
| 11 | Sengulam | 123.03 | 29 | Peechi | 2.48 |
| 12 | Panniar | 114.95 | 30 | Perunthenaruvi | 7.72 |
| 13 | Kallada | 68.34 | 31 | Kakkayam | 2.63 |
| 14 | Malankara | 33.25 |  | KSEB Hydro (TOTAL) | 7602.41 |
| 15 | Barapole | 1.2 |  | Aux Consumption (MU) | 31.81 |
| 16 | Vilangad | 7.82 |  | Auxiliary consumption % | 0.42% |
| 17 | Poozhithode | 7.56 |  | Net Generation in MU | 7570.60 |
| 18 | Urumi | 6.86 |  |  |  |

2.4 Thermal Generation:

2.4.1	Due to high variable costs no generation has been proposed from the thermal power plants, BDPP & KDPP for the entire control period. However, it was also submitted that the scheduling of these plants will be done in case of contingency only. Accordingly, as per the system requirements, KSEBL was forced to generate a small quantum of energy from KDPP& BDPP stations to the tune of 4.089 MU (3.799 + 0.29) together in FY 2018-19. The monthly split up details of the generation from thermal sources is shown in table G5. KSEBL was able to consume  3200 MT ( approximate)  of  LSHS of BPCL  at KDPP  at a negotiated cost of Rs.17240/MT  during March -2019 and hence  KSEB  was able to generate power at a reduced rate of  Rs.4/ unit from KDPP during  peak summer. It may be noted that the market price of LSHS is around Rs. 50,000/-(approx) including GST and transportation.

| Table-G5 : Generation from BDPP and KDPP (MU) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Month | BDPP | KDPP |  | Month | BDPP | KDPP |
| Apr-18 |  | 1.04 |  | Nov-18 |  |  |
| May-18 |  |  |  | Dec-18 | 0.13 |  |
| Jun-18 |  |  |  | Jan-19 |  |  |
| Jul-18 |  |  |  | Feb-19 | 0.17 |  |
| Aug-18 |  |  |  | Mar-19 |  | 2.68 |
| Sep-18 |  | 0.07 |  |  |  |  |
| Oct-18 |  |  |  | Total | 0.29 | 3.799 |

2.5  Solar & Wind projects:

2.5.1	Hon’ble Commission has approved an energy generation of   16.58 MU from Renewable source for the FY 2018-19. As on 31.03.2018, petitioner has an installed capacity of 14.707MW with an annual generation of about 13.45 MU. Further, petitioner was able to add 2.14MW of solar projects in the Year 2018-19 totalling to 16.85MW and the annual generation for the FY was 18.54 MU. The total wind energy capacity of KSEBL as on 31.03.2019 was 2.025MW and the generation for the FY 2018-19 was 1.33 MU. Thus the total generation from renewable source was 18.54 MU.

2.6 ARR&ERC of SBU- G:

2.6.1	The actual ARR, ERC for the Generation Business Unit are furnished in Form G-P&L. A statement showing comparison of ARR & ERC approved by the Hon Commission and actual for the year as well as true up sought along with deviations are summarized below. Item wise explanation is furnished thereafter. The detailed explanation on prudence of various expenses and segregation of various costs among the three Strategic Business Units is submitted under chapter -5 of this petition. Accordingly, a gist of reasoning is provided hereunder.

| Table–G6 : COMPARISON OF GENERATION SBU ARR (Rs Cr) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Particulars | Trued up sought | 2018-19 |  |  |  |
|  |  | 2017-18 | Approval | Actuals | TU | Difference over approval |
| 1 | Cost of Generation of Power | 2.08 | 0 | 3.29 | 3.29 | 3.29 |
| 2 | Interest & Finance Charges | 146.71 | 126.27 | 127.94 | 127.58 | 1.31 |
| 3 | Depreciation | 143.48 | 130.19 | 132.36 | 137.60 | 7.41 |
| 4 | O&M Expenses (Excl terminal benefits) | 171.18 | 124.15 | 197.31 | 132.52 | 8.37 |
| 5 | RoE (14% of Rs 1454.53 Cr) | 116.38 | 116.38 | 153.33 | 116.38 | 0 |
| 6 | Other Expenses & PP expenses | (-)0.92 | 0 | -4.68 | -4.68 | -4.68 |
| 7 | Exceptional Items - Flood |  | 0 | 3.11 | 0.00 | 0.00 |
| 8 | One Time Expense CMDRF |  | 0 | 0 | 1.79 | 1.79 |
| 9 | Fair Value adjustments |  |  | -1.52 |  |  |
| 10 | Interest on additional bond to Master Trust | 27.99 | 10.26 |  | 10.26 | 0.00 |
| 11 | ARR | 606.90 | 507.24 | 611.14 | 524.73 | 17.49 |
| 12 | Less Non-Tariff Income | 24.99 | 25.83 | 24.48 | 17.94 | -7.89 |
| 13 | Net ARR (Transferred to SBU-D) | 581.91 | 481.41 | 586.66 | 506.79 | 25.38 |

2.6.2	 It may please be seen that the actual net ARR 586.66 exceeded approval by Rs.105.25 Cr and whereas the amount sought for true up is slightly higher by Rs. 25.38 Cr from the approved figure.

  - Cost of generation of power

2.7.1	 Rs. 3.29 Cr was actually incurred during the year towards the cost of fuel and lubricants for generation of stations owned by KSEBL, which may kindly be approved. The split up details are given below:

| Table–G6 : Cost of generation (Rs Cr) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Particulars | KDPP | BDPP | Hydro stations | Total |
| Oil | 1.6305 | 0.1604 |  | 1.7909 |
| HSD oil | 0.0621 | 0.1520 |  | 0.2141 |
| Lub oil | 0.0511 | 0.0015 |  | 0.0526 |
| Lubricants and consumable stores | 0.0091 | 0.3735 | 0.8503 | 1.2329 |
| Station supplies |  |  |  | 0.0015 |
| Total | 1.7528 | 0.6874 | 0.8503 | 3.292 |

  - Interest and Finance charges:

2.8.1. Actual Interest and finance charges for the year 2018-19 is Rs 127.94 as against the approved figure of Rs 126.27 Cr. An amount of Rs 127.58 Cr is claimed under the head in true up. The details are given below.

| Table G 7 : Interest and Finance charges (Rs Cr) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Particulars | Approved | Actual | TU | Difference |
| 1 | Interest on Outstanding Capital Liabilities | 71.15 | 67.26 | 69.88 | -1.27 |
| 2 | Interest on GPF | 9.37 | 8.92 | 8.92 | -0.45 |
| 3 | Other Interests |  | 1.01 |  |  |
| 4 | Interest on Master Trust Bonds | 39.67 | 42.56 | 42.56 | 2.89 |
| 5 | Interest on Working capital | 6.08 | 8.19 | 6.21 | 0.13 |
| 6 | Total | 126.27 | 127.94 | 127.58 | 1.31 |

2.8.2	Interest on normative loan: Regulation 26 of Tariff Regulation 2018 specifies the approval of loan Interest on normative basis. Based on this, while issuing orders on MYT petition, Hon’ble Commission approved Rs.794.60 Cr as opening normative loan as at 01.04.2018 after considering provisional asset addition for the years 2016-17 and 2017-18, contributions and grants etc. Considering interest rate at 9.33% Hon’ble Commission approved normative interest at Rs.71.15 Cr for 2018-19. Further, provisional approval of Rs.65.79 Cr was granted for the asset addition during 2018-19. Actual entitlement of normative loan as on 01.04.2018, GFA addition during 2018-19, repayment during the year and closing normative loan as on 31.03.2019, interest on normative loan along with SBU wise segregation are computed and explained in chapter 5. Based on the computation, an amount of Rs.69.88 Cr is claimed as interest on normative loan for the year 2018-19.

2.8.3   Interest on PF: Hon Commission approved Rs 9.37 Cr towards interest on PF. But as per the audited accounts, the actual interest paid on PF was Rs.8.92 Cr, which is less than the approval by Rs.0.45 Cr. The actual interest for SBU- G amounting to Rs.8.92 Cr may kindly be approved.

2.8.4	Interest on additional bond to Master Trust: State Government, as per notifications dated 31.10.2013 and 28.01.2015, ordered creation of a Master Trust for meeting the unfunded liability of pension, gratuity and leave surrender as on 31.10.2013, in respect of the personnel transferred from erstwhile KSEB to KSEBL. The total liability as on 31.10.2013 was estimated at Rs.12418.72 Cr and necessary funding arrangements put in place through issue of 2 series of Bonds. Hon Commission recognized the unfunded pension liabilities as above and approved recovery of interest on KSEBL share of Bonds as per Tariff Regulations, 2014. Thus Hon Commission approved Rs.39.67 Cr towards interest on Master Trust bonds. As detailed in chapter 5, actual share of expenses for SBU G has been Rs. 42.56 Cr, which may kindly be approved.

    - Interest on Additional Bond to Trust: In addition to the interest on bonds actually issued, an additional amount of Rs.200 Cr (Rs. 10.26 Cr for SBU G) has been provisionally approved towards unfunded liability. Hon’ble Commission may kindly true up the provisional amount of Rs.10.26 Cr as detailed in chapter 5.

2.8.6	Interest on working capital: Even though there was no generation proposed from the thermal stations, KSEBL was forced to use the same during contingencies to the extent of 4.089MU. Accordingly, in the computation of working capital, the cost of fuel is taken as the cost incurred on fuel during the maximum consumption month of KDPP alone. The detailed calculation of the same is shown below.

| Table G 8: Computation of interest on working capital for 2018-19 |  |  |
| --- | --- | --- |
| Sl. No | Particulars | Amount (Rs.Cr) |
| 1 | Cost of fuel for 1 month | 1.19 |
| 2 | O&M expense for 1 month | 10.36 |
| 3 | 1% of GFA towards maintenance spares | 49.61 |
| 4 | Total | 61.16 |
| 5 | Less: Security deposit | 0.00 |
| 6 | Net working capital | 61.16 |
| 7 | Base rate as on 01.04.2017 | 8.15% |
| 8 | Interest rate @2% above base rate | 10.15% |
| 9 | Interest on Working capital (6x8) | 6.21 |

2.8.7	 In view of the above, the Hon’ble Commission may kindly approve interest and finance charges as   detailed above.

  - O&M of SBU-G:

    - Hon’ble Commission had approved Rs.0.38 Cr as O &M expense for new and ongoing hydro and solar projects for 2018-19. Hon’ble Commission has reckoned Kakkayam SHEP alone for the same by considering date of commissioning of the project as October 2018. But Kakkayam project having a generation capacity of 3MW was commissioned on 16.07.2018 Ie commissioned two months before the target date considered in the MYT Order.  So the O&M expense became 0.608 Cr on normative basis. Further, solar projects (capacity 2.143MW) have also been added in the financial year. The details of the same are furnished below.   Considering the early commissioning of the Kakkayam project and solar projects commissioned during the FY 2018-19 an amount of 0.7011 Cr. may be allowed towards O&M expense of new and projects for      2018-19.

| Table – G 9 O&M expense of New Generating stations Commissioned |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project | CoD | Capacity-MW | Energy-MU | Capital cost (RS Cr) | Addl. O&M cost (Cr) |
| Kakkayam | 16.07.2018 | 3 | 10.39 | 43.2 | 0.608 |
| Solar Projects |  |  |  |  |  |
| Peerumede | 23.04.2018 | 0.5 |  |  | 0.0352 |
| Roof Top So-lar (Tr. Wing) | 09.07.2018 | 0.91 |  | 7.64 | 0.047 |
| Roof Top IPDS South | 31.12.2018 | 0.233 |  |  | 0.0045 |
| Ponani | 16.01.2019 | 0.5 | 0.77 | 3.539 | 0.0064 |
| Total |  | 5.143 |  |  | 0.7011 |

2.9.2. The actual O&M expenses of the generation Business Unit was Rs. 197.31 Cr. Component wise details are given in the Table-G10 and detailed in Form G4. Hon Commission had approved only Rs 124.15 Cr towards O&M expenses based on the norms specified in the Tariff Regulation, 2018. However, based on the commissioning of the new generating stations and provision for pay revision, a claim of Rs. 132.52 is sought for true up for the year 2018-19. The provision for pay revision amounts to Rs.8.05 Cr, over normative values, as detailed in chapter 5.

| Table G 10 Details of O&M expenses for 2018-19 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Particulars | Approved | Actual | TU requirement | Difference |
| 1 | Employee Cost | NA | 128.37 |  | NA |
| 2 | A&G Expenses | NA | 41.81 |  | NA |
| 3 | R&M Expenses | NA | 27.13 |  | NA |
| 4 | Sub total | 124.15 | 197.31 | 132.52 | 8.37 |
| 5 | Terminal benefits | NA | NA |  | NA |
| 6 | Total | 124.15 | 197.31 | 132.52 | 8.37 |

2.9.3	Detailed explanation on the O&M expenses is furnished in Chapter 5 of this petition. It is humbly prayed that the Hon’ble Commission may be pleased to approve the O&M expense as above.

2.10 Depreciation:

2.10.1	The approved depreciation for the Generation assets for the year 2018-19 was Rs 130.19 Cr where as the actual amount was Rs.132.36 Cr and the amount sought for truing up is Rs. 137.60 Cr.

2.10.2. Hon’ble Commission may kindly note that depreciation as per accounts has been worked out in line with IND AS and claw back depreciation was determined and credited to other Income under Note 25(b) of Annual accounts.  But, as per MYT Regulation for the control period 2018-22, depreciation is allowable as per the provisions contained in the Tariff Regulations, 2018 in which applicable rates as well as methodology to be followed are specified therein. Accordingly, allowable depreciation for SBU G has been worked out at Rs. 137.60 Cr as detailed in Chapter 5. Hon’ble Commission may kindly approve the same.

  - Return on Equity:

    - Hon’ble Commission approved Return on equity at Rs.116.38 Cr. Actual RoE for the Generation SBU as per audited accounts amounts to Rs. 153.33 Cr. Hon’ble Commission may kindly approve Rs.116.38 Cr as detailed in Chapter 5.

  - Non Tariff Income:

    - Hon’ble Commission approved Rs.25.83 Cr under this head. Actual income earned as per accounts has been Rs.24.48 Cr. SBU G seeks to true up Rs.17.94 Cr under the head non tariff income as detailed in chapter 5 after excluding income booked under claw back depreciation. The non Tariff income includes income from sale of scrap, interest on advances to contractors, interest on staff loans and advances, rent from buildings etc. Hon’ble Commission may kindly true up Rs.17.94 Cr under this head.

  - Other items and Prior period expenditure:

    - Net prior period expenses and other expenses amounted to a gain of Rs.4.68 Cr for the year 2018-19, as detailed  in chapter 5, which may kindly be approved.

  - Onetime expenses:

    - Share of SBU G’s contribution to CMDRF as detailed in chapter 5 amounts to Rs.1.79 Cr. Hon’ble Commission may kindly true up the claim.

  - Transfer of Generation Costs:

    - ARR for SBU G sought for true up is Rs. 524.73 Cr and Non tariff income earned is Rs. 17.94 Cr. The net expenses of SBU G transferred to SBU-D are Rs. 506.79 Cr. This cost is considered as the Cost of own generation in the ARR of SBU-D, which may kindly be approved.

  - ARR & Tariff Formats:

    - Formats relating to Generation Business Units as per the Tariff regulation 2018 are furnished hereafter. However, Forms G-3.1, G-6.5 to G-6.8, G-6.10 to G-7.1 which are not directly relevant or applicable or on which data are not readily available are not included in this submission.

  - The Next Chapter thereafter provides the truing up of Transmission Business Unit.