Chapter– 4: TRUING UP OF ARR OF SBU – DISTRIBUTION

4.1	An overlook on Kerala Distribution network:

Kerala State Electricity Board Limited supplies electricity to about 3.47 Cr of entire population across 14 districts in Kerala. There are about 97 Lakh domestic consumers, 21.97 Lakh commercial/general consumers, 1.41 Lakh industrial consumers, 4.71 Lakh agricultural consumers. The key statistics of distribution network is given below:

| Table-D1 Key Statistics of KSEBL Distribution Network as on 31.03.2019 |  |
| --- | --- |
| Particulars | Statistics |
| Area Sq.km. | 38863 km2 |
| Districts No’s | 14 |
| Electrical Circle Offices | 25 |
| Population in Cr | 3.47 |
| Consumers (Nos) | 12552206 |
| Distribution transformers (Nos) | 79876 |
| HT lines (Ckt. Kms ) | 64568.02 |
| LT lines ( Kms ) | 289804 |
| Energy sales in MU | 21536.77 |
| Energy consumption (incl open access & captive consumption) in MU | 21902.59 |
| Per capita consumption in units | 626 |
| Consumption per consumer in units | 1731.69 |
| T&D loss in % (including transmission loss) | 12.47% |
| Distribution loss in % | 9.07% |
| AT&C loss in % | 8.85% |

4.2	Availability of Electricity for Supply:

The petitioner has ensured 100% availability of power for supply in the state. There had been no power cut or load shedding enforced in the State even during the extreme summer months of 2019, except for emergency supply interruptions caused by uncontrollable factors. The gross availability of electricity for supply for 2018-19 as per regulations was 104.91 % and the month-wise details of power availability to meet the base load and peak load is given as Appendix D1.

  - Energy Sales for 2018-19:

    - Hon’ble Commission, vide order dated 08.07.2019, had approved energy sale of 21647.29 MU for the year 2018-19. Actual energy sale of KSEBL for FY 2018-19 was 21536.77 MU. Embedded open access consumers availed 205.44 MU through open access. Further 152.34 MU was consumed from captive generation. In addition to the above, 8.04 MU was supplied to RGCCPP for meeting auxiliary consumption.  Thus the total energy consumption at consumer end was 21902.59 MU. The actual energy sale by KSEBL was 110.52 MU less than approval. Considering the impact of open access, the actual quantum was 94.92 MU more than the approval quantum (0.44%). A comparison of approved and actual energy sales is given as in Table below:

| Table –D2 :-Energy sales comparison(MU) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Category | Approved* | Actual | Energy drawal thru open access | Energy incl open access | % increase against approval |  |
| LT Category |  |  |  |  |  |  |
| Domestic | 10856.52 | 10860.01 |  | 10860.014 | 0.03 |  |
| Commercial | 3168.22 | 3219.41 |  | 3219.41 | 1.60 |  |
| Industrial | 1100.98 | 1111.67 |  | 1111.6682 | 0.97 |  |
| Agricultural | 350.02 | 337.65 |  | 337.64904 | -3.53 |  |
| Street Lights | 380.84 | 377.78 |  | 377.78 | -0.80 |  |
| LT II | 4.9 | 4.33 |  | 4.33 | -11.63 |  |
| Advertisement & Hoardings | 2.01 | 2.02 |  | 2.02 | 0.50 |  |
| LT Total | 15863.49 | 15912.87 |  | 15912.87 | 0.31 |  |
| HT Category |  |  |  |  |  |  |
| HT I | 2137.66 | 2152.18 | 15.69 | 2167.86 | 1.41 |  |
| HT II | 797.91 | 783.12 | 7.36 | 790.48 | -0.93 |  |
| HTIII | 9.69 | 8.92 |  | 8.92 | -7.91 |  |
| HT IV | 671.26 | 696.39 | 0.00 | 696.39 | 3.74 |  |
| HT V | 15.41 | 16.31 |  | 16.31 | 5.85 |  |
| HT Total | 3631.93 | 3656.92 | 23.04 | 3679.96 | 1.32 |  |
| EHT Category |  |  |  |  |  |  |
| EHT-I | 355.56 | 268.73 | 66.68 | 335.40 |  | -5.67 |
| EHT-II | 748.67 | 610.01 | 105.74 | 715.75 |  | -4.40 |
| EHT-III | 94.83 | 106.63 | 9.05 | 115.68 |  | 21.99 |
| EHTGeneral | 70.48 | 66.54 |  | 66.54 |  | -5.59 |
| Railway Traction | 273.51 | 303.13 |  | 303.13 |  | 10.83 |
| KMRL | 15.79 | 14.91 |  | 14.91 |  | -5.58 |
| EHT Total | 1558.84 | 1369.95 | 181.47 | 1551.4176 |  | -0.48 |
| Bulk consumers/Licensees | 593.03 | 597.04 | 0.93 | 597.97 |  | 0.83 |
| HT.EHT & Licensees total | 5783.8 | 5623.90 | 205.44 | 5829.345 |  | 0.79 |
| Total | 21647.29 | 21536.77 | 205.44 | 21742.214 |  | 0.44 |
| * including the consumption of energy wheeled through open access |  |  |  |  |  |  |

    - The energy sale in 2018-19 was 21536.77 MU against 20880.70 MU in 2017-18. The total energy consumption at consumer end for the year 2018-19 was 21902.59 MU against 21258.71 MU during 2017-18.The overall growth in energy sale by KSEBL in 2018-19 over 2017-18 had been 3.05%. The overall growth in energy consumption at consumer end including open access and captive generation was 2.99%. During the year 2018-19, 824.78 MU had been sold outside the state and 168.02 MU has been transferred outside the State through banking arrangements.

    - Details in respect of consumption of different categories of consumers during the year 2018-19 over previous year are given below.

| Table-D3: Energy sales in MU for FY-19 Comparison with FY-18 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Category | Tariff code | Energy in MU |  | Change |
|  |  | 2017-18 | 2018-19 | in % |
| LT category |  |  |  |  |
| Domestic | LT I | 10569.99 | 10860.01 | 2.67 |
| Colonies | LT II | 4.85 | 4.33 | -12.09 |
| Temporary Connections | LT III | 1.47 | 1.06 | -38.26 |
| Industrial | LT IV | 1112.33 | 1111.67 | -0.06 |
| Agriculture | LT V | 346.03 | 337.65 | -2.48 |
| General | LT VI | 1525.03 | 1567.41 | 2.70 |
| Commercial | LT VII | 1534.99 | 1650.93 | 7.02 |
| Public Lighting | LT VIII | 373.48 | 377.78 | 1.14 |
| Adv and Hoardings | LT IX | 1.99 | 2.02 | 1.70 |
| LT total |  | 15470.15 | 15912.87 | 2.78 |
| HT Category |  |  |  |  |
| HT Industrial | HT I | 2062.99 | 2152.18 | 4.14 |
| HT General | HT II | 761.64 | 783.12 | 2.74 |
| HT Agriculture | HT III | 9.61 | 8.92 | -7.70 |
| HT Commercial | HT IV | 644.82 | 696.39 | 7.40 |
| HT Domestic | HT V | 14.97 | 16.31 | 8.22 |
| EHT category |  |  |  |  |
| EHT 66 KV Industrial | EHT I | 247.34 | 268.73 | 7.96 |
| EHT 110 KV Industrial | EHT II | 631.13 | 610.01 | -3.46 |
| EHT 220 KV Industrial | EHT III | 77.99 | 106.63 | 26.86 |
| EHT General |  | 70.14 | 66.54 | -5.41 |
| Railway Traction |  | 265.8 | 303.13 | 12.32 |
| KMRL |  | 15.35 | 14.91 | -2.96 |
| Bulk Licensees |  | 608.77 | 597.04 | -1.97 |
| HT &EHT & Bulk Supply |  | 5410.55 | 5623.90 | 3.79 |
| Total |  | 20880.7 | 21536.77 | 3.05 |
| Open Access Drawal |  | 269.86 | 205.44 |  |
| Captive Consumption |  | 108.16 | 152.34 |  |
| RGCCPP |  | 8.6326 | 8.04 |  |
| Grand Total |  | 21267.35 | 21902.59 | 2.99 |

    - The energy consumption in FY-19 in respect of certain categories of consumers showed significant changes when compared to the consumption in previous year. The domestic consumption increased by only 2.67% against the estimated rate of 5.54% (CAGR from FY-12 to FY-18). This is mainly due to the DSM programmes and captive solar generation.

    - Embedded open access consumers imported about 216.60 MU and energy injected by IPPs into the grid for sale outside the State through open access was 39.17 MU. The details are furnished below.

| Table –D4 Energy availed and sold through OA by embedded open access consumers in FY-19 (MU) |  |  |  |
| --- | --- | --- | --- |
| Particulars | Energy at Kerala Periphery | Energy at injection/drawal point | Loss on accounting of wheeled units |
| Energy (Import) | 216.60 | 205.44 | 11.16 |
| Energy (Export) | -37.40 | -39.17 | 1.76 |
| Total loss |  |  | 12.92 |

    - The consumption pattern for 2018-19 is given in table below:

| Table-D5 : Consumption pattern for 2018-19 |  |  |  |
| --- | --- | --- | --- |
| No | Category | Energy sales |  |
|  |  | MU | % |
| 1 | Domestic | 10864.34 | 50.45 |
| 2 | Industrial | 1111.67 | 5.16 |
| 3 | Agriculture | 337.65 | 1.57 |
| 4 | Commercial | 3221.43 | 14.96 |
| 5 | Public Lighting | 377.78 | 1.75 |
| 6 | HT &EHT Total | 4708.82 | 21.86 |
| 7 | Railway Traction | 303.13 | 1.41 |
| 8 | KMRL | 14.91 | 0.07 |
| 9 | Bulk Supply | 597.04 | 2.77 |
| 10 | Total sales (within state) | 21536.77 | 100.00 |
| 11 | Interstate sale | 824.78 |  |
| 12 | Total | 22361.55 |  |

  - T & D Loss:

    - Hon Commission, vide order dated 08.07.2019, had approved the loss reduction target of 2018-19 as 0.25%, over the loss level of 2017-18 (13.07%) and approved the loss target at 12.82%. Further, the transmission loss and total AT &C loss were approved at 4.05% and 11.01% respectively with a collection efficiency target of 98 %. The actual T&D loss achieved for the year 2018-19 is 12.47% ie an actual loss reduction of 0.60% was achieved during the year 2018-19.

    - Hon’ble Commission may kindly note that KSEBL was able to reduce loss by 0.35% over and above  the target approved,  as detailed below:

| Table D6 T&D loss for the year 2018-19 |  |  |
| --- | --- | --- |
| Sl No | Particulars | 2018-19 |
| A | Energy generation by KSEBL excl auxiliary consumption (MU) | 7593.12 |
| B | Power Purchase /energy banked at Kerala periphery(MU) | 18046.57 |
| C | Sub Total (MU) (A+B) | 25639.69 |
| D | Energy injected to the grid by private IPPs for sale outside the State through OA (MU) | 39.17 |
| E | Energy wheeled by embedded open access consumers from outside the State at KSEB end (MU) | 216.60 |
| F | Energy sales by KSEBL outside the State | 824.78 |
| G | Energy transfer outside the State by KSEBL through banking arrangement | 168.02 |
| H | Energy sale by private IPPs for sale outside the State through open access (MU) | 37.40 |
| I | Energy Input (MU)(C+D+E-F-G-H) | 24865.25 |
| J | Substation auxiliary consumption(MU) | 16.11 |
| K | Net Energy Input excluding auxiliary consumption(MU) (I-J) | 24849.15 |
| L | Energy sales by KSEBL | 21536.77 |
| M | Energy consumed by embedded open access consumers at consumer end by wheeling from outside the State (MU) | 205.44 |
| N | Energy supplied to RGCCPP for auxiliary consumption during non operative period (MU) | 8.04 |
| O | Energy supplied at consumer end(MU) (L+M+N) | 21750.25 |
| P | T&D loss (MU) (K-O) | 3098.90 |
| Q | T& D loss for 2018-19 in %(P*100/K) | 12.47 |
| R | T& D loss in % for 2017-18 | 13.07 |
| S | Loss reduction achieved during 2018-19 | 0.60 |
| T | T& D loss target approved for 2018-19 in % | 12.82 |
| Q | T& D loss reduction target approved for 2018-19 in % | 0.25 |
| R | Achievement in loss reduction in excess of target approved (%) | 0.35 |

  - Distribution loss:

    - The actual transmission and distribution loss during the year 2018-19 was 12.47%.It may please be noted that the total transmission loss up to 66 KV level was 3.74%. Based on the above the distribution loss for 2018-19 is assessed as follows:

| Table - D7: Distribution losses |  |  |  |
| --- | --- | --- | --- |
| Sl No | Particulars | Quantum | Unit |
| (i) | Total Generation and Power Purchase at Kerala periphery(K of tableD6) | 24,849.15 | MU |
| (ii) | Transmission loss @3.74% | 929.5737 | MU |
| (iii) | Total energy input into the distribution system (i)-(ii) | 23,919.57 | MU |
| (iv) | Sale of energy at EHT level | 2157.42 | MU |
| (v) | Distribution loss associated with sale at EHT level | 0 | MU |
| (vi) | Energy available for sale at HT&LT levels (iii)-(iv)-(v) | 21,762.15 | MU |
| vii) | Sale of energy at HT level | 3679.96 | MU |
| (viii) | Sale of energy at LT level | 15912.87 | MU |
| (ix) | HT & LT loss (vi)-(vii)-(viii) | 2,169.32 | MU |
| (x) | HT & LT loss in % [(ix)*100/(vi)] in % | 9.97 | % |
| (xi) | Total distribution loss with EHT sales of energy also taken as energy sales by SBU-D (ix)*100/(iii) | 9.07 | % |

    - As already submitted, Hon’ble Commission approved a collection efficiency target of 98% and target of AT&C loss at distribution level as 11.01%. The AT&C loss achieved during 2018-19 was 8.85% as tabulated below.

| Table D 8 AT&C loss for FY-19 |  |  |
| --- | --- | --- |
|  | Particulars | Quantum |
| A | Energy Input (MU) | 24,849.15 |
| B | Transmission loss (MU) | 929.57 |
| C | Net Energy input (MU) (A-B) | 23,919.57 |
| D | Energy Sold (MU) | 21,750.25 |
| E | Revenue from sale of power (Rs. Crore) | 13053.26 |
| F | Adjusted Revenue based on subsidy received basis (Rs. Cr.) | 13053.26 |
| G | Net Opening debtors (Rs. Crore) | 2121.96 |
| H | Adjusted closing debtors (Rs. Crore) | 2079.85 |
| I | Collection efficiency (F+G-H)/E*100 | 100.24 |
| J | Units realised (MU) (D*I/100) | 21,802.45 |
| K | Units unrealised (MU) (C-J) | 2,117.12 |
| L | AT&C Loss (%) (K-C*100) | 8.85% |

    - Hon Commission may kindly note that, KSEBL has been continuously reducing the T&D loss since the year 2001-02.  KSEBL was able to reduce the total T&D loss in the KSEBL system including transmission system to the level of 12.47% during the year 2018-19. Thus the losses in the Distribution system, as a percentage of the total energy input is one of the lowest among the distribution utilities in the country. Consistent T&D loss reduction was one of the major achievements of the Board. It may kindly be noted that, since 2001-02 Board could bring down T&D loss from the level of 30.76% in 2001-02 to 12.47% in 2018-19. This cumulative reduction in T&D loss (18.29%) is equivalent to avoided power purchase of 6501 MU during the year 2018-19 alone.  At an average purchase rate of Rs 4.34 per unit, this translates to a saving of Rs 2821.43 Cr under power purchase cost.

    - KSEBL has undertaken a series of measures during 2018-19, as detailed below, in order to achieve the above loss reduction.

| Table- D9 Steps taken for T&D loss reduction |  |
| --- | --- |
| Particulars | Achievement during 2018-19 |
| Substations Commissioned |  |
| 110 kV | 3 |
| 66 kV | 1 |
| 33 kV | 5 |
| Total | 9 |
| Lines Commissioned(Ckt km) |  |
| 110 kV | 119.15 |
| 66 kV | 43 |
| 33 kV | 60.9 |
| Total | 223.05 |
| Capacity addition/enhancement(MVA) | 913.70 MVA |
| 11 KV line constructed(km) | 1772.83 |
| LT line constructed(km) | 3400.78 |
| No. of distribution transformers | 2410 |
| HT re conductoring (km) | 840 |
| LT re conductoring (km) | 8355 |
| 1 phase to 3 phase conversion(km) | 1292 |
| Meter Replacement(Nos) | 837858 |

    - It is respectfully submitted that, due to loss reduction of 0.35%   achieved above the target of 0.25%, KSEBL was able to save an additional quantum of 98.82 MU against power purchase.  Considering the average power purchase cost of Rs 4.34 per unit for the year 2018-19; KSEBL was able to save 42.89 Cr under cost of power purchase on account of this achievement.

    - As per Regulation 14 of Tariff Regulations, 2014 the aggregate gain on account of controllable factors shall be dealt with the following manner:

- One-third of the amount of such gain shall be passed on to consumers as a rebate in tariffs.

- The remaining two third of the amount of such gain may be utilised at the discretion of licensee

    - Thus the gain to be retained by KSEBL amounts to Rs.28.59 Cr and passed on to consumers is Rs 14.30 Cr as detailed below, which may kindly be approved.

| Table- D10 Gain attributable to KSEBL on over achievement of T&D loss reduction target. |  |  |
| --- | --- | --- |
| Particulars | Quantum | Unit |
| Energy sales by KSEBL | 21536.77 | MU |
| Energy taken by RGCCPP during non operative periods | 8.04 | MU |
| Total energy | 21544.81 | MU |
| Energy input needed at 12.82% loss | 24713.02 | MU |
| Energy input needed at 12.47% loss | 24614.2 | MU |
| Energy savings | 98.82 | MU |
| Power Purchase cost saved due to over achievement of loss | 42.89 | Cr. |
| 2/3 of savings | 28.59 | Cr. |

    - The comparison of actual energy sales and energy input as against the approval is given in table below

| Table- D11 Summary of energy balance |  |  |  |
| --- | --- | --- | --- |
| Particulars | Approved | Actual | Difference |
| Energy sales by KSEBL in MU | 21647.29 | 21544.81* | -102.48 |
| Energy input for meeting the energy sales in MU(C-F-G-J) of table D6 | 24846.15 | 24630.78 | -215.37 |
| Internal Generation in MU (excl aux) |  |  |  |
| Hydro | 7807.42 | 7570.60 | -236.82 |
| Thermal | 0 | 2.66 | 2.66 |
| Solar & wind | 16.58 | 19.87 | 3.29 |
| Subtotal generation | 7824.00 | 7593.12 | -230.88 |
| Power Purchase in MU at Kerala periphery |  |  |  |
| CGS | 10255.41 | 9241.09 | -1014.32 |
| RGCCPP | 0 | 0.81 | 0.81 |
| IPP-wind & SHPs CPPs &solar prosumers | 280.7 | 280.41 | -0.29 |
| LTA | 7999.32 | 7652.05 | -347.27 |
| Short term purchase | 0 | 872.21 | 872.21 |
| Sub Total generation & Power Purchase by KSEBL | 26359.43 | 25639.69 | -719.74 |
| Substation auxiliary consumption (MU) | 15.58 | 16.11 | 0.53 |
| Energy availability | 26343.85 | 25623.58 | -720.27 |
| External sale/swap return | 1497.70** | 992.80 | -504.90 |
| Grand Total | 24846.15 | 24630.78 | -215.37 |

*Energy sales by KSEBL to its consumers (21536.77 MU) along with the supply to RGCCPP (8.04 MU)   for meeting the auxiliary consumption during non operative period (21536.77+8.04)

**External sale only

    - It may be seen from the table that the energy demand has decreased by about 102.48 MU. Hydro generation was less by 215.37 MU. There was a reduction of 1014.33 MU from CGS and 347.27 MU from IPPs outside the State against the approval granted by the Hon Commission. The shortfall was compensated by purchasing power from exchanges and banking arrangements, which were not originally approved in the order. The sale of power outside the State also came down accordingly.

  - Analysis of various ARR components

Cost of Power Purchase

    - The Distribution Business Unit of the petitioner had sold 21536.77 MU to its consumers during the year 2018-19 within the State. The total own generation (net of auxiliary consumption) and power purchase was 25623.58 MU at Kerala periphery.  SBU G was able to supply 7593.12 MU (30.73%) only of the total requirement and balance was purchased from CGS and IPPS within and outside the State, power exchanges etc.

    - Cost of Generation: The energy generation from own generating stations was 7593.12 MU as detailed in Table D 11. ARR for SBU G for the year 2018-19 was Rs. 528.31 and Non tariff income earned is Rs. 17.94 Cr. The net expenses of SBU G transferred to SBU-D are Rs. 510.37 Cr. Deviation from approval is explained in chapter dealing with Truing up of SBU G.

    - Cost of Purchase of power:  Hon Commission had approved a cost of Rs. 7847.77 Cr for the purchase of 18535.41 MU from various sources. The actual power purchase quantum was 18046.57 MU at Kerala periphery at a cost of Rs 7869.32 Cr as detailed in Form D3.1. The true up requirement is Rs 7826.86 Cr which is less than the approved by Rs 20.91 Cr. A summary of the approved and actual power purchase and trued up requirement is given in Table below. The source wise procurement of power is detailed in Appendix-D4.  Hon Commission may please note that the petitioner had taken earnest effort to obtain power at the lowest cost from different sources without imposing any load shedding or power restriction in the state.

| Table – D12: Power Purchase for the year 2018-19 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No | Particulars | Approved |  | Actual |  | Truing up |  | Variation |  |
|  |  | Energy (MU)* | Cost | Energy (MU)* | Cost | Energy (MU)* | Cost |  |  |
|  |  |  | (Rs Cr) |  | (Rs Cr) |  | (Rs Cr) | Energy (MU)* | Cost (Rs Cr) |
| 1 | Central Gen. Stations | 10255.42 | 3684.51 | 9241.09 | 3418.17 | 9241.09 | 3418.17 | -1014.33 | -266.34 |
| 2 | Small IPPs within the State | 280.70 | 103.78 | 280.41 | 108.97 | 280.41 | 101.08 | -0.29 | -2.70 |
| 3 | RGCCPP, Kayamkulam (net) | 0.00 | 200.00 | 0.81 | 181.70 | 0.81 | 204.13 | 0.81 | 4.13 |
| 4 | IPPs / Traders outside state | 7999.32 | 3319.64 | 7652.05 | 3371.19 | 7652.05 | 3314.19 | -347.27 | -5.45 |
| 5 | Short term / Exchanges/UI |  |  | 872.21 | 235.84 | 872.21 | 235.84 | 872.21 | 235.84 |
| 6 | PTC Balco |  |  |  | 32.37 |  | 32.37 | 0.00 | 32.37 |
| 7 | Transmission charges |  | 539.84 |  | 513.41 |  | 513.41 | 0.00 | -26.43 |
| 8 | Charges in connection with banking of power o/s State |  |  |  | 2.28 |  | 2.28 | 0.00 | 2.28 |
| 9 | Other charges in connection with sale |  |  |  | 5.38 |  | 5.38 | 0.00 | 5.38 |
| 10 | Total | 18535.44 | 7847.77 | 18046.57 | 7869.32 | 18046.57 | 7826.86 | -488.87 | -20.91 |
| * Energy at KSEB Bus |  |  |  |  |  |  |  |  |  |

    - Power Purchase from Central Generating Stations:  A comparison of approved and actual energy purchased from CGS and their costs are given in the Table below.

| Table – D13: Power Purchase from Central Generating Stations for the year 2018-19 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Approved |  | Audited accounts |  | True up requirement |  | Variation |  |
| Station | Energy* ( MU) | Cost (Rs Cr) | Energy* ( MU) | Cost (Rs Cr) | Energy* (MU) | Cost (Rs Cr) | Energy* (MU) | Cost (Rs Cr) |
| RSTPS I & II | 1763.58 | 555.18 | 1608.17 | 530.31 | 1608.17 | 530.31 | -155.41 | -24.87 |
| RSTPS III | 426.1 | 135.16 | 400.76 | 132.78 | 400.76 | 132.78 | -25.34 | -2.38 |
| Talcher Stage-II | 3105.98 | 743.31 | 2889.61 | 715.24 | 2889.61 | 715.24 | -216.37 | -28.07 |
| Simhadri TPS Stg II | 550.33 | 244.85 | 541.92 | 260.58 | 541.92 | 260.58 | -8.41 | 15.73 |
| NLC Stage-I | 397.35 | 132.69 | 396.01 | 127.61 | 396.01 | 127.61 | -1.34 | -5.08 |
| NLC Stage-II | 557.67 | 188.45 | 586.18 | 189.00 | 586.18 | 189.00 | 28.51 | 0.55 |
| NLC 1 Expansion | 429.02 | 146.59 | 429.78 | 151.66 | 429.78 | 151.66 | 0.76 | 5.07 |
| NLC II Expansion | 282.58 | 140.95 | 281.08 | 133.64 | 281.08 | 133.64 | -1.50 | -7.31 |
| Vallur STPS | 346.7 | 168.02 | 267.73 | 145.30 | 267.73 | 145.30 | -78.97 | -22.72 |
| MAPS | 85.3 | 23.26 | 60.72 | 16.63 | 60.72 | 16.63 | -24.58 | -6.63 |
| KAIGA | 486.75 | 176.96 | 541.76 | 201.73 | 541.76 | 201.73 | 55.01 | 24.77 |
| Kudankulam | 1285.78 | 527.94 | 759.53 | 330.14 | 759.53 | 330.14 | -526.25 | -197.80 |
| NTPL | 486.64 | 232.35 | 420.25 | 207.58 | 420.25 | 207.58 | -66.39 | -24.77 |
| Kudgi | 472.19 | 268.82 | 458.51 | 275.99 | 458.51 | 275.99 | -13.68 | 7.17 |
| Eastern Region |  |  |  | -0.02 |  | -0.02 | 0.00 | -0.02 |
| Total | 10675.97 | 3684.53 | 9642.01 | 3418.17 | 9642.01 | 3418.17 | -1033.96 | -266.34 |

* Energy at Generator Bus

    - The reasons for reduction in availability of power are due to following reasons:

- coal shortage.

- flood during August 2018, there was reduction in demand resulting in non scheduling of energy.

- There was shortage of 526.25 MU from Kudamkulam power Station owing to the shutdown of Unit II from February to July -18 and Unit I from August toMarch-19.

- Unit I of MAPS was under urgent maintenance from 30.01.2018 till September 2018.

- NTECL Vallur was under shutdown due to turbine side problem during October 2018 and then due to coal shortage up to December 2018.

- Thus there was an overall reduction in availability from CGS to the extent of 1033.96 MU from the approved quantum during the year 2018-19. Accordingly, actual power purchase cost from CGS had been less by Rs 266.34 Cr from the amount approved by the Hon Commission as detailed in table above.

    - The refund on account of revision of ULDC charges (Farakka and Kahalgon stations under Eastern Region) for the period 01.03.2010 to 30.04.2013 amounting to Rs 1,31,144 and Rs 67,959 was obtained  during the year on account of the  revision of ULDC Fees and Charges of ER stations - Farakka I,  Kahalgaon I and Talcher I for the control period 2009-14 based on CERC order dt 20/9/2018 on Petition no. 213/TT/2017 for truing up of Fees and charges for 2009-14 period. PGCIL had filed the petition for truing up of fees and charges for Fibre Optic Communication System under expansion of Wideband communication Network in eastern region for the 2009-14 control period.

    - Power Purchase from wind and small IPPs within the State: KSEBL had purchased 295.09 MU for Rs.108.97 Cr against the approved quantum of 280.7 MU for Rs 103.78 Cr.

    - The purchase of power from Independent Power Producers as well captive SHP/solar/co generation power producers such as Maniyar, Kuthungal, PCBL and solar prosumers is given in table below.

| Table-D14 : Power Purchase from Wind and other small IPPs |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | KSERC approval |  | Audited Accounts |  | TU requirement |  | Difference |  |
| Station | ( MU) | (Rs Cr) | ( MU) | (Rs Cr) | ( MU)* | (Rs Cr) | (MU) | (Rs Cr) |
| Wind- Ramakkalmedu | 27.87 | 8.75 | 49.73 | 18.18 | 49.73 | 18.18 | -20.42 | -3.84 |
| Wind-Koundikkal | 12.56 | 3.94 |  |  |  |  |  |  |
| Wind- Agali | 29.72 | 9.33 |  |  |  |  |  |  |
| Wind Ahalya | 20.98 | 10.97 | 18.15 | 9.48 | 18.15 | 9.48 | -2.83 | -1.49 |
| INOX | 30.84 | 12.61 | 38.9 | 23.49 | 38.9 | 15.60 | 8.06 | 2.99 |
| Kosamattom | 0 | 0 | 1.13 | 0.06 | 1.13 | 0.06 | 1.13 | 0.06 |
| Wind Sub total | 121.97 | 45.61 | 107.9 | 51.22 | 107.91 | 43.32 | -14.06 | -2.29 |
| Ullunkal(EDCL) | 17.79 | 4.34 | 10.75 | 2.66 | 10.75 | 2.66 | -7.04 | -1.68 |
| Iruttukanam Stage-I & II(Viyyat) | 24.69 | 6.673 | 10.51 | 2.71 | 10.51 | 2.71 | -14.18 | -3.96 |
| Karikkayam HEP(AHPL) | 37.56 | 15.624 | 45.78 | 18.92 | 45.78 | 18.92 | 8.22 | 3.30 |
| Meenvallom(PSHCL) | 8.44 | 4.12 | 7.41 | 3.65 | 7.41 | 3.65 | -1.03 | -0.47 |
| Kallar of Idukki District Panchayat | 0.08 | 0.04 | 0 | 0.004 | 0 | 0.004 | -0.08 | -0.04 |
| Mankulam of Grama Panchayat | 0.09 | 0.04 | 0 | 0.033 | 0 | 0.033 | -0.09 | -0.01 |
| Minar Renewable energy project Ltd | 0 | 0 | 0.07 | 0 | 0.07 | 0 | 0.07 | 0.00 |
| SHEP subtotal | 88.65 | 30.84 | 74.51 | 27.98 | 74.51 | 27.98 | -14.14 | -2.86 |
| Solar |  |  |  |  | 0 | 0 | 0.00 | 0.00 |
| Solar IREDA | 70.08 | 27.33 | 76.53 | 28.89 | 76.53 | 28.89 | 6.45 | 1.56 |
| Solar IPP ANERT |  |  | 2.54 | 0 | 2.54 | 0 | 2.54 | 0.00 |
| Grid connected average pooled power purchase cost-solar |  |  | 18.92 | 0.75 | 18.92 | 0.75 | 18.92 | 0.75 |
| Solar subtotal | 70.08 | 27.33 | 97.99 | 29.64 | 97.99 | 29.64 | 27.91 | 2.31 |
| Captive consumers net injection to grid |  |  | 12.63 | 0 | 12.63 | 0 | 12.63 | 0.00 |
| PCBL(Deviation adjustment) |  |  | 2.05 | 0.12 | 2.05 | 0.12 | 2.05 | 0.12 |
| Total | 280.7 | 103.78 | 295.09 | 108.97 | 295.09 | 101.06 | 14.39 | -2.72 |

    - Wind IPPs: Hon’ble Commission approved 121.97 MU from various wind IPPs for a total cost of 45.61 cr against which, KSEBL purchased 107.90 MU for a total cost of Rs 51.22 Cr as shown in table above.

    - Hon’ble Commission may please note that the power purchase cost  of M/s INOX as per audited accounts of 2018-19 is Rs 23.49 Cr which includes the power purchase cost for 2017-18 of 7.89 Cr, which was claimed in the truing up petition of FY-18.Hence KSEBL is seeking Rs. 15.60 Cr toward power purchase cost for the year FY-19.

    - Hon’ble Commission has not approved power from M/s Kosamattom Finance Ltd, which was connected to grid on 20.03.2018 and injected 1.13 MU during FY 2018-19 at a total cost of Rs 0.06 Cr. It may please be noted that KSEBL initialled draft PPA with M/s Kosamattom Pvt Ltd on 27.10.2018 @ interim tariff of Rs 3.07 per unit and submitted the same before Hon’ble Commission for approval.

    - Small Hydro IPPs: Hon’ble Commission vide order dated 08.07.2019 approved 88.65 MU from various small hydel IPPs @ of Rs 30.84 Cr. KSEBL has procured 74.51 MU at a cost of Rs 27.98 Cr. There was a reduction of 10 MU from the approved quantum mainly due to flood related destructions.

    - Solar IPPs: Hon’ble Commission approved 70.08 MU from Kasargod solar park(IREDA) for a total power purchase cost of Rs 27.33 Cr. KSEBL has purchased 76.53 MU from IREDA at a cost of Rs 28.89 Cr.  In addition, 2.54 MU was procured from solar Project Kuzhalmannam of Anert. The PPA with M/s Anert is under process and hence the cost of the same is not accounted in Accounts of 2018-19.

    - CPPs:	There was a net injection of 12.63 MU by CPPs such as Maniyar, Kuthungal, major solar prosumer CIAL etc during the financial year 2018-19.  However, this is considered only for loss calculation purpose. Further there is a net injection of 2.05 MU to grid during 2018-19 in connection with the sale of power through open access by Philips Carbon Black Ltd and the cost accounted is 0.12 Cr.

    - Solar prosumers:  A net injection of about 4.24 MU has been made by various solar prosumers and the power purchase cost accounted during 2018-19 is Rs 0.75 Cr. at APPC rate.

Thermal IPPs

    - Power purchase from RGCCPP, Kayamkulam: Hon’ble Commission, vide order dated 08.07.2019, did not approve any schedule from RGCCPP for the year 2018-19 and was pleased to approve Rs 200 Cr towards fixed charges for 2018-19. M/s RGCCPP injected 0.81 MU on 02.02.2019 as part of conducting mandatory energy audit billed at DSM rate for a total amount of Rs. 12,41,579.16 based on the decision of the OCC meeting by SRPC held on 03.12.2018. The total cost of power purchase from RGCCPP for FY 19 was Rs 202.73 Cr (Rs 200Cr Fixed Charges, Rs -2.62 Cr deviation charges,    Rs 5.15 Cr Income Tax, Rs 0.20 Cr other charges). RGCCPP availed 8.04 MU during non operative period as auxiliary consumption during 2018-19.

    - The cost of power purchase from RGCCPP as per the accounts of FY-19 amounts to Rs.181.70 Cr  as detailed in table below:

|  | Table D15 Power Purchase from RGCCPP (Rs Cr) |  |  |
| --- | --- | --- | --- |
| Sl No | Particulars | Rs Cr | Remarks |
| 1 | Annual Fixed Charges for FY-19 | 200.00 |  |
| 2 | Revision of Capacity charges for FY-15 (Capacity charge revised from Rs 206.77 Cr to Rs 200 Cr.) | -6.77 |  |
| 3 | Revision of Capacity charges for FY-16(Rs 207.13 - Rs 200 Cr.) | -7.13 | Disallowed as per true up order for FY 16. |
| 4 | Revision of Capacity charges for FY 17(Rs 207.13 Cr - Rs 200 Cr.) | -7.13 | Disallowed as per true up order for FY 17. |
| 5 | Net annual fixed charges (A) | 178.97 |  |
| 6 | Deviation charges | -2.62 |  |
| 7 | Income Tax | 5.15 |  |
| 8 | Other charges | 0.20 |  |
| 9 | Others (B) | 2.73 |  |
| 10 | Total cost for the year 2018-19 as per accounts (A+B) | 181.70 |  |

    - It may kindly be seen that during the year 2018-19, Rs 21.03 Cr was reduced in accounts on account of the deduction in fixed charges for earlier years (Rs.6.77 Cr for 2014-15, Rs 7.13 for FY-16 and Rs 7.13 for FY 2017) because of which the expense for the year as per accounts is Rs 181.70 Cr (Rs.202.73 Cr-Rs.21.03 Cr) as shown in table D15. Since the adjustments pertaining to the last 3 years were made in accounts in 2018-19, it became imperative to revisit the accounting and true up for these years. The following points are respectfully submitted for the kind consideration of the Hon’ble Commission:

- Hon’ble Commission, while approving ARR of KSEBL for 2015-16 and 2016-17, disallowed the fixed charges for RGCCPP and directed KSEBL to approach CERC for lowering the tariff by applying relaxed norms considering the special case of RGCCPP. KSEBL filed a petition before Hon CERC for a review of the Tariff order. Hon CERC directed KSEBL and NTPC to undertake mutual discussions for settlement of issues and report the outcome. After discussions at various levels NTPC has agreed for a negotiated AFC of Rs 200 Cr for the tariff period 2014-19.  However, the reduction of fixed charges was not made in one go because of which adjustments were to be made in successive years. The details of revision of fixed charges and the claims in true up petition is given in table below:

| Table-D 16: Details of revision of AFC of RGCCPP (Rs. Cr) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No | Particulars |  |  |  |  |  | Remarks |
|  |  | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 |  |
| 1 | AFC as per true up petition | 221.84 | 211.22 | 207.13 | 200 | 200 |  |
| 2 | AFC approved by KSERC in TU order | NA | 200 | 200 |  |  | Order not issued for 2014-15 |
| 3 | Disallowance (1-2) (A) | NA | 11.22 | 7.13 |  |  |  |
| 4 | AFC adjusted in same year under different sub head or in accounts of subsequent years |  |  |  |  |  |  |
| 5 | AFC as per true up petition | 221.84 | 211.22 | 207.13 | 200 | 200 |  |
| 6 | 2014-15- Amount towards revision of capacity charge from 4/2014 to 3/2015- accounted under supplementary claim under RGCCPP and Simhadri as reduction of power purchase cost |  | 13.54 | 1.53 |  | 6.77 | Claimed Rs.221.84 Cr in 2014-15. Refund of AFC accounted and trued up in FY 16 (Rs.13.54 Cr) & FY 17 (Rs.1.53 Cr under other charges in Form D3.1) aggregating Rs.15.07 Cr. Balance refund ie over Rs.200 Cr, Rs.6.77 Cr (Rs.21.84 Cr-Rs.14.07 Cr) offered as reduction on power purchase cost in 2018-19. |
| 7 | 2015-16-Amount towards revision of capacity charge from 4/2015 to 5/2015-accounted as reduction in power purchase cost. |  | 2.13 | 1.96 |  | 7.13 | Claimed Rs.211.22 Cr in 2015-16. Refund of AFC accounted and trued up in FY 16 (Rs.2.13 Cr) & FY 17 (Rs.1.96 Cr under other charges of Simhadri in Form D 3.1) aggregating Rs.4.09 Cr. Balance refund ie over Rs.200 Cr, Rs.7.13 Cr (Rs.11.22 Cr-Rs.4.09 Cr) accounted as reduction on power purchase cost in 2018-19 but already disallowed in truing up. |
| 8 | 2016-17- Refund of AFC obtained for 2016-17 and accounted in 2018-19 |  |  |  |  | 7.13 | Accounted as reduction in cost for 2018-19, but this sum has already been disallowed in 2016-17 TU. |
| 9 | AFC reduction disclosed as part of supplementary claims in TU petition and actually trued up during the year |  |  |  |  |  |  |
| 10 | Pertaining to 2014-15 |  | 13.54 | 1.53 |  |  | Adjusted in 2015-16 and 2016-17 against the AFC claim for 2014-15 (Rs.15.07 Cr) |
| 11 | Pertaining to 2015-16 |  | 2.13 | 1.96 |  |  | Adjusted in 2015-16 and 2016-17 against the AFC claim for 2015-16 (Rs.4.09 Cr) |
| 12 | Total adjustments made for FY 15 and FY 16 (10+11) |  | 15.66 | 3.49 |  |  |  |
| 13 | Disallowance in AFC by KSERC | NA | 11.22 | 7.13 |  |  |  |
| 14 | Refund of AFC considered under supplementary claims (6 & 7 above) | 15.07 | 4.09 |  |  |  | Refund for 2014-15 (Rs.13.54 Cr+ Rs.1.53 Cr) and (Rs.2.13 Cr and Rs 1.96 Cr) for 2015-16. |
| 15 | Disallowance under AFC and double count under supplementary claim as reduction in cost.(14+15) | 15.07 | 15.31 | 7.13 | 0 | 0 | For 2014-15, Rs.15.07 Cr already deducted in TU for 2015-16 and 2016-17. Remaining Rs.6.77 Cr is now offered as reduction in cost for 2018-19. |
| 16 | Correct disallowance (207.13 Cr-200 Cr) |  | 7.13 | 7.13 |  |  |  |
| 17 | Excess disallowance (15-16) |  | 8.18 | 0 |  |  |  |

- Thus, it may kindly be seen that the revision of AFC related accounting adjustments were made in 2015-16, 2016-17 and 2018-19.

- It is respectfully submitted that capacity charges revision for 2014-15 and 2015-16 amounting to Rs 13.54 Cr and Rs 2.12 Cr aggregating to Rs. 15.66 Cr was grouped under the supplementary claims and claimed as reduction in cost in truing up petition for FY 2016. A sum of Rs.37.10 Cr had been deducted from the power purchase cost of RGCCPP while claiming the cost TU 16.  Kind attention of the Hon’ble Commission is invited to Appendix A 15 (extracted below for ready reference) of the Truing up petition (FY 16) which reveals this information.

| Appendix – A15 : Power purchase from RGGCPP for FY 2015-16 (Rs Cr) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Month | Energy (MU) | Fixed cost (Rs Cr) | Total variable Cost (Rs Cr) |  | Unit Variable Cost (Rs) | Total cost (Rs Cr) |
| Apr-15 | -0.90 | 18.49 | 0.00 |  | 0.00 | 18.49 |
| May-15 | -0.80 | 18.49 | 0.00 |  | 0.00 | 18.49 |
| Jun-15 | 3.08 | 17.42 | 3.47 |  | 11.29 | 20.90 |
| Jul-15 | -0.85 | 17.42 | 0.00 |  | 0.00 | 17.42 |
| Aug-15 | 17.76 | 17.42 | 16.33 |  | 9.20 | 33.76 |
| Sep-15 | 100.65 | 17.42 | 74.58 |  | 7.41 | 92.01 |
| Oct-15 | 14.33 | 17.42 | 11.18 |  | 7.80 | 28.60 |
| Nov-15 | -0.71 | 17.42 | 0.00 |  | 0.00 | 17.42 |
| Dec-15 | -0.39 | 16.90 | 0.00 |  | 0.00 | 16.90 |
| Jan-16 | -0.86 | 17.95 | 0.00 |  | 0.00 | 17.95 |
| Feb-16 | -0.78 | 17.42 | 0.00 |  | 0.00 | 17.42 |
| Mar-16 | -0.71 | 17.42 | 0.00 |  | 0.00 | 17.42 |
| Total | 129.80 | 211.22 | 105.57 |  | 8.13 | 316.78 |
| Supplementary claims & provisions |  |  |  |  |  | -37.10 |
| Grand total |  |  |  |  |  | 279.68 |

- Break up of supplementary claims is furnished below:

| No | Table-D 17: Break up of supplementary claim 2015-16 (Rs Cr) |  |
| --- | --- | --- |
| 1 | Revision of energy charge | 5.24 |
| 2 | Revision of capacity charge from 4/2010 to 3/2014 | 11.45 |
| 3 | Revision of capacity charge from 4/2014 to 3/2015 | 13.54 |
| 4 | Revision of capacity charge from 4/2015 to 5/2015 | 2.13 |
| 5 | Interest on revision of capacity charge from 4/2009 to 3/2014 | 5.59 |
| 6 | Revision of Variable charge from 3/2014 to 10/2015 | 5.55 |
| 7 | UI charges | 0.32 |
| 8 | Total refund under supplementary claim (1 to 7) | 43.81 |
| 9 | Deferred tax liability-additional demand | 6.71 |
| 10 | Net refund considered as reduction in cost for 2015-16 (8-9) | 37.10 |

- It may kindly be noted that, while furnishing the details in Appendix A-15, deductions made towards AFC of Rs.15.67 for 2014-15 (Rs.13.54 Cr) and 2015-16 (Rs.2.13 Cr) could not be specifically made out because of which Hon’ble Commission, as per orders on TU 16, disallowed Rs 11.22 Cr from the fixed charges (Rs 211.22 Cr- Rs.200 Cr). In short, actual AFC sought for true up in 2015-16 was Rs.209.09 Cr (Rs.211.22 Cr- Rs.2.13 Cr) with a reduced supplementary charge of Rs.-34.97 Cr. This has resulted in an excess disallowance of Rs 2.13 Cr under AFC and Rs.2.13 Cr excess adjustment towards supplementary claim.

- Further deduction of Rs 1.53 Cr and Rs 1.96 Cr towards capacity charges of 2014-15 and 2015-16 (aggregating to Rs.3.49 Cr) was incorporated in the supplementary claims in truing up petition (as well as in accounts) for FY 2017. But this was also not specifically made out as capacity charges revision because of which Hon’ble Commission vide truing up of 2016-17 had fully trued up the reversal of Rs.3.49 Cr in addition to the disallowance of Rs 7.13 Cr (Rs.207.13 Cr-Rs. 200 Cr).  As a result reversal of capacity charges for 2015-16 of Rs. 1.96 Cr considered in 2016-17. Thus, annual capacity charges for 2015-16 of Rs.211.22 Cr as per TU petition have actually been subjected to reversal in accounts in FY 16 and FY 17 amounting to Rs.4.09 Cr (Rs.2.13 Cr+Rs.1.96 Cr) with similar amount getting trued up under supplementary claim. Therefore Hon’ble Commission may be pleased to rectify the same by allowing Rs.8.18 Cr in 2018-19.

- Adjustment made in accounts for 2018-19 against AFC in respect of 2015-16 and 2016-17 amounting to Rs. 7.13 Cr each has not been considered in TU 19 since only Rs 200 Cr. AFC was considered for true up in respective years.

- KSEBL claimed Rs.221.84 Cr towards AFC in 2014-15; TU orders for the year are still to be issued. Reversal to the extent of Rs. 15.07 Cr (Rs.13.54 Cr+ Rs.1.53 Cr) has already been trued up in 2015-16 and 2016-17 and now offering Rs.6.77 Cr in 2018-19 for true up. Therefore, entire AFC in excess of Rs. 200 Cr over the sum sought for true up in 2014-15 (Rs.21.84 Cr) is already adjusted in these years. In view of the above, it is humbly prayed that the Hon’ble Commission may true up Rs.221.84 Cr as AFC for RGCCPP in the orders for 2014-15.

    - Thus, the power purchase cost claimed for FY 2019 for RGCCPP is as shown below:

| Table D18 Cost of power purchase from RGCCPP in 2018-19 (Rs Cr) |  |
| --- | --- |
| Total PP cost for FY-19 as per accounts (Item No 9 of Table D15) | 181.70 |
| Add AFC disallowed in Truing up petition FY-16 but accounted in FY-19 | 7.13 |
| Add AFC disallowed in Truing up petition FY-17 but accounted in FY-19 | 7.13 |
| Add Excess disallowance in Truing up petition FY-16 & FY-17 | 8.18 |
| Total power purchase cost for RGCCPP claimed | 204.14 |

    - Total power purchase from IPPs inside the State is summarized as below:

| Table-D19 : Power Purchase from IPPs |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | KSERC approval |  | Audited Accounts |  | Truing up requirement |  | Difference |  |
| Station | Energy ( MU) | Cost (Rs Cr) | Energy ( MU) | Cost (Rs Cr) | Energy ( MU) | Cost (Rs Cr) | Energy ( MU) | Cost (Rs Cr) |
| RGCCPP | 0 | 200 | 0.81 | 181.70 | 0.81 | 204.14 | 0.81 | 4.13 |
| Wind & SHEP | 210.62 | 76.45 | 182.41 | 79.20 | 182.41 | 71.31 | -28.21 | -5.13 |
| Solar-IREDA and Anert | 70.08 | 27.33 | 79.07 | 28.89 | 79.07 | 28.89 | 8.99 | 1.56 |
| Grid connected solar prosumers | 0.00 | 0.00 | 18.92 | 0.88 | 18.92 | 0.88 | 18.92 | 0.88 |
| CPPs/PCBL | 0.00 | 0.00 | 14.68 | 0.12 | 14.68 | 0.12 | 14.68 | 0.12 |
| Subtotal | 280.70 | 303.78 | 295.90 | 290.79 | 295.90 | 305.33 | 15.20 | 1.56 |

    - Power Purchase from IPPs outside state through approved firm contracts: Since the power demand of the state cannot be met fully from resources within the state, KSEBL had, with the approval of Hon Commission, entered into agreements with various generators outside the State. Hon Commission had approved 8321.14 MU for a total amount of 3458.09 Cr from various generators inclusive of power contracted through DBFOO basis against which KSEBL had purchased 7951.08 MU for a total cost of 3371.19 Cr from various contracts. The details of cost of power purchase through long term contracts as per audited accounts are given in table below.

| Table-D20 : Power Purchase thru various LTA as per audited accounts approved for FY -19 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | KSERC approval |  | Actual |  | Truing up |  | Difference |  |
|  | Energy* ( MU) | Cost (Rs Cr) | Energy* (MU) | Cost (Rs Cr) | Energy* (MU) | Cost (Rs Cr) | Energy* ( MU) | Cost (Rs Cr) |
| Maithon Power Ltd-I | 991.63 | 415.79 | 1042.84 | 441.78 | 1042.84 | 441.78 | 51.21 | 25.99 |
| Maithon Power Ltd-II | 991.63 | 415.79 | 1042.86 | 440.07 | 1042.86 | 440.07 | 51.23 | 24.28 |
| DVC Mejia | 686.96 | 273.27 | 586.91 | 241.26 | 586.91 | 241.26 | -100.05 | -32.01 |
| DVC RTPS | 244.94 | 136.92 | 131.08 | 50.63 | 131.08 | 50.63 | -113.86 | -86.29 |
| Jindal Power Ltd-Bid I | 1,486.29 | 555.28 | 1,410.26 | 492.50 | 1410.26 | 521.98 | -76.03 | -33.30 |
| Jhabua Power Ltd-PSA II | 733.26 | 332.47 | 683.83 | 326.20 | 683.83 | 267.41 | -49.43 | -65.06 |
| Jindal Power Ltd-Bid II | 1,117.19 | 466.45 | 1,050.85 | 456.97 | 1,050.85 | 472.11 | -66.34 | 5.66 |
| Jhabua Power Ltd-Bid II | 625.27 | 261.06 | 593.32 | 317.50 | 593.32 | 274.65 | -31.95 | 13.59 |
| JITPL | 695.25 | 290.28 | 680.58 | 309.49 | 680.58 | 309.49 | -14.67 | 19.21 |
| BALCO | 748.98 | 310.78 | 728.54 | 294.8 | 728.54 | 294.8 | -20.44 | -15.98 |
| Subtotal | 8321.4 | 3458.09 | 7951.08 | 3371.19 | 7951.08 | 3314.19 | -370.32 | -143.90 |
| * Energy at ex bus |  |  |  |  |  |  |  |  |

    - The cost of power purchase sought for true up differed from the power purchase cost as per audited accounts due to following reasons.

- In the case of Jindal Power Ltd-PSA I (200 MW) and Jindal Power Ltd-PSA II (150 MW), a provision of Rs -44.63 Cr (Rs 29.48 Cr.+ Rs 15.14 Cr.) is made in accounts towards deduction of various charges claimed by them during 2017-18 and not admitted by KSEBL. This was subsequently withdrawn by the generator during 2018-19.  KSEBL has already incorporated this deduction from the power purchase cost of FY-18 in the truing up petition for that year. Therefore, the accounting adjustment made in 2018-19 of Rs.44.63 Cr has to be discarded to reflect the actual power purchase cost of M/s Jindal power Ltd. Thus KSEBL is claiming the actual power purchase cost of M/s Jindal Power Ltd (200 MW) amounting to Rs 521.98 Cr. and the actual cost of M/s s Jindal Power Ltd (150 MW) amounting to Rs 472.11 Cr for truing up petition. Hon’ble Commission may kindly approve these figures.

- Further Rs 58.79 Cr claimed by Jhabua power Ltd (115 MW) under PSA-I, and 42.84 Cr claimed by Jhabua Power Ltd (100 MW) under PSA II towards claims on fixed charges and variable charges was not admitted by KSEBL during FY-19. This is mainly due to difference in value of station heat rate taken by the utility and generator for the computation of fixed charges and fuel charges and due to the   difference in methodology taken by KSEBL and generator for the calculation of fuel charges. M/s Jhabua Power Ltd has filed a petition before Hon’ble CERC on the matter since this Hon’ble Commission decided that it does not have jurisdiction in the matter.  M/s Jhabua Power ltd has claimed fixed charge on account of non availability of concessional fuel in certain months which is under dispute and hence is not admitted. Further KSEBL is deducting the SRLDC fees and charges from the monthly bill of M/s Jhabua power Ltd as per clause 5.7 of PSA which was not agreeable to M/s Jhabua Power Ltd.  Also M/s Jhabua Power Ltd does not account the STOA, MTOA credits passed on by M/s PGCIL in their monthly bills, but has not disputed the PoC bill claim. As a result Rs 101.63 Cr towards fixed and variable charges for 2018-19 had not been admitted for the variation of fixed charges and variable charges due to this difference in methodology of computation but was provided in accounts.

- KSEBL has not paid these charges during 2018-19 and therefore not claiming Rs 101.63 Cr (Rs 58.79 Cr.+ Rs 42.84 Cr.) in the truing p petition for FY-19. It is requested that Hon’ble Commission may kindly consider truing up of these claims, if any portion legally materialise on a later date.

- Thus the actual cost claimed by KSEBL for these stations are given below

| Table D21 Power purchase Cost of Jindal and Jhabua Power Ltd (Rs Cr) |  |  |  |
| --- | --- | --- | --- |
| Source | Power purchase cost for FY-19 as per accounts | Reversal in accounts for FY-19 of various charges accounted in FY-18 but not claimed in TU-18 | Power purchase cost claimed for FY-19 |
|  | Rs Cr. | Rs Cr. | Rs Cr. |
| Jindal Power Ltd-Bid I | 492.50 | 29.48 | 521.98 |
| Jindal Power Ltd-Bid II | 456.97 | 15.14 | 472.11 |
| Total | 949.47 | 44.63 | 994.10 |
| Source | Power purchase cost for FY-19 as per accounts | Unadmitted claims | Power purchase cost claimed for FY-19 |
|  | Rs Cr. | Rs Cr. | Rs Cr. |
| Jhabua Power Ltd-Bid I | 326.20 | 58.79 | 267.41 |
| Jhabua Power Ltd-Bid II | 317.50 | 42.84 | 274.65 |
| Total | 643.70 | 101.63 | 542.07 |

- In the case of M/s Jindal Power Limited (150 MW), M/s Jhabua Power Limited (100 MW) and M/s Jindal India Thermal Power Ltd (100 MW), under bid II, Hon’ble Commission approved scheduling of power for the limited purpose of estimating the ARR&ERC for the control period at rate equivalent to that of power from Balco, as the final approvals from GoI and State Government was still awaited.

- It may kindly be noted that the DBFOO framework allows pass through of actual fuel cost based on predetermined Station Heat Rate, which shall not exceed 2350 kCal/kWh. Further, the Station Heat Rate has to be certified by the generators by following tests prescribed in the PSA prior to date of commissioning. The Station Heat rates duly certified by generators under Bid 2 viz; M/s Jindal Power Ltd (150 MW), M/s Jhabua Power Ltd (100 MW), M/s Jindal India Thermal Power Ltd (100 MW) and M/s BALCO (100 MW) are 2327 kCal/kWh, 2347.9kCal/kWh, 2350 kCal/kWh and 2350 kCal/kWh respectively. Further, the delivered cost of coal to each generator would depend on the grade of coal supplied by Coal India Ltd or its subsidiaries, the notified price of coal of the respective mine  from which coal is supplied and the cost of transportation which again depends on the mode of transportation and distance from mine. Hence the charges applicable to BALCO could not be used for these stations for payment purpose as per PSA which is part of the standard bid documents notified by GoI under Section 63 of Electricity Act, 2003.

- It is respectfully submitted that this Hon’ble Commission vide letter dated   22.12.2017     has already allowed the petitioner to draw power from M/s Jindal Power Ltd (150 MW), M/s Jhabua Power Ltd (100 MW), and M/s Jindal India Thermal Power Ltd (100 MW) in view of PSA based on Bid 2. Further this Hon’ble Commission vide order dated 06.06.2019 on OP No 12/2018 has also decided that it has no jurisdiction on matters relating to tariff for interstate sale of energy as per these PSAs. In view of these decisions only tariff as per these PSAs can be followed by the petitioner, while drawing power in accordance with direction dated 22.12.2017. Accordingly in view of the fact that this Hon’ble Commission has already allowed the petitioner to draw the power from M/s Jindal Power Ltd (150 MW), M/s Jhabua Power Ltd (100 MW)  , M/s Jindal India Thermal Power Ltd (100 MW) in view of the PSAs entered into with these generators , it is humbly submitted that the claims based on the actual expenses incurred in accordance with these PSAs be trued up. It is also submitted that these PSAs are strictly in accordance with the model bid documents notified ny MoP, GoI as per section 63 of the Electricity Act, 2003.

- Meanwhile, KSEBL vide letter dated   7.11.2019 has again taken up the matter of getting approval of Government of India for the deviations in the Standard bidding guidelines, with the Government of Kerala for appropriate orders in this matter.  Subsequently, MoP vide letter dated 11-12-2019 intimated that the matter has been examined and approval for deviation can be considered by Ministry before issuance of RFQ, RFP and PSA only. The deviations noted by Hon’ble Commission were not in the RFQ, RFP and PSA and was on the matter of evaluation and award of the bid. MoP has remarked that Government of Kerala/KSEB Ltd may take action as appropriate in consultation with Hon’ble Commission on the matter of deviation during evaluation/award. KSEB Ltd has appraised the matter before Government of Kerala for appropriate decision and the same has been intimated to Hon’ble Commission vide letter dated 26.12.2019.

- Considering the above, Hon’ble Commission may kindly approve the actual expenses incurred for drawing the power as already approved by the Hon’ble Commission.

    - There was significant reduction in energy supplied from DVC Mejia and DVC Reghunathpur. The availability of power from Mejia and Reghunathpur TPS was affected due to shortage of coal.

Power purchase considered under short term contracts

    - In the MYT petition, KSEB Ltd has proposed to procure 229.54 MU of power from short term market to meet the peak deficit anticipated in the summer months. Hon’ble Commission vide order dated 08.07.2019 observed as follows:

“In the control period there will be overall energy surplus though there may be deficit in some months due to increase in peak demand or changes in climatic conditions or reasons such as general elections as mentioned by KSEB  Ltd. Since such situations are difficult to predict and KSEB Ltd has proposed the same rate for the purchase and sale, the Commission for the purpose of approving the ARR & ERC has considered the net surplus energy sale only in all the years of the control period.”

    - It may please be noted that during 2018-19 there was reduction in energy availability from Central Generating Stations by 1027.10 MU, energy availability from long term contracts was also less by 347.27 MU and the hydro generation by 236.27 MU when compared with the approved quantum. This resulted in a total reduction in energy availability by 1598.41 MU over the approved quantum. In order to meet the short fall, peak demand and exigencies, KSEBL purchased 476.99 MU at Kerala periphery through energy exchanges through Day ahead markets and term ahead markets and 252.45 MU through deviation settlement mechanism and availed 142.77 MU through banking arrangements.

    - Power purchase from Energy exchanges: KSEBL procured   467.99   MU at Kerala periphery at a cost of Rs 165.61 Cr from IEX and 9 MU at Kerala periphery for a cost of Rs   4.53 Cr from PXIL. The details are as follows:

| Table D22 Power purchase through exchanges |  |  |
| --- | --- | --- |
| Source | Energy* ( MU) | Cost (Rs Cr) |
| IEX | 467.99 | 165.61 |
| PXIL | 9.00 | 4.53 |
| Sub total | 476.99 | 170.14 |
| * Energy at Kerala periphery |  |  |

    - Power availed through swap arrangement: - In addition to the above KSEBL had entered into banking arrangements with various utilities for availing supply of power through swap contracts. Hon’ble Commission vide order dated 28.05.2019 on OP No 33/2019 approved the banking arrangements with M/s Rajasthan Urja Vikas Nigam Ltd (RUVNL) through the trader M/s TPTCL with a trading margin of Ps 0.47/unit, and  through the trader M/s NVVN with a trading margin of Ps 0.47/unit as detailed in the table below. Further Hon’ble Commission vide order dated 24.10.2019 on OP No 47/2019 approved the banking arrangements with M/s HPPC through the trader MPPL for 150MW with a trading margin of Ps 3.20/unit, with NPCL through the trader MPPL for 50MW with a trading margin of Ps 3.50/unit and with HPPC through Arunachal Pradesh Power Corporation Pvt Ltd (APPCPL) for 100 MW at a trading margin of Ps 3/unit for availing power in FY-19. The summary of the banking arrangements  including its supply period, trading margin, return period, quantum of power to be returned etc are given below.

| Table D 23 Details of contracts through banking arrangement |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No | Supply |  |  |  |  |  | Return |  |  |  |  |  |
|  | Trader | Utility | Period |  | Quantum MW | Duration Hrs | Utility | Return % | Period |  | Return duration hrs | Total Return MW |
|  |  |  | From | To |  |  |  |  | From | To |  |  |
| 1 | MPPL | HPPC | 16/2/19 | 15/3/19 | 150 | 20-24 | KSEBL | 100% | 1/7/19 | 31/7/19 | 0-6 | 90.32 |
| 2 | MPPL | NPCL | 1/3/19 | 31/3/19 | 50 | RTC | KSEBL | 105% | 1/7/19 | 30/9/19 | RTC | 17.69 |
| 3 | APPCPL | HPPC | 1/3/19 | 15/3/19 | 100 | RTC | KSEBL | 105% | 1/7/19 | 31/8/19 | RTC | 25.40 |
| 4 | APPCPL | HPPC | 16/3/19 | 31/3/19 | 150 | RTC | KSEBL | 105% | 1/7/19 | 31/8/19 | RTC | 40.65 |
| 5 | NVVN | KSEBL | 1/11/18 | 15/11/18 | 90 | 6-11 | RUVNL | 102% | 1/5/19 | 30/6/19 | RTC | 11.91 |
|  |  |  | 15/11/18 | 30/11/18 | 60 |  |  |  |  |  |  |  |
|  |  |  | 1/12/18 | 15/12/18 | 30 |  |  |  |  |  |  |  |
|  |  |  | 16/12/18 | 31/12/18 | 45 |  |  |  |  |  |  |  |
| 6 | TPTCL | KSEBL | 1/11/18 | 15/11/18 | 60 | 6-11 | RUVNL | 102% | 1/5/19 | 30/6/19 | RTC | 7.94 |
|  |  |  | 15/11/18 | 30/11/18 | 40 |  |  |  |  |  |  |  |
|  |  |  | 1/12/18 | 15/12/18 | 20 |  |  |  |  |  |  |  |
|  |  |  | 16/12/18 | 31/12/18 | 30 |  |  |  |  |  |  |  |

    - Based on arrangements under Sl No 1 to 4 above, KSEBL has received 142.77 MU at Kerala periphery through swap arrangement in 2018-19 which was returned during FY 2020. A total expenditure of Rs 1.989 Cr has been incurred on this arrangement. Further,28.9 MU banked with RUVNL through traders such as TATA and NVVN as per arrangement in 2018-19 was availed back during 2019-20 as per arrangement under Sl No 5 and 6 of table no. D22. The energy so banked in 2018-19 to be availed in 2019-20 is accounted as energy export in table D 28. The energy received through banking in 2018-19 is detailed in table below.

| Table D 24 Power availed thru banking arrangement thru swap |  |  |  |
| --- | --- | --- | --- |
| Particulars | Energy at exbus (MU) | Energy at Kerala periphery (MU) | (Rs Cr) |
| Power from HPPC through MPPL | 16.80 | 16.39 | 1.989 |
| Power from HPPC through APPCPL | 92.24 | 90.06 |  |
| Power from NPCL through MPPL | 37.20 | 36.32 |  |
| Subtotal | 146.24 | 142.77 |  |

    - Deviation settlement mechanism: KSEB had received a net energy of 252.45 MU from Southern grid through   deviation settlement mechanism (DSM) at an average rate of Rs 2.44 per unit at a cost of Rs.125.12 Cr.

    - In view of the details furnished above, it may kindly be seen that the shortfall in energy availability from approved sources had been effectively met through procurement of power from various sources. Details of approval obtained from the Hon’ble Commission are furnished in Appendix D2.  The details of purchases through long term, short term contracts are given as Appendix D3. The summary of power Purchase from power exchanges and power transfer through deviation settlement mechanism  against quantum approved towards short term contracts for FY 2018-19 is furnished below:

| Table D 25:Details of power purchase against approval for short term procurement |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Approval (at Kerala periphery) |  |  | Actual (at Kerala periphery) |  |  | Difference |  |
|  | Energy ( MU) | Cost (Rs Cr) | Rate Rs/unit) | Energy ( MU) | Cost (Rs Cr) | Rate Rs/unit) | Energy ( MU) | Cost (Rs Cr) |
| IEX |  |  |  | 467.99 | 165.61 | 3.54 |  |  |
| PXIL |  |  |  | 9.00 | 4.53 | 5.03 |  |  |
| Deviation Settlement Mechanism |  |  |  | 252.45 | 62.76 | 2.49 |  |  |
| Total | 0 | 0 | 0 | 729.44 | 232.90 | 3.19 | 729.44 | 232.90 |

    - Energy sale outside the State: - Hon’ble Commission approved sale of surplus power of 1513.26MU for a total revenue of Rs 756.64 Cr. KSEBL could sell surplus power to M/s BSHPCL, 50 MW in June 2018, 100 MW during August to October 2018 and 100 MW during August 2018 as per Table D 25, through DEEP portal introduced by Ministry of Power for facilitating the purchase of power by DISCOMS on short-term basis. Approval had been obtained from the Hon’ble Commission vide letter dated 22.10.2018. KSEB Ltd could also sell surplus power to M/s Chhattisgarh State Power Distribution Company Limited (CSPDCL), from 01.10.2018 to 30.11.2018, by participating in the tenders floated by M/s CSPDCL through DEEP portal introduced by Ministry of Power for facilitating the purchase of power by DISCOMS on short-term basis. Approval for the same has been obtained from Hon’ble Commission vide order dated 28.05.2019. KSEBL sold 144.16 MU through these two contracts. The details are as follows:

| Table D26 Energy sale o/s State through contracts |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Utility | Period | Timing in Hrs | Quantum | Rate | Sale at Kerala periphery |
|  |  |  |  | MW | Rs /unit | MU |
| 1 | BSHPCL | 01-06-2018 to 30.06.2018 | 19.00 to 24.00 | 50 | 5.95 | 75.10 |
|  | BSHPCL | 01-08-2018 to 31.08.2018 | 19.00 to 24.00 | 100 | 6 |  |
|  | BSHPCL | 01-08-2018 to 31.08.2018 | 00.00 to 06.00 | 100 | 4.23 |  |
|  | BSHPCL | 01.09.2018 to 30.09.2018 | 19.00 to 24.00 | 100 | 6 |  |
|  | BSHPCL | 01.10.2018 to 31.10.2018 | 18.00 to 24.00 | 100 | 6.5 |  |
| 2 | CSPDCL | 01.10.2018 to 31.10.2018 | 00.00 to 7.00 | 150 | 4.09 | 32.99 |
|  | CSPDCL | 01.11.2018 to 30.11.2018 | 06.00 to 10.00 | 200 | 5.16 | 36.07 |
|  | CSPDCL | 01.11.2018 to 30.11.2018 | 10.00 to 13.00 | 149 | 4.37 |  |
|  | Total |  |  |  | 4.85(Kerala periphery) | 144.16 |

    - KSEBL also sold excess power through exchanges during 2018-19 which was already communicated on a monthly basis to the Hon’ble Commission vide reporting the short term transactions. The total sale of power outside the State by KSEBL through exchanges for the year 2018-19 at Kerala periphery is 680.63 MU @ Rs 3.85 per unit. 656.45 MU was sold through IEX @ Rs 3.84 per unit and 24.18 MU through PXIL @Rs 4.07 per unit. The details of energy sale through exchanges are given in table below:

| Table D 27 Energy sale o/s State through contracts |  |  |  |
| --- | --- | --- | --- |
| Sl No | Source | Energy at SR periphery | Energy at KSEB periphery |
|  |  | MU | MU |
| 1 | IEX TAM | 6.87 | 6.96 |
| 2 | IEX DAM | 639.73 | 649.48 |
| 3 | IEX Total | 646.60 | 656.45 |
| 4 | PXIL TAM | 14.21 | 14.43 |
| 5 | PXIL DAM | 9.61 | 9.76 |
| 6 | PXIL Total | 23.82 | 24.18 |
|  | Total | 670.42 | 680.63 |

    - The expenditure associated with sale through power exchanges amounts to Rs 5.34 Cr.

    - Thus KSEBL sold 824.78 MU for a total amount of Rs 339.34 Cr. @ Rs 4.11 per unit against the approved quantum of 1513.27 MU for Rs 756.64 Cr. It may kindly be noted that KSEB Ltd could realise a higher rate from sales through short term market than the rate derived while procuring power through short term market (Rs 3.19 per unit).

    - Power returned through banking arrangement (SWAP):- KSEBL returned 139.12 MU from 16th June 2018 to 30th September 2018 with time duration from 00.00 hrs to 4.00 hrs and 22.00 hrs to 24 hrs through GMRETL through banking arrangement (swap), which was availed during previous year. Further KSEBL supplied 28.90 MU through NVVN and TATA to RUVNL which was received back in 2019-20. Approval has been obtained from Hon’ble Commission vide order dated 28.05.2019.  Thus the total energy transacted outside the State through banking arrangement during 2018-19 is 168.018 MU as detailed in table below.

| Table D 28 Energy transacted outside State thru banking arrangement during FY-19 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Utility | Trader | Period | Energy at delivery point (MU) | Energy at Kerala periphery (MU) | Expenditure (Rs Cr.) | Approval order date |
| PSPCL | GMRETL | June-September 2018 (return of previous year supply) | 135.90 | 139.12 | 1.87 |  |
| RUVNL | NVVN | November-December 2018 | 17.10 | 17.32 | 0.245 | 28.05.2019 |
| RUVNL | TATA | November-December 2018 | 11.40 | 11.58 |  | 28.05.2019 |
|  |  | Sub total | 164.40 | 168.02 | 2.28 |  |

    - The expenditure corresponding to this arrangement is Rs 2.28 Cr.

    - Thus KSEBL supplied 168.018 MU during 2018-19 through swap arrangements and the expenditure corresponding to this arrangement is Rs 2.28 Cr.  Thus the total energy supplied outside the State through trading and banking arrangement is 992.80 MU at Kerala periphery.

    - Amount released towards PTC BALCO (Medium Term Contract):- An amount of Rs 32.37 Cr has been released towards M/s BALCO through PTC towards compensation for change in law for the period March 2015 to February 2017.  KSEBL had executed PPA with M/s.PTC India Ltd on 13.06.2013 for the supply of 100 MW RTC power from M/s. BALCO, Chhattisgarh through Case I bidding for the period from 1.3.2014 to 28.02.2017 which was approved by Hon’ble Commission vide letter no No.828/C.Engg/Case.1/KSERC/2013/594 dated 24.05.2013 and KSEB Ltd received power from March 2015 to February 2017.  M/s. BALCO has filed petition before CERC seeking compensation for the change in law events during the operating period vide Petition No. 18/MP/2017 amounting to Rs 38.90Cr. CERC, vide order dated 18.04.2018 had allowed some of the events and disallowed certain other events. KSEBL filed appeal before the APTEL on 16.07.2018 against the CERC order dated 18.04.2018. M/s BALCO also approached Hon’ble APTEL for release of amount allowed by Hon’ble CERC. Hon’ble APTEL, through interim orders, directed to work out the amount on account of change in law that are due with facts and figures and directed the Appellant to furnish details of (at least admitted amount) which have to be paid in respect of change in law items covered under Impugned Order.

    - Accordingly, M/s BALCO had forwarded a revised claim amounting to Rs. 54,98,20,333/-, which was not certified by statutory auditors. As per CERC order dated 18.04.2018, BALCO is entitled to reconcile the actual payment made towards change in law with the books of accounts duly audited and certified by statutory auditor. However, BALCO failed to furnish certified copies of required documents to the satisfaction of KSEB Ltd. Meanwhile, in compliance with the order of Hon’ble APTEL, KSEBL calculated the provisional amount due, as per change in law order of CERC, which amounts to Rs.32.37 Cr which may change subject to submission of proper documents as well as the final outcome of appeal before Hon’ble APTEL. Upon placing it on record, Hon’ble APTEL vide order 15.05.2019 directed that KSEBL shall immediately pay the admitted amount i.e., Rs. 32.37 Cr. Even though KSEBL approached Hon’ble Supreme Court challenging the interim order of Hon’ble APTEL, the same was not successful.

    - Accordingly an amount of Rs 32.37 Cr has been released towards M/s BALCO through PTC towards compensation for change in law, as per the daily orders of Hon’ble APTEL dated 15.05.2019 and 20.05.2019 in IA No. 37 of 2019 in Appeal No. 30 of 2019 and as per the as per the order dated 26.08.2019 of the Hon’ble Supreme Court of India. The same may be admitted.

    - Inter-state Transmission charges paid to PGCIL: Hon’ble Commission, vide order dated 08.07.2019, approved interstate transmission charges of Rs 539.84 Cr for 2018-19. Actual transmission charges incurred by KSEBL during 2018-19, as per audited accounts, were Rs. 513.41 Cr. Actuals may kindly be approved.

    - In view of the above submission, Hon’ble Commission may kindly true up the total power purchase cost amounting to Rs 7826.86 Cr as detailed in Appendix D4,summary of which is provided in table D28 below.

| Table D 29 Power Purchase cost for the year 2018-19 |  |
| --- | --- |
| Particulars | Amount (Rs Cr) |
| Power Purchase as per accounts | 7869.32 |
| Add provision of Jindal Power Ltd 200 MW | 29.48 |
| Add provision of Jindal Power Ltd 150 MW | 15.14 |
| Add provision towards fixed charges of RGCCPP | 22.43 |
| Less Provision of 2017-18 of M/s INOX | 7.89 |
| Less provision reversal of Jhabua Power Ltd 115 MW | 58.79 |
| Less provision reversal of Jhabua Power Ltd 100 MW | 42.84 |
| Power Purchase claimed in the truing up petition | 7826.86 |

  - O&M Expenses:

    - Actual O&M expenses for SBU D for the year 2018-19 has been Rs.3106.25 Cr as detailed in Form D3.4.

    - Cost Drivers: Tariff regulation, 2018 considers the following cost drivers for determination of normative O&M expenses. The growth of the drivers is given in the Table – D26 below.

| Table – D30 : Distribution Cost Drivers |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | FY09 | FY10 | FY11 | FY12 | FY13 | FY14 | FY15 | FY16 | FY17 | FY-18 |
| Consumers (Nos) | 9363461 | 9743476 | 10127946 | 10457637 | 10806890 | 11192890 | 11430895 | 11668031 | 11994816 | 12276321 |
| Dist Transformers (Nos) | 46359 | 52149 | 57954 | 62329 | 64972 | 67546 | 71199 | 73460 | 75759 | 77724 |
| HT Lines (KM) | 41283 | 44682 | 48342 | 51328 | 52907 | 53579 | 57309 | 59476.66 | 61398.43 | 62855 |
| Energy Sales (MU) | 12414 | 13971 | 14548 | 15981 | 16838 | 17454 | 18426 | 19325.07 | 20087.55 | 20998 |

    - The parameters of FY-18 are taken for computing normative O&M expenses. The normative values of employee cost and A&G expenses is given in table below:

| Table D 31 Normative O& M expenses for 2018-19 |  |  |
| --- | --- | --- |
| No | Parameters | Quantity |
| 1 | No. of consumers (Rs. Lakh/1000) | 4.80 |
| 2 | Dist Transformers (Rs. Lakh/DTr) | 0.64 |
| 3 | Length of HT line (Rs. Lakh/km) | 0.79 |
| 4 | Energy sales (Rs/unit) | 0.19 |
| 5 | No. of consumers | 12276321 |
| 6 | No. of Dist Transformers (Nos) | 77724 |
| 7 | HT Line (Ckt-Km) | 62855 |
| 8 | Energy sales in MU | 20998 |
| 9 | Employee, A&G Cost (Rs Cr) | 1982.22 |

    - As per the provision 79 and Annexure IX of Tariff regulations 2018,, R&M expenses of Distribution licensees is:

- 3% of Opening GFA (excluding value of land and land under lease) of distribution business of each year of the control period.

- Repair and Maintenance expenses for assets added during the year of the control period shall be allowed after prudence check by the Commission on a pro-rata basis subject to production of details of the assets.

Based on the above normative R&M expense is calculated as follows:

| Table D 32 Normative R&M expenses (Rs Cr.) |  |  |  |
| --- | --- | --- | --- |
| Particulars | Amount (Rs Cr) |  |  |
| Opening GFA Excluding Land value (Rs Cr.) | 8246.59 |  |  |
| Land value as per Balance sheet of SBU D | 19.91 |  |  |
| Opening GFA less Land value | 8226.68 |  |  |
| R&M expenses on opening GFA @ 3% -A | 246.80 |  |  |
| Add: Addition of assets during the year | 1203.72 |  |  |
| R&M at pro rata basis for assets added during the year |  |  |  |
|  | GFA addition | Pro rata % based on works in 2018-19 | Pro rata R&M expenses |
| April,2018 | 68.42 | 5.68 | 1.88 |
| May,2018 | 79.31 | 6.59 | 1.98 |
| June,2018 | 73.71 | 6.12 | 1.66 |
| July,2018 | 184.10 | 15.29 | 3.68 |
| August,2018 | 0.00 | 0 | 0.00 |
| September,2018 | 0.00 | 0 | 0.00 |
| October,2018 | 0.00 | 0 | 0.00 |
| November,2018 | 159.05 | 13.21 | 1.59 |
| December,2018 | 47.75 | 3.97 | 0.36 |
| January,2019 | 145.97 | 12.13 | 0.73 |
| February,2019 | 0.00 | 0 | 0.00 |
| March,2019 | 445.43 | 37 | 0.00 |
| R&M expenses for assets added during FY-19 -B |  |  | 11.88 |
| Total R&M expenses (A+B) |  |  | 252.35 |

    - A comparison of approved normative and actual O&M expenses is given in table below

| Table – D33 : Components of O&M Expenses for SBU D (Rs Cr) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Particulars | Approved | As per accounts | Normative | Variation of accounts from approval | Remarks |
| 1 | Employee Cost & A&G Expenses | 1979.83 | 2873.29 | 1982.22 | 893.46 | See Form D3.4 (a) |
| 3 | R&M Expenses | 246.25 | 232.96 | 252.35 | -13.29 | See Form D3.4 (c) |
| 4 | Total | 2226.08 | 3106.25 | 2234.57 | 880.17 | See Form D 3.4 |

    - Hon’ble Commission may kindly note that a provision of Rs.144.47 Cr has been created for pay revision, which is due from July/Aug 2018 as detailed in chapter 5. Therefore, Hon’ble Commission may please approve Rs. 2379.04 Cr (Rs 2234.57 Cr+ Rs.144.47 Cr)    towards O&M expenses for the year 2018-19.

  - Onetime expenses

4.8.1	Further, Share of SBU-D on contribution to CMDRF works out to Rs. 29.25Cr as detailed in chapter 5. Hon Commission may kindly approve the same.

4.9	Depreciation:

4.9.1	Hon Commission had approved the depreciation of SBU-D for FY 18-19 at Rs 72.24 Cr. Actual Depreciation for the Distribution assets as per accounts for the year 2018-19 has been Rs.433.24 Cr as detailed in Form D3.5 (2).

4.9.2	Hon’ble Commission may kindly note that depreciation as per accounts has been worked out in line with IND AS and claw back depreciation was determined and credited to other income.  But, as per MYT Regulation for the control period, depreciation is allowable as per the provisions contained in the Tariff Regulations, 2018 in which applicable rates as well as methodology to be followed are specified therein. Accordingly, allowable depreciation for SBU D has been worked out at Rs. 107.98 Cr as detailed in Chapter 5.  Hon’ble Commission may kindly approve the same.

4.10	Interest and Finance Charges:

4.10.1	Hon Commission had approved the interest and finance charges of SBU-D for the year 2018-19 at Rs 1428.31 Cr.  However, as per the audited accounts, the actual expenses incurred under interest and finance charges were 1263.32 Cr. The details are given below.

| Table 34 Comparison of I&FC for 2018-19 (Rs. Cr) |  |  |  |  |
| --- | --- | --- | --- | --- |
| No | Particulars | Approved | Accounts | True up sought |
| 1 | Interest on outstanding Loans and Bonds |  | 348.47 |  |
| 2 | Less: Interest capitalized |  | 202.80 |  |
| 3 | Net interest | 149.90 | 145.67 | 180.27 |
| 4 | Interest on Security Deposit | 175.33 | 177.31 | 170.75 |
| 5 | Interest on GPF | 152.55 | 136.68 | 136.68 |
| 6 | Other Interest | 0 | 26.06 | 18.41 |
| 7 | Interest on Master Trust Bond | 646.45 | 652.08 | 652.08 |
| 8 | Carrying cost on approved revenue gap | 304.08 | 0 | 629.11 |
| 9 | Interest on working capital | 0 | 125.54 | 0 |
| 10 | Grand Total (I+II+III+IV+V ) | 1428.31 | 1263.32 | 1787.30 |

4.10.2	KSEBL has executed capital works to the tune of Rs 1434.67 Cr     and added fixed assets of                1203.72    under SBU D during the year as detailed in Chapter 5. Physical addition to fixed assets is summarized below:

| Table – D35 : Details of Capital Works during 2018-19 |  |
| --- | --- |
| Particulars | Achievement |
| Service Connections (Nos) | 368673 |
| HT Line construction (km) | 1773 |
| LT Line construction (km) | 3401 |
| Transformer installation (Nos) | 2410 |
| Line conversion (km) | 1292 |
| HT re-conductoring (conductor km) | 840 |
| LT re-conductoring (conductor km) | 8355 |
| Faulty meter replacement (Nos) | 837858 |

4.10.3	Hon Commission, as per Truing up orders for 2015-16 and 2016-17, has decided to approve interest on loans on normative basis. The same is followed in Tariff regulations, 2018 as well as in MYT order dated 08.07.2019. The normative loan at the beginning of the year (01.04.2018) has been determined as per Regulation by considering GFA, Approved depreciation, Consumer contribution and grants and Equity. Based on the methodology adopted by the Hon’ble Commission, normative loan as on 01.04.2018, addition, repayment and closing normative loan as on 31.03.2019, interest on normative loan along with SBU wise segregation are determined and furnished in chapter 5. Based on the computation, KSEBL is entitled to Rs.180.27 Cr as interest on normative loan for the year 2018-19.

4.10.4	Interest on security deposit: Hon Commission approved interest on SD for the year at Rs.175.33 Cr.  The Actual Security Deposit balance as per accounts was Rs3019.12 Cr at the beginning of the year (01-04-2018) on which the interest at 6.75 % was provided in FY                2018-19 (Rs 177.31 Cr). However, the actual sum disbursed in the FY 2018-19 was against the provision made for FY 2017-18 was Rs 170.75 Cr. Hon Commission may please approve the actual disbursement of Rs.170.75 Cr under SBUD.

4.10.5	Interest on working capital: The Normative Working Capital for SBU-D, as per Regulation 32, includes O&M Cost for one month, cost of maintenance spares as one twelfth of average of the book value of stores for that financial year, receivables for two months excluding security deposits. KSEB Ltd has computed the Interest on Working Capital in their petition at a rate of 10.15% (8.15% + 2%) as per Regulation 32(2). The parameters adopted for computation of Interest on Working capital for the control period are furnished below.

| Table D36 Parameters for estimation of working capital |  |
| --- | --- |
| SBU-D |  |
| Opening GFA (Rs.Cr.) | 8246.59 |
| One twelfth of average of Inventory (Rs Cr.) | 28.72 |
| O&M Cost (Rs.Cr.) | 2234.52 |
| Revenue for the year 2018-19 | 13053.26 |

4.10.6	Based on the above, net working capital computed is negative as calculated below. Therefore no claim is made towards interest on working capital.

| Table D 37 Interest on working capital (Rs Cr) |  |
| --- | --- |
| O&M Exp for 1 month | 186.21 |
| Mace spares @ One twelfth of average of opening and closing balance of Inventory | 28.72 |
| Revenue (2 months) | 2175.54 |
| Total | 2390.47 |
| Less Security deposit | 3019.12 |
| Net Working Capital | -628.65 |

4.10.7	Since the Working Capital requirement is less than the security deposit held at the beginning of the year, KSEB Ltd is not claiming any interest on working capital for FY-19.

4.10.8	Carrying cost on approved revenue gap:  Hon’ble Commission approved carrying cost of Rs. 304.08 Cr for the year after deducting average GPF balance from the approved gap to determine the revenue gap for which carrying cost is eligible. Actual average interest on loans during 2018-19 had been 10%. Accordingly, a sum of Rs.592.63 Cr towards revenue gap till 2017-18 and Rs.36.48 Cr towards revenue gap in 2018-19 is claimed as carrying cost for the year 2018-19 as detailed in chapter 5. Hon’ble Commission may please approve Rs.629.11 Cr towards carrying cost for 2018-19 under SBU D.

4.10.9	 Interest on PF: Hon Commission approved Rs 152.55 Cr towards interest on PF for FY-19. But as per the audited accounts, the actual interest on PF was Rs.136.68 Cr, which is less by Rs.15.87 Cr.  Therefore Rs.136.68 Cr is sought for true up as detailed in chapter 5, which may kindly be approved.

4.10.10 Interest on Master Trust Bonds:  State Government, as per notifications dated 31.10.2013 and 28.01.2015, ordered creation of a Master Trust for meeting the unfunded liability of pension, gratuity and leave surrender as on 31.10.2013, in respect of the personnel transferred from erstwhile KSEB to KSEBL. The total liability as on 31.10.2013 was estimated at Rs.12418.72 Cr and necessary funding arrangements put in place through issue of 2 series of Bonds. Hon Commission recognized the unfunded pension liabilities as above and approved recovery of interest on KSEBL share of Bonds as per Tariff Regulations, 2014. Thus Hon Commission approved Rs.646.45 Cr towards interest on Master Trust bonds against share of SBU D.  Actual share of expenses for SBU D has been Rs.652.08 Cr, which may kindly be approved.

4.10.11	Further, Hon’ble Commission was pleased to provisionally approve Rs.167.10 Cr towards interest on unfunded terminal liabilities under SBU-D. KSEBL seeks truing up of Rs.167.10 Cr also as detailed in chapter 5.

4.10.12	In view of the above submission, Hon’ble Commission may kindly approve interest and finance charges as summarized below:

| Table D 38 : Comparison of I& F charges-Approved, Actual and TU requirement for 2018-19 (Rs Cr) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Approval | Actual | TU requirement | Difference over approval |
| Interest on Loan | 149.90 | 348.47 | 180.27 | 28.78 |
| Security Deposit Interest | 175.33 | 177.31 | 170.75 | -4.58 |
| Master Trust Bond Interest | 646.45 | 652.08 | 652.08 | 5.63 |
| Overdraft interest | 0.00 | 125.54 |  | 0.00 |
| PF interest | 152.55 | 136.68 | 136.68 | -15.87 |
| Other interests | 0.00 | 18.41 | 18.41 | 18.41 |
| Interest on fair valuation | 0.00 | 9.13 |  | 0.00 |
| Carrying cost | 304.08 | 0.00 | 629.11 | 325.03 |
| Total | 1428.31 | 1467.62 | 1787.30 | 358.99 |
| Less: Interest capitalized |  | 202.80 |  |  |
| I&FC net of capitalization |  | 1263.32 |  |  |

  - Return on Equity:

Hon’ble Commission vide order dated 08.07.2019 approved Return on equity at Rs 253.50 Cr, which may kindly be trued up.

4.12	Other debits and Prior period expenses/income:

As detailed in chapter 5, a sum of Rs. 291.38 Cr is sought for true up, predominant portion of which represents withdrawal of interest income recognized in 2015-16 on settlement of KWA arrears.

  - Non tariff income: Hon’ble Commission approved Rs.531.55 Cr under this head. The share of non tariff income of SBU D as per accounts was Rs. 400.80 Cr, as detailed in Form D 2.4. However, as detailed in chapter 5, a sum of Rs.537.36 Cr is sought for true up against approval of Rs 531.55 Cr. This include Meter Rent/Service Line Rental, Miscellaneous charges (UCM, Service connection fee, Fee for maintenance of Public lighting, Testing fee, Reconnection fee, Penalty charges, Minimum Guarantee charges, Charges for Service connection minimum, Meter charges, Power allocation charges, Wheeling charges  & Reactive energy charges , Interest on Staff Loans and Advances, Interest on Advances to suppliers/ Contractors, Interest from Banks, Rebate Received, Income from sale of scrap,  RE Charges etc). Hon’ble Commission may kindly approve the same.

4.14	Tariff income:  Hon’ble Commission vide order dated 08.07.2019 approved revenue from sale of power as Rs 12531.47 Cr (21647.27 MU) and Rs 756.64 Cr (1513.27 MU) towards revenue from surplus energy sales outside the State. Hon’ble Commission vide order dated 13.08.2018 allowed to recover an amount of Rs 81.65 Cr @ 15 paise per unit as fuel surcharge from LT consumers from August 2018 and from HT & EHT consumers from September 2018 onwards for three months. Against these, the actual revenue from sale of power including fuel surcharge, during the year was Rs. 12713.93 Cr (21536.77 MU) and from external sale was Rs. 339.34 Cr (824.78 MU). The reduction in external sales was due to the reduction in power availability as mentioned earlier in this chapter.

    - Thus, the revenue from tariff during the year 2018-19 has been Rs. 12713.93 Cr which is inclusive of Fuel Surcharge approved for FY-18 collected during 2018-19 as disclosed in Form D 2.1. A summary of the revenue from sale of power inside the State as well as outside State is given below.

| Table – D39 : Revenue from Sale of Power within the State |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Category | Energy sales |  | Revenue |  |
|  |  | MU | % | Rs Cr | % |
| 1 | Domestic | 10864.34 | 50.45 | 4621.036 | 36.35 |
| 2 | Commercial | 3221.43 | 14.96 | 3062.803 | 24.09 |
| 3 | Public lighting | 377.78 | 1.75 | 172.7674 | 1.36 |
| 4 | Irrigation & Dewatering | 337.65 | 1.57 | 86.7763 | 0.68 |
| 5 | Industrial LT | 1111.67 | 5.16 | 792.7592 | 6.24 |
| 6 | Railway Traction | 318.04 | 1.48 | 186.3838 | 1.47 |
| 7 | Bulk Supply | 597.04 | 2.77 | 369.1292 | 2.90 |
| 9 | HT | 3656.92 | 16.98 | 2758.593 | 21.70 |
| 10 | EHT | 1051.91 | 4.88 | 663.4755 | 5.22 |
| 11 | Miscellaneous |  |  | 0.1969 | 0.00 |
| 11 | Total sales (within state) | 21536.77 |  | 12713.93 | 100.00 |
| 12 | Interstate sale | 824.78 |  | 339.34 |  |
| 13 | Total | 22361.55 |  | 13053.27 |  |

    - Hon’ble Commission, while approving the revenue from sale of power, had deducted            Rs 97.79 Cr. as power factor incentive against which the actual is Rs 114.07 Cr. Accordingly power factor incentive to the tune of Rs.114.07 Cr deducted from the revenue from SoP (which was booked under A&G expenses as explained in chapter 5).  The revenue from sale of Power includes fixed charges/demand charges, energy charges, the subsidy allowed by the Government in the case of domestic consumers with monthly consumption up to 120 units and LT Agricultural consumers and fuel surcharge. It can be seen that 50.45%of total consumption was domestic which contribute 36.35 %of revenue. Actual revenue was less by Rs.251.12 Cr from approval. A comparison of approved vs actual sale is given in table below.

| Table – D40 : Revenue comparison Approved Vs Actuals |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No | Category | Energy sales (MU) |  |  | Revenue (Rs. Cr) |  |  |
|  |  | Approved | Actual | Deviation | Approved | Actual | Deviation |
| 1 | Domestic | 10861.42 | 10864.34 | 2.92 | 4485.19 | 4621.04 | 135.85 |
| 2 | Industrial | 1100.98 | 1111.67 | 10.69 | 784.29 | 792.76 | 8.47 |
| 3 | Agriculture | 350.01 | 337.65 | -12.36 | 83.86 | 86.78 | 2.92 |
| 4 | Commercial | 3168.22 | 3221.43 | 53.21 | 2931.98 | 3062.8 | 130.82 |
| 5 | Public Lighting | 382.85 | 377.78 | -5.07 | 177.06 | 172.77 | -4.29 |
| 6 | HT & EHT Total | 4917.25 | 4708.82 | -208.43 | 3448.96 | 3422.07 | -26.89 |
| 7 | Railway Traction | 273.51 | 318.04 | 44.53 | 167.89 | 186.38 | 18.49 |
| 8 | Bulk Supply | 593.03 | 597.04 | 4.01 | 370.59 | 369.13 | -1.46 |
| 9 | Fuel surcharge |  |  |  | 81.65 |  |  |
| 10 | Total sales (within state) | 21647.27 | 21536.77 | -110.5 | 12531.47 | 12713.72* | 182.25 |
| 11 | Interstate sale | 1513.27 | 824.78 | -688.49 | 756.64 | 339.34 | -417.3 |
| 12 | Misc |  |  |  |  | 0.1969 | 0.1969 |
| 13 | Total | 23160.54 | 22361.55 | -798.99 | 13288.11 | 13053.26 | -234.85 |
| 14 | Less Power Factor incentive |  |  |  | 97.79 | 114.07 | 16.28 |
| 15 | Revenue from Sale of power | 23160.54 | 22361.55 | -798.99 | 13190.32 | 12939.20 | -251.12 |

* including fuel surcharge.

4.14.3	Hon’ble Commission may kindly true up revenue from sale of power (including external sale) at Rs.12939.20 Cr.

  - Summary of truing up for SBU-D

The total annual revenue requirements for the year 2018-19 are detailed in table below:

| TABLE – D41 : ACTUAL ARR OF DISTRIBUTION BUSINESS UNIT (Rs Cr) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Particulars | Approved | Actual | True up | Difference |
| Cost of Generation (SBU-G) | 481.41 | 586.66 | 506.79 | 25.38 |
| Cost of Power Purchase | 7847.77 | 7869.32 | 7826.86 | -20.91 |
| Cost of Intra-State Transmission (SBU-T) | 874.60 | 1068.69 | 858.64 | -15.96 |
| NLDC charges | 3.00 |  |  | -3.00 |
| Interest & Finance Charges | 1428.31 | 1263.32 | 1787.30 | 358.99 |
| Depreciation | 72.24 | 433.24 | 107.98 | 35.74 |
| O&M Expenses | 2226.08 | 3106.25 | 2379.04 | 152.96 |
| Return on equity (14%) | 253.50 | 147.23 | 253.50 | 0.00 |
| Other Expenses |  | 209.40 | 291.38 | 291.38 |
| Income under FV Adjustments |  | 5.37 |  | 0.00 |
| Sharing of gains on account of higher T&D loss reduction |  |  | 28.59 | 28.59 |
| Recovery of previous gap | 400.00 |  |  | -400.00 |
| Onetime expenses-CMDRF |  |  | 29.25 | 29.25 |
| One Time Expenses-Flood related R&M |  | 12.39 |  | 0.00 |
| Interest on additional bond to Master Trust | 167.10 |  | 167.10 | 0.00 |
| Total ARR | 13754.02 | 14701.87 | 14236.44 | 482.42 |
| Revenue from Tariff | 12433.68 | 13181.87 | 12599.86 | 166.18 |
| Revenue from external sale | 756.64 | 339.34 | 339.34 | -417.30 |
| Non-Tariff Income | 531.55 | 400.80 | 537.36 | 5.81 |
| Total ERC | 13721.87 | 13922.01 | 13476.56 | -245.31 |
| Net Revenue Gap(-)/Surplus(+) | -32.15 | -779.86 | -759.88 | -727.73 |

Note: 	Actual power purchase cost is inclusive of NLDC charges.

4.16	Revenue from Tariff (Actuals as per accounts) is inclusive of PFI Rs. 114.07 Cr and Non Tariff Income of Rs.467.94 Cr as explained in chapter 5.

4.17	Hon’ble Commission, in the order dated 08.07.2019 had amortized a portion of past approved revenue gap of Rs.400 Cr. It may kindly be seen that revenue surplus actually does not materialize for amortizing any portion of past gap.

4.18	As shown above the total revenue gap for the year 2018-19 is Rs.759.88 Cr as against the approved revenue gap of Rs 32.15 Cr.

4.19	Appendices described in paragraphs above are attached here under. The forms are attached thereafter.  The next chapter contains explanations relating to various expenses and income in general.

----------------

Appendices

| Appendix-D1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Power Availability for 2018-19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Particulars | April | May | June | July | August | September | October | November | December | January | February | March | Average |
| Availability of electricity to meet the Base load |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hydro | 549 | 460 | 270 | 421 | 1322 | 1253 | 730 | 480 | 150 | 124 | 260 | 450 | 539.08 |
| CGS | 1300 | 1300 | 1250 | 1150 | 1100 | 950 | 960 | 1060 | 1200 | 1260 | 1300 | 1250 | 1173.33 |
| LTA | 990 | 933 | 980 | 960 | 770 | 850 | 850 | 860 | 1050 | 1000 | 1050 | 1050 | 945.25 |
| SWAP Ret./Sale contracted |  |  |  | -190 | -293 | -190 | -150 | 0 | 0 | 0 | 0 | 150 | -56.08 |
| Purchase by OA consumers |  |  |  | 50 | 40 | 30 | 0 | 20 | 50 | 50 | 40 | 40 | 26.67 |
| Sum of Electricity in MW Generated + Contracted for purchase(A) | 2839 | 2693 | 2500 | 2391 | 2939 | 2893 | 2390 | 2420 | 2450 | 2434 | 2650 | 2940 | 2628.25 |
| *Base load(B) | 2750 | 2600 | 2450 | 2150 | 2100 | 2350 | 2270 | 2300 | 2300 | 2350 | 2550 | 2900 | 2422.50 |
| Availability of electricity to meet the base load (A/B) | 103.24% | 103.58% | 102.04% | 111.21% | 139.95% | 123.11% | 105.29% | 105.22% | 106.52% | 103.57% | 103.92% | 101.38% | 108.49% |
| Availability of electricity to meet the Peak load |  | 0 |  |  |  |  |  |  |  |  |  |  |  |
| Hydro | 1507 | 1564 | 1582 | 1482 | 1656 | 1411 | 1461 | 1425 | 1310 | 1322 | 1500 | 1575 | 1482.92 |
| CGS | 1300 | 1300 | 1250 | 1150 | 1100 | 950 | 960 | 1060 | 1200 | 1260 | 1300 | 1250 | 1173.33 |
| LTA | 990 | 933 | 980 | 960 | 770 | 850 | 850 | 860 | 1050 | 1000 | 1050 | 1050 | 945.25 |
| SWAP Ret./Sale contracted |  |  |  | -53 | -156 | -156 | -100 | 0 | 0 | 0 | 0 | 150 | -26.25 |
| Purchase by OA consumers |  |  |  | 50 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 60 | 14.17 |
| Sum of Electricity in MW Generated + Contracted for purchase(A) | 3797 | 3797 | 3812 | 3589 | 3400 | 3085 | 3171 | 3345 | 3560 | 3582 | 3850 | 4085 | 3589.42 |
| Peak Load(B) | 4000 | 4000 | 3750 | 3550 | 3550 | 3550 | 3700 | 3750 | 3850 | 3850 | 4000 | 4200 | 3812.50 |
| Availability of electricity to meet the peak load (A/B) | 94.93% | 94.93% | 101.65% | 101.10% | 95.77% | 86.90% | 85.70% | 89.20% | 92.47% | 93.04% | 96.25% | 97.26% | 94.15% |
| Gross Availability of electricity for Supply | 101.16% | 101.41% | 101.94% | 108.68% | 128.91% | 114.06% | 100.39% | 101.21% | 103.01% | 100.94% | 102.00% | 100.35% | 104.91% |

| Appendix –D2: Details of contracts for procuring power during 2018-19 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Source | Contracted Capacity (MW) | Commission Approval Letter | Period of contract | Approved Tariff |
| Long Term contracts |  |  |  |  |
| Maithon Power | 150 | No.2158/C.Engg/Maithon/2013/1398 dated 26.12.2013 | 25 years | Approved under Section 62 of Electricity Act 2003 |
| Maithon Power | 150 | Order dated 08 - 07- 2015 | 25 years |  |
| DVC Mejia | 100 | No.500/C.Engg/DVC/2014/348 dated 28.03.2014 & Order dated 21.01.2016 | 25 years |  |
| DVC RTPS | 50 |  | 25 years |  |
| Jindal Power Ltd-PSA I (DBFOO) | 200 | Order dated 30.8.2016 | 25 years | Approved under Section 63 of Electricity Act 2003. |
| Jhabua Power Ltd-PSA-I (DBFOO) | 115 | Order dated 22.12.2016 | 25 years |  |
| Jindal Power Ltd-PSA I (DBFOO)* | 150 | Letter dated 22.12.2017 | 25 years |  |
| Jhabua Power Ltd-PSA-I (DBFOO)* | 100 | Letter dated 22.12.2017 | 25 years |  |
| JITPL* | 100 | Letter dated 22.12.2017 | 25 years |  |
| BALCO | 100 | Order dated 30.8.2016 | 25 years |  |

*Rate yet to be approved

| Appendix – D3 : Actual Rate of Power from external IPPs, traders and energy exchanges, DSM, swap |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name of IPP/trader | Energy at exbus(MU) | Energy at Kerala end (MU) | Cost (Rs Cr) | Rate at exbus (Rs/unit) |
| Long Term contracts |  |  |  |  |
| Maithon Power Ltd-I | 1042.84 | 1010.56 | 441.78 | 4.24 |
| Maithon Power Ltd-II | 1042.86 | 1010.58 | 440.07 | 4.22 |
| DVC Mejia | 586.91 | 570.42 | 241.26 | 4.11 |
| DVC RTPS | 131.08 | 127.14 | 50.63 | 3.86 |
| Jindal Power Ltd-Bid I* | 1410.26 | 1343.61 | 521.98 | 3.70 |
| Jhabua Power Ltd-Bid I | 683.83 | 655.21 | 267.41 | 3.91 |
| Jindal Power Ltd-Bid II* | 1050.85 | 1011.31 | 472.11 | 4.49 |
| Jhabua Power Ltd-Bid II | 593.32 | 568.48 | 274.65 | 4.63 |
| JITPL | 680.58 | 653.99 | 309.49 | 4.55 |
| BALCO | 728.54 | 700.75 | 294.80 | 4.05 |
| Subtotal | 7951.08 | 7652.05 | 3314.19 | 4.17 |
| Short term contract |  |  |  |  |
| IEX | 479.26 | 467.99 | 165.61 | 3.46 |
| PXIL | 9.21 | 9.00 | 4.53 | 4.91 |
| Deviation Settlement Mechanism | 252.45 | 252.45 | 62.76 | 2.49 |
| Swap Purchase | 146.24 | 142.77 | 2.94 |  |
| Total | 8531.74 | 8241.52 | 3128.22 | 3.67 |
| Note: Except Maithon &DVC all rates are inclusive of interstate transmission charges |  |  |  |  |

| Appendix – D4 : Source wise details of Power Purchase for 2018-19 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No | Source | Approved Energy (MU) | Approved Cost (Rs Cr) | Actual Energy | True up claim of Cost (Rs Cr) |
|  |  |  |  | (MU) |  |
| 1 | CENTRAL GENERATING STATIONS |  |  |  |  |
|  | RSTPS I & II | 1763.58 | 540.11 | 1608.17 | 530.31 |
|  | RSTPS III | 426.1 | 131.52 | 400.76 | 132.78 |
|  | Talcher Stage-II | 3105.98 | 699.49 | 2889.61 | 715.24 |
|  | Simhadri TPS Stage II | 550.33 | 245.51 | 541.92 | 260.58 |
|  | NLC Stage-I | 397.35 | 147.45 | 396.01 | 127.61 |
|  | NLC Stage-II | 557.67 | 209.79 | 586.18 | 189.00 |
|  | NLC 1 Expansion | 429.02 | 161.12 | 429.78 | 151.66 |
|  | NLC II Expansion | 282.58 | 150.42 | 281.08 | 133.64 |
|  | Vallur STPS | 346.7 | 161.76 | 267.73 | 145.30 |
|  | MAPS | 85.3 | 23.81 | 60.72 | 16.63 |
|  | KAIGA | 486.75 | 176.9 | 541.76 | 201.73 |
|  | Kudankulam | 1285.78 | 525.4 | 759.53 | 330.14 |
|  | NTPL | 486.64 | 230.14 | 420.25 | 207.58 |
|  | Kudgi | 472.19 | 253.07 | 458.51 | 275.99 |
|  | Eastern region supplementary claims | 0 | 0 | 0.00 | -0.02 |
|  | PGCIL losses | 420.55 |  | 400.92 |  |
|  | Sub Total | 10255.42 | 3656.49 | 9241.09 | 3418.17 |
| 2 | INDEPENDENT POWER PRODUCERS |  |  |  |  |
|  | RGCCPP, Kayamkulam | 0 | 200 | 0.81 | 204.13 |
|  | Wind- Ramakkalmedu | 27.87 | 8.75 | 49.73 | 18.18 |
|  | Wind-Koundikkal | 12.56 | 3.94 | 0.00 | 0.00 |
|  | Wind- Agali | 29.72 | 9.33 | 0.00 | 0.00 |
|  | Wind Ahalya | 20.98 | 10.97 | 18.15 | 9.48 |
|  | INOX | 30.84 | 12.61 | 38.90 | 15.60 |
|  | Kosamattom | 0.00 | 0.00 | 1.13 | 0.06 |
|  | Wind Sub total | 121.97 | 45.61 | 107.90 | 43.34 |
|  | Ullunkal(EDCL) | 17.79 | 4.34 | 10.75 | 2.66 |
|  | Iruttukanam Stage-I & II(Viyyat) | 24.69 | 6.67 | 10.51 | 2.71 |
|  | Karikkayam HEP(AHPL) | 37.56 | 15.62 | 45.78 | 18.92 |
|  | Meenvallom(PSHCL) | 8.44 | 4.12 | 7.41 | 3.65 |
|  | Kallar of Idukki District Panchayat | 0.08 | 0.04 | 0.00 | 0.00 |
|  | Mankulam of Grama Panchayat | 0.09 | 0.04 | 0.00 | 0.03 |
|  | Minar Renewable energy project Ltd | 0.00 | 0.00 | 0.07 | 0.00 |
|  | SHEP subtotal | 88.65 | 30.84 | 74.51 | 27.98 |
|  | Solar |  |  |  |  |
|  | Solar IREDA | 70.08 | 27.33 | 76.53 | 28.89 |
|  | Solar IPP ANERT | 0.00 | 0.00 | 2.54 | 0.00 |
|  | Grid connected -solar | 0.00 | 0.00 | 6.19 | 0.75 |
|  | Solar subtotal | 70.08 | 27.33 | 85.26 | 29.64 |
|  | Subtotal IPPs | 280.70 | 303.78 | 268.48 | 305.09 |
|  | Net CPP Energy injection |  |  | 10.68 |  |
|  | PCBL(Deviation adjustment) |  |  | 2.05 | 0.12 |
|  | Sub total | 280.70 | 303.78 | 281.22 | 305.21 |
|  | Continued… |  |  |  |  |
| No | Source | Approved Energy (MU) | Approved Cost (Rs Cr) | Actual Energy | True up claim of Cost (Rs Cr) |
|  |  |  |  | (MU) |  |
| 3 | Long Term Contracts |  |  |  |  |
|  | Maithon Power Ltd-I | 991.63 | 415.79 | 1042.84 | 441.78 |
|  | Maithon Power Ltd-II | 991.63 | 415.79 | 1042.86 | 440.07 |
|  | DVC Mejia | 686.96 | 273.27 | 586.91 | 241.26 |
|  | DVC RTPS | 244.94 | 136.92 | 131.08 | 50.63 |
|  | Jindal Power Ltd-Bid I* | 1486.29 | 555.28 | 1410.26 | 521.98 |
|  | Jhabua Power Ltd-Bid I | 733.26 | 332.47 | 683.83 | 267.41 |
|  | Jindal Power Ltd-Bid II* | 1117.19 | 466.45 | 1050.85 | 472.11 |
|  | Jhabua Power Ltd-Bid II | 625.27 | 261.06 | 593.32 | 274.65 |
|  | JITPL | 695.25 | 290.28 | 680.58 | 309.49 |
|  | BALCO | 748.98 | 310.78 | 728.54 | 294.80 |
|  | PGCIL losses | 322.08 |  | 299.03 |  |
|  | Sub Total | 7999.32 | 3458.09 | 7652.05 | 3314.19 |
| 4 | Short term/Exchanges/swap |  |  |  |  |
|  | IEX |  |  | 467.99 | 165.61 |
|  | PXIL |  |  | 9.00 | 4.53 |
|  | Deviation Settlement Mechanism |  |  | 252.45 | 62.76 |
|  | SWAP-Mittal Processors(P) Ltd |  |  | 142.77 | 1.10 |
|  | SWAP-APPCPL |  |  |  | 1.84 |
|  | Subtotal |  |  | 872.21 | 235.84 |
|  | Transmission charges payable to PGCIL |  | 539.84 |  | 513.41 |
|  | PTC (previous year expenses) |  |  |  | 32.37 |
|  | Total | 18535.44 | 7986.24 | 18046.57 | 7819.20 |
|  | SWAP SALE |  |  |  |  |
|  | SWAP-NVVN |  |  | 139.12 | 0.24 |
|  | SWAP-TPTCL |  |  | 11.58 | 0.17 |
|  | SWAP-GMRETL |  |  | 17.32 | 1.87 |
|  | Sale to BSHPCL |  |  | 75.10 | 5.38 |
|  | Sale to CSPDCL |  |  | 69.06 |  |
|  | Sale through IEX |  |  | 656.45 |  |
|  | Sale through PXIL |  |  | 24.18 |  |
|  | TNEB |  |  |  | 0.00 |
|  | Power purchase cost claimed |  |  |  | 7826.86 |
|  | Power purchase cost as per accounts |  |  |  | 7869.32 |