BEFORE THE KERALA STATE ELECTRICITY REGULATORY COMMISSION

K.P.F.C. BHAVANAM, C.V. RAMAN PILLAI ROAD, VELLAYAMBALAM

THIRUVANANTHAPURAM, KERALA

PETITION NO.        OF 2021

CIAL Infrastructures Ltd,

(A subsidiary of Cochin International Airport Ltd.)

Regd. Office: XI/318E, Cochin International Airport Bldg.

Kochi Airport P O, Nedumbassery,

Ernakulam – 683 111, Kerala                                         - Petitioner

Versus

Kerala State Electricity Board Ltd,

Vydyuthi Bhavanam, Pattom,                                                      - Respondent

Thiruvananthapuram-695 004.

PETITION UNDER SECTION 86 (1) (b) OF THE ELECTRICITY ACT 2003, KERALA STATE ELECTRICITY REGULATORY COMMISSION (RENEWABLE ENERGY AND NET METERING) REGULATIONS 2020 AND OTHER APPLICABLE REGULATIONS FOR APPROVAL OF THE POWER PURCHASE AGREEMENT AND ALSO DETERMINE GENERIC TARIFF APPLICABLE FOR SMALL HYDRO ELECTRIC PROJECTS HAVING CAPACITY BELOW 5 MW

MOST RESPECTFULLY SHOWETH:

DESCRIPTION OF PARTIES

- The Petitioner CIAL Infrastructures Ltd, (hereinafter referred as ‘CIAL INFRA’) is a Company registered under the Companies Act, 2013, is a wholly owned subsidiary of Cochin International Airport Ltd.(CIAL).The parent company, CIAL was promoted by the Government of Kerala in 1994.

- The Respondent is The Kerala State Electricity Board Limited, (hereinafter referred as ‘KSEB’) is a company under the Companies Act, 2013 and is a distribution licensee within the meaning of Section 2(27) of the Electricity Act, 2003 undertaking distribution and supply of electricity in the State.

BRIEF FACTUAL BACKGROUND

- The parent company of the Petitioner, CIAL is the first Airport in the world to be fully powered by solar energy. The Airport has also received ‘Champions of the Earth-2018’ award from the United Nations in September 2018 for “Leadership in the use of Sustainable Energy”. Electricity has been an integral part of the day-to-day life of every human being.  Due to the tremendous increase in population and the development taking place in the agricultural, industrial and service sectors, the demand for electricity often exceeds the capacity of the existing plants. The petitioner looks forward to having a mutually beneficial and productive association with the KSEBL, the respondent herein in the renewable energy sector.

- Pursuance of the Government of India policy regarding participation of private sector in the development of renewable Hydro Electric Projects, the Government of Kerala has proposed to encourage and facilitate the development of Small /Mini Hydel projects as captive (CPP) as well as independent power projects (IPP) to exploit the hydel potential and develop renewable generation sources within the State.

- The Government of Kerala formulated Small Hydro Power Policy 2012 and as per GO (Ms) No.30/2012/PD dt 12.12.2012 assigned 62 Small Hydro Electric Projects for implementation through private participation as IPP/CPP mode through competitive bidding on BOOT basis for 30 years. Accordingly, the Director, Energy Management Centre, who is the nodal agency for implementation of Small Hydro Projects in the State, invited request for Qualification (RFQ) for Small Hydro Projects and the SHP Evaluation Committee approved the qualified bidders based on their financial strength. The successful bidders were selected after the bidding process.

- The parent company of the petitioner, CIAL, submitted their proposal and was successful in the bids submitted for 8 SHP projects. The High Level Empowered Committee headed by Chief Secretary constituted as per Government Order No. GO(Rt) No. 284/2013/PD dated 19/10/2013, after examining all the aspects recommended to allot 25 Small Hydro Projects to IPP & CPP’s for implementation on BOOT basis as proposed by the Director, Energy Management Centre.

- The Government have examined the matter in detail and allotted the 25 SHPs to Private Developers in IPP/CPP Mode. As per the above said order Government of Kerala allotted the 3.0 MW Arippara SHP project as Captive Power Project (CPP) to Cochin International Airport Ltd (CIAL) for implementation and running the project under BOOT scheme for 30 years from the date of signing of an implementation agreement. Copy of the order No. G.O (Ms) No. 23/2014/PD dated 21/07/2014 is produced herewith and marked as Annexure-A.

- Subsequently, The Managing Director, CIAL vide its letter No. CIAL/CIAL INFRA/MD/2014/73 dated 04/08/2014 requested the Government of Kerala to change the name of the implementing agency as CIAL Infrastructures Limited (a wholly owned subsidiary of CIAL) instead of CIAL and also to convert the CPP projects as IPP category.  Based on above request, the Government of Kerala issued Order vide No. G.O.(Rt)No.266/2014/PD dated 24/10/2014 and allotted the projects to M/s. CIAL Infrastructures Ltd under IPP category. Copy of letter No. CIAL/CIAL INFRA/MD/2014/73 dated 04/08/2014 is produced herewith and marked as Annexure-B. Copy of the G.O(Rt) No.266/2014/PD dated 24/10/2014 is produced herewith and marked as Annexure-C.

- Based on the strength of the above said orders, Government of Kerala, represented by the Principal Secretary to Government, Power Department and CIAL Infrastructures Ltd, the petitioner herein have executed an Implementation Agreement dated 24/10/2014 to implement the project and recording the terms, conditions and covenants of the allotment of the Project to the petitioner. Copy of the Implementation Agreement dated 24/10/2014 is produced herewith and marked as Annexure-D.

- Subsequently, the petitioner prepared a Techno Economic Project Report (TEFR) with an enhanced capacity of 4.5 MW and submitted the same to Energy Management Centre for approval. The Energy Management Centre has examined the TEFR with enhanced capacity of the project from the allotted 3MW to 4.5 MW at allottee’s risk and cost which is permitted as per Small Hydro Policy and approved the same as per approval letter No. EMC/SHPC/TEFR/ARIPPARA/CIAL/1 DATED 28/09/2015. Copy of the TEFR approval letter issued by Energy Management Centre is produced herewith and marked as Annexure-E.

- Based on the approval given by Government of Kerala for setting up of Arippara Small Hydro Electric Power Plant of capacity 4.5 MW in Kozhikode District, the construction of the project was started in December 2015. The project has been completed in all respects as per implementation agreement and on built, owned, operated and maintained and transfer by the petitioner. The power evacuation arrangement up to 110kv substation of KSEB at Thambalamanna was also completed as required by KSEB for inter connection with grid. Subsequently, sanction for energization of power house & switchyard was received on 26.07.2021 and same for 33kv underground cable laid for evacuation of power was received on 28.07.2021.

- Thereafter, the petitioner applied to KSEB for grant of connectivity for the 4.5 MW Arippara Small Hydro Electric Project facility to use KSEB Ltd’s Transmission or Distribution system to transmit electricity to and or from the facility through the Intra-state Transmission system and the KSEB has agreed to the connection of the 4.5 MW Arippara Small Hydro  Electric Project Transmission or Distribution and communication system (via the petitioner’s site-Related connection Equipment) at the Connection point 33KV Switch yard of Arippara SHEP using the  Transmission or Distribution and communication System of the KSEB, as the case may be, to transmit electricity as well as real time data to and or from the facility through the intra state Transmission or Distribution and communication  system.  Accordingly, Kerala State Electricity Board Ltd as first Part and CIAL Infrastructures Ltd, the petitioner herein as Second Part executed a Connection Agreement on 04/08/2021. The Copy of Connection Agreement No.02/21-22 dated 04.08.2021 is produced herewith and marked as Annexure-F.

- Subsequently, KSEB provided physical connection on 05.08.2021 and the machines were synchronized on the same day with the grid. The TOD meter was also installed by KSEB and joint meter readings were recorded on 05.08.2021. The power generated from the project is continuously evacuated to the KSEB grid from the said date of synchronization/commissioning. Copy of the commissioning report of the project and joint initial meter readings dated 05.08.2021 is produced herewith and marked as Annexure –G.

- After synchronization of the machines with KSEB grid and completion of various commissioning tests, the petitioner requested KSEB for formation of a committee towards declaration of Commercial Operation Date (COD).  The KSEB Board has accorded sanction for formation of COD committee and the said committee is in the process of evaluation of the project for declaration of COD. Copy of KSEB Board sanction order for formation of Co-ordination committee to declare COD of the project No.1016/2021(CE(REES)/SHEP/Arippara/2017-18 dated 10.09.2021 is produced herewith and marked as Annexure - H

- During the implementation of the project, KSEB had expressed their willingness to purchase the entire power from the project and in this regard a draft Power Purchase Agreement (PPA) was signed with the petitioner and approved vide their letter No. CML-EE2-AEE-2/ARIPPARA SHEP/2017-18/CE(C&T)/318 dated 09.11.2018  for submission to KSERC. As per clause 5.4 of the said PPA, “the power generated from the project shall be project specific tariff determined by the commission or generic tariff notified by the commission, whichever is lower”. Since, the capacity of the project is below 5 MW, the applicable tariff may be Generic Tariff and the said clause may be modified as “the power generated from the project shall be generic tariff notified and determined by the Regulatory Commission”. Copy of the draft Power Purchase Agreement is produced herewith and marked as Annexure-I.

- In order to fast track the process, the said draft Power Purchase Agreement executed between the petitioner and the respondent need to be approved and applicable generic tariff for this project is to be determined by this Honourable Commission.  Hence this petition is necessitated. It is, therefore, respectfully prayed that this Hon’ble Commission may be pleased to:

- Admit the present Petition.

- Approve the Draft Power Purchase Agreement, with necessary modifications of clause 5.4, between the petitioner and KSEB for purchasing the entire energy generated from the project.

- Determine the generic tariff notified by the commission as applicable for Small Hydro Electric projects having capacity below 5MW.

- Pass any such further order or orders as this Hon’ble Commission may deem just and proper in the facts and circumstances of the case.

PETITIONER

PLACE: Thiruvananthapuram

DATED: 07/10/2021

BEFORE THE JOINT ELECTRICITY REGULATORY COMMISSION

K.P.F.C. BHAVANAM, C.V. RAMAN PILLAI ROAD, VELLAYAMBALAM

THIRUVANANTHAPURAM, KERALA

PETITION NO.        OF 2021

IN THE MATTER OF:

CIAL Infrastructures Ltd,

(A subsidiary of Cochin International Airport Ltd    - Petitioner

Versus

Kerala State Electricity Board Ltd	                    -  Respondent

AFFIDAVIT

I, Jose Thomas P.,S/o. Sri. P M Thomas, aged 60 years, resident of CC41/546, Periappuram, Soumya Nagar, Alinchuvadu, Vennala P O, Ernakulam – 682 028 do hereby solemnly affirm and state as under:

- I am the Executive Director of CIAL Infrastructures Ltd., the Petitioner and I am fully conversant with the facts of the case and able to depose to the present affidavit.

- I have gone through the accompanying Petition and I say that the contents stated therein are based on the records of the Petitioner maintained in the normal course of business and believed by the deponent to be true.

- The Annexures to the Petition are true copies of their originals

DEPONENT

VERIFICATION:

I, the deponent above named do hereby solemnly affirm that the contents stated are true to my knowledge, no part of it is false and nothing material has been concealed there from.

Verified at Thiruvananthapuram on this 7th day of October 2021.

DEPONENT