# KINESCO Power and Utilities Private Limited

# Ground Floor, CFC Building, Kinfra Park Office,

# Infopark P.O, Kakkanad.

# To:

# The Hon’ble Kerala State Electricity Regulatory Commission

# Thiruvananthapuram

Sir,

Sub:	Submission of petition for true up of accounts for the year2017-18

We are submitting herewith the petition for true up of accounts for the year 2017-18 for the kind perusal and for favourable orders of the Hon’ble Commission.

- BACKGROUND:

Government of Kerala vide G.O.(p) No. 18/2003/PD dated 8th May 2003 had granted a license to M/s.KINFRA Export Promotion Industrial Park (hereinafter called KEPIP) for supplying electricity to various establishments within the KEPIP campus at Kakkanad, Kochi exercising the power conferred under section 19 of the Indian Electricity Rules 1956. The Hon’ble Commission vide order dated 23rd October 2008, approved the inclusion of Kinfra Park at Kakkanad (new area), Kalamassery and Palakkad in the original licence given to KEPIP for distribution of electricity.

Later on, Government of Kerala had accorded sanction for the formation of joint venture company between Kerala Industrial Infrastructure Development Corporation (hereinafter called KINFRA) and NTPC Electric Supply Company Limited (hereaftercalled NESCL), a fully owned subsidiary of NTPC Limited vide order G.O.(MS) No. 88/2008/ID dated 27th June 2008.Based on the order, a company named KINESCO Power and Utilities Pvt. Ltd. (hereinafter called KPUPL) had been formed between KINFRA and NESCL as 50:50 joint venture and also applied for transfer of License for distribution of electricity from KEPIP to the newly formed joint venture company.

After the due process of Public Hearing, and in exercise of power conferred under Section 17(3) and Section 181 of Electricity Act 2003 (Central Act 36 of 2003) and all other power enabling it in this behalf, Hon’ble Kerala State Electricity Regulatory Commission granted the transfer of License for distribution of electricity of the above-mentioned areas from KEPIP to KPUPL vide Commission’s order dated 30.11.2009.

KEPIP transferred the assets to KPUPL on the book value of accounts of KEPIP. However, formal agreement and final settlement on account of the asset transfer between the parties hasremained pending during that period. KPUPL started its licensee operations at Kakkanad with effect from 01.02.2010, at Kalamassery with effect from 01.09.2011and at Palakkad w.e.f 05.08.2016.

Based on the approval of Govt. of Kerala vide order G.O (RT) No.756/2014/ID dated 07.07.2014, the joint venture between NESCL and KINFRA was terminated and KINFRA has taken over the 50% stake of NESCL on 15th December 2015, making KPUPL a 100 % Subsidiary of KINFRA as on date.

- STATUS OF LICENSEE OPERATIONS DURING THE PERIOD:

- Kakkanad:

KPUPL has taken over all electrical assets and the distribution infrastructure from the erstwhile licensee, M/s. KEPIP at Kakkanad and commenced operation for distribution of electricity at KEPIP, Kakkanad from 01.02.2010.

- Kalamassery:

KPUPL had commenced licensee operations at Kinfra Hi Tech Park with effect from 06.02.2011, initially by providing a connection to M/s.BEL using the existing HT connection provided to KINFRA by KSEBL (in the absence of connectivity & PPA at Kalamassery license area) and subsequently, taken over the existing 11 kV distribution system on 01.09.2011 from KINFRA.

- Palakkad:

The licensee operations at KIIT Park, Kanjikode started by KPUPL on 05.08.2016 after erection and commissioning of 22/11 kV substation along with the related distribution networks.

# The areas of the licensee operations are as indicated below:

All those pieces or parcels of land acquired by M/s.Kinfra in-

| I | Kakkanad | ThrikkakaraGrama Panchayath of Ernakulam district. |
| --- | --- | --- |
| II | Kalamassery | Thrikkakara North in Kalamassery Municipality of Ernakulam district. |
| III | Palakkad | Puthussery Central village in PuthusseryGramapanchayath and Elapully village in ElappullyGramapanchayath of Palakkad District. |

# The boundaries of the area of Licence are as under:

| - KINFRA Export Promotion Industrial park, Kakkanad (180.126 Acres) |  |  |
| --- | --- | --- |
| North | : | # Kakkanad-Edachira PWD Road |
| South | : | # ParackamughalChithrapuzha Panchayath road Survey No 627-1, 627-2, 627- 4, 627-5 |
| East | : | # Chithrapuzhathodu |
| West | : | # Survey Nos. 628-1, 629-4, 631,633, 682, 683 |
| - Land of KINFRA for KEPIP Expansion, Kakkanad (100 Acres) |  |  |
| North | : | # Private properties (Sy. Nos. 570/26,570/28,570/28,570/29,580,581) |
| South | : | # Private properties (Sy. Nos 570/1, 570/17, 570/19, to 22, 570/31) |
| East | : | # Kadamprayar River. |
| West | : | # MLA Road, Private properties (Sy. Nos. 573,574/4,574/7,574/8) |
| - KINFRA Hi-Tech Park, Kalamassery (240 Acres) |  |  |
| North | : | # Private properties (Sy. Nos. 288 to 293) |
| South | : | Medical College and Kanarapady road. |
| East | : | # Thavakal Road, Sy. Nos. 262,272,274,284. |
| West | : | # HMT area, Private properties (Sy. Nos. 272 to 274) |
| - KINFRA Integrated Industrial and Textile Park, Palakkad (350 Acres) |  |  |
| North | : | # KanjikodeMenonpara PWD Road(SathyananthamPallam and PK Challa Localities) |
| South | : | # Korayar River. |
| East | : | # By Edappakulam Area Private lands and Edappakulam- Nombikode PWD road in North East Corner |
| West | : | # Kinfra 200acres, Panchayath road South West corner |

- SOURCE OF BULK POWER:

M/s. KEPIP, the erstwhile licensee, through a Bulk power supply Agreement, valid for a period of 20 years, had been sourcing the power needs of Kakkanad licensee areas from KSEBL. The commission, while transferring the license to KPUPL, had directed KPUPL in its License Order to enter into separate Power Purchase Agreements with KSEBL. Accordingly, KPUPL had immediately moved application to KSEBL for signing PPA and for enhancement of contract demand from 9MVA to 11MVA at Kakkanad license area. However, execution of PPA got delayed and hence, the existing PPA signed between KEPIP and KSEBL at 9MVA load was continued for supply of bulk power at Kakkanad license area. KPUPL and KSEBL Ltd have subsequently executed PPA for supply of bulk power at Infopark/KEPIP Park, Kakkanadduring 2014 and at Kinfra Hi Tech Park, Kalamassery and at KIITP, Palakkadduring 2016.

- TRANSMISSION AND DISTRIBUTION NETWORK:

- Kakkanad

# KPUPL draws the bulk power for its 110KV Substation at Kakkanad through a 110KV double circuit line from KSEBL’s 220KV Substation, Brahmapuram. The 110KV substation at Kakkanad have 2 Nos. of 10/12.5 MVA plus1 No. of 16/20 MVA power transformers which are dedicated for supplying power to Infopark – Phase I and KEPIP. The 11KV power distribution networks with UG cables and Ring Main Units have been envisaged for Infopark – Phase I and KEPIP campus. This system works with better reliability and less interruption. It is also an expandable system.

- Kalamassery

# KPUPL started licensee operations at KINFRA Hi Tech Park, Kalamassery from 06.02.2011. The 11kV system (operational) has been taken over from KINFRA by KPUPL based on Asset Transfer (Operational) Agreement. The 11kV system, with suitable modifications / additions is being used for electricity distribution licensee activities in KINFRA Hi Tech Park. The power has been brought through an 11 KV UG cable from 11 KV feeder of KSEBL’s 220 KV substation, Kalamassery. The 11KV power distribution networks with UG cables and Ring Main Units have been envisaged for Hi Tech Park.

- Palakkad

KIITP, Kanjikode

The bulk power for the park is through a 22 KV overhead line from KSEBL’s 220KV Kanjikode Substation. The 22 KV substation at KIITP, Kanjikode has 2 Nos. of 3.15 MVA, 22/11KV power transformers which are dedicated for supplying power to the park. The 11KV power distribution networks with UG cables and Ring Main Units have been envisaged for the Park.

- COMPLIANCE ON THE DIRECTIONS OF THE COMMISSION ON ASSET TRANSFER FROM KEPIP TO KPUPL

Hon’ble KSERC, in the order dated 06.12.2011 in the matter of true up of accounts of KEPIP for the years 2004-05 to 2008-09, directed the licenseesto finalize the transfer process immediately and to submit the transfer scheme with complete details before the commission for approval. However, the asset transfer agreements between the parties were delayed on account of the discussion regarding termination of joint venture and taking over of 50% stake of NESCL in KPUPL by KINFRA. The approval for the termination of the joint venture between NESCL and KINFRA was accorded by Govt. of Kerala vide G.O (RT) No.756/2014/ID dated 07.07.2014.

Even though the company had filed the true up petitions for the years from2009-10 to 2014-15, the Hon’ble Commission had not processed the true up petitions in the absence of asset transfer agreement which could be entered into on 07.09.2016. The process of termination of joint venture could be materialized on 15.12.2015. Again, the asset transfer agreement was found defective due to the inclusion of assets created out of consumer contribution and those developed out of government grant and also in the absence of the movement of consideration. Through the supplementary agreement dated 27.10.2017, the defects were rectified. The copies of Asset Transfer agreements dtd 07.09.2016 between KINFRA/KEPIP and KPUPL for the transfer of electrical distribution assets at Kakkanad and Kalamassery licensee areas were submitted for the kind approval of the Hon’ble Commission on 08.09.2016.

In the meantime, the Hon’ble Commission had processed the true up petitions filed by the company for the years from 2009-10 to 2014-15 together and conducted hearing on 07.12.2016 at the Court Room, Office of the Commission, Thiruvananthapuram and issued order for the year 2009-10 on 10.03.2017and for the years 2010-11 to 2014-15 on 20.03.2017,before the execution of supplementary agreements rectifying the defects. The Hon’ble Commission had disapproved majority of the expenditures claimed by the company such as return on equity, interest and finance charges, depreciation etc. due to defects in the initial asset transfer agreement.

- BURDEN OF REGULATORY SURPLUS ON SUCCESSIVE LICENSEE

Having complied with the directions of the Hon’ble Commission, KPUPL had filed fresh true up petitions for the period from 2004-05 to 2014-15 and also true up petitions for the years 2015-16 and 2016-17 for the kind consideration of the Hon’ble Commission and to mitigate the burden of huge regulatory surplus on KPUPL.

Hon’ble Commission vide order dt 31.03.2020, had issued fresh truing up orders for the period from 2004-05 to 2014-15, granting relief to KPUPL and reducing the regulatory surplus to a large extent. Truing up orders for the years 2015-16 and 2016-17 are also issued by the Hon’ble Commission vide Orders dt 30.07.2020 and 19.08.2020, respectively.

Now, KPUPL is filing the true up petition for the year 2017-18 for the kind consideration and approval of Hon’ble KSERC.

TRUE UP PETITION FOR THE YEAR 2017-18

THE PETITIONER HUMBLY STATES THAT:

- Revenue from sale of Power

The comparison of the sale of energy approved in the ARR order and the actual sale of energy during the year 2017-18 is tabulated in Table-2 hereunder.

Table - 2

| Category | ARR Approved |  | True up Petition |  |
| --- | --- | --- | --- | --- |
|  | No. of Consumers | Sales (MU) | No. of Consumers | Sales (MU) |
| HT/DHT Consumers | 83 | 95.11 | 73 | 71.71 |
| LT Consumers | 249 | 10.53 | 253 | 9.33 |
| Total | 332 | 105.64 | 326 | 81.04 |

The consumer category wise actual revenue from sale of power received by the company during the year 2017-18 is detailed in Table-3 below:

Table - 3

(Rs in Lakhs)

| Particulars | ARR_ERC Approved | True up petition |
| --- | --- | --- |
| HT/DHT Consumers | 6525.00 | 4955.30 |
| LT Consumers | 803.00 | 708.40 |
| Total Income from operations | 7328.00 | 5663.70 |
| Other revenue from operations |  | 9.46 |
| Electricity duty &supply surcharge collected from consumers | 0 | 216.01 |
| Gross Revenue from sale of Power | 7328.00 | 5889.17 |
| Less: |  |  |
| Electricity duty &Supply surcharge remitted | 0 | 216.01 |
| Net Revenue from sale of power | 7328.00 | 5673.16 |

The amount of revenue from sale of power wasRs.5373.16 lakhsexcluding the section (4) duty and supplysurcharge collected from the consumers.Electricity duty u/s.4 and supply surcharges were remitted to the State Govt. The copies of the challans on proof of remittance of duties to the State Govt.are enclosed with this petition as Annexure-A for the kind perusal of the Hon’ble Commission.

Consumers falling under tariff category HT1A & LT IV A comprise of 25 percent of the total sales and the retail rate of supply has been fixed below the purchase cost of power. This has been a drain on the net revenue of the licensee. Kindly note that most of the newly coming consumers under the electrical licensee area of KPUPL are of industrial category. Hence the Hon’ble Commission is requested to kindly consider this issue while considering the true up petition of the company for the year 2017-18.

- Non-Tariff income

The Non-tariff income received by the company during the year 2017-18 is detailed in Table-4 below.

Table - 4

(Rs in Lakhs)

| Particulars | ARR_ERC Approved | True up petition |
| --- | --- | --- |
| Interest on Bank Fixed Deposits | 14.00 | 67.55 |
| Other miscellaneous receipts | 20.00 | 1.16 |
| Total amount | 34.00 | 68.71 |

The main non-tariff income during the year 2017-18 was the interest income received by the company from the bank fixed deposits.Hon’bleCommission may kindly approve the non-tariff income of Rs.68.71 lakhs for the year 2017-18.

- Purchase of power

The entire power requirement was sourced from KSEBL and the details of procurement are given in Table-5 below:

Table – 5

(Rs in Lakhs)

| Particulars | Unit | Approved in ARR | Actual as per True up petition |
| --- | --- | --- | --- |
| Units Purchased | MU | 107.25 | 82.47 |
| Fixed Charges | Rs. In Lakhs | 702.00 | 609.16 |
| Variable Charges | Rs. In Lakhs | 6006.00 | 4605.80 |
| Renewable Power Obligation | Rs. In Lakhs | - | 70.16 |
| TOTAL | Rs. In Lakhs | 6708.00 | 5285.12 |
| Average Rate | Rs. per unit | 6.25 | 6.41 |

Hon’bleCommission is requested to kindly approve the amount of Rs.5285.12 lakhs towards purchase of power for 2017-18including the liability provision of Rs.70.16lakhs for renewable power purchase obligation for 2017-18.

- T&D Loss

Hon’ble Commission has approved distribution loss at the rate of 1.5% vide ARR order for the year 2017-18, as listed in the Table-6 below:

Table – 6: T&D loss

| Year | T & D loss |  |  |
| --- | --- | --- | --- |
|  | Applied in ARR | Approved in ARR | Actual Loss % |
| 2017-18 | 1.96 | 1.50 | 1.72 |

Hon’ble Commission may note that the actual T&D loss for the period 2017-18 is lower that the theoretical no-load loss.

The technical losses during the FY 2014-15 and 2015-16 were 3.75%& 2.03%respectively and we could achieve reduction in T&D loss to 1.77% & 1.72% for the FY 2016-17 and 2017-18 respectively due to the following facts.

- In Kakkanad licensee area, an Energy Audit was conducted by M/s. Kerala State Productivity Council (KSPC) during the FY 2015-16. Corrective measures have been taken on the deviations and the root cause of the rising T&D losses in the system.

- KPUPL is having underground cabling system for the distribution of power in our licensee areas which itself reduces the technical loss.

- Proper routine maintenance, preventive maintenance and shut down maintenance are being effectively executed to ensure safe and reliable operation of the switch gears and distribution system.

The increasing trend in distribution technical loss is mainly due to the following.

- The power is distributed among 260 consumers (estimated) in different locations within the area of 280.126 acres in Kakkanad at 110 KV level at receiving end, around 240 acres of land to feed about 32 consumers (estimated) at Kalamassery at 11KV and around 350 acres of land to feed about only 4 consumers at Palakkad at 22KV.

- For good reliable power, there is provision for 100% back feeding for feeders and transformers. Hence, transformers are not loaded more than 50% to ensure the back-feeding reliability. So, the transformers could not be operated at the maximum efficiency level (nearly at 90%).

The details of power distribution area with voltage level, consumer strength etc. as on 31.03.2017 are tabulated in table –7 below, to overview the reason for increase in the T&D loss.

Table – 7: Area wise distribution

| Licensee Area | Details | Acres | Voltage Level | No. of Consumers |
| --- | --- | --- | --- | --- |
| Kakkanad | - KEPIP - Infopark- phase 1 | 180.126 acres 100 acres | 110 KV | 260 |
| Kalamassery | - KINFRA Hi Tech Park | 240 acres | 11 KV | 32 |
| Kanjikode | - KINFRA Integrated Industrial and Textiles Park. | 350 acres | - KV | 3 |

As such, we are facing much higher technical losses at Kalamassery and Palakkad licensee areas which will be reduced if more and more consumers turned up in these areas and consume more power. KSEBL has agreed in principle to transfer the existing KSEBL consumers to KPUPL at KIITP, Kanjikode. After this, we expect that the distribution efficiency will marginally improve at KIITP, Palakkad.

- The distribution loss also increased due to the ageing of electrical installations at Kakkanad and Kalamassery area.

Considering the above facts and the initiatives taken by KPUPL in this respect, it is humbly requested the Hon’ble Commission to allow T&D loss at 1.72% for the year 2017-18.

- O&M Expenses

The O&M expenditure consists of Employee Cost, R&M expenses and A&G Expenses. The comparison of the O&M cost approved by the Hon’ble Commission in the ARR order for the year 2017-18 and the actual O&M cost incurred by the company during the year 2017-18 are detailed in Table-8below.

Table - 8

(Rs. in Lakhs)

| Particulars | Approved in the ARR order | Actual Expenses incurred |
| --- | --- | --- |
| Employee Expenses | 24.54 | 49.72 |
| A&G Expenses | 66.78 | 99.97 |
| R&M Expenses | 34.12 | 89.01 |
| Total | 125.44 | 238.70 |

O&M expenditure incurred by the company during the year 2017-18was more than the O&M expenses approved by the Hon’ble Commission in the ARR order. R&M cost incurred during 2017-18 is mainly for the operation and maintenance of the sub-station which was outsourced through tendering and hence the cost has to be considered as an uncontrollable expense.

A&G Expenses were on higher side due to the remittance of Electricity duty under section 3 of the Kerala Electricity Duty Act, 1963 to the tune of Rs.48.62 lakhs.

However, the Employee cost, R&M Expenses and A&G Expenses of the yester power distribution licensee, KEPIP was a portion of the total expenses and hence not comparable. The various O&M expenditures actually incurred by the company are detailed below for the kind perusal of the Hon’ble Commission.Hon’ble Commission may kindly note that only two personnel for the administrative function were posted on regular role including the CEO and all other functions have been outsourced during the year. Employee cost were increased due to the outsourcing of manpower for the technical and other support functions.

- Employee Expenses

A comparison of the employee cost approved in the ARR and the actual employee cost incurred by the company during the year 2017-18 is tabulated in Table-9below.

Table - 9

(Rs. in Lakhs)

| Approved in ARR order2017-18 | Actual expenses incurred |
| --- | --- |
| 24.54 | 49.72 |

During the year 2017-18, Chief Executive Officer and an Accounts Officer (part of the year) were engaged on regular role and all technical and administrativefunctions were outsourced to keep the employee cost on lower side. The employee cost comprises of the following as shown in table-10 below.

Table – 10

(Rs. in Lakhs)

| Employee Cost | Amount |
| --- | --- |
| Employees on regular role (CEO & AO only) | 14.59 |
| Manpoweroutsourced for support functions | 35.13 |
| Total Employee Cost | 49.72 |

Hon’bleCommission may kindly approve the employee expense of Rs.49.72lakhs for the year 2017-18.

- Administration and General Expenses

A&G expenses includean amount of Rs.48.62 lakhs being the payment of Electricity duty u/s.3 of the Electricity Duty Act 1963, proof of remittance is attached hereto as Annexure-A. A comparison of the A&G cost approved in the ARR and the actual A&G cost incurred by the company during the year 2017-18 is tabulated in Table-11 below.

Table - 11

(Rs. in Lakhs)

| A&G Expenses Approved in ARR order2017-18 | Actual A&G expenses incurred during 2017-18 |
| --- | --- |
| 66.78 | 99.97 |

Hon’ble Commission may kindly note that the distribution areas under KPUPL are spread over at different locations at Kakkanad, Kalamassery and Palakkad which incur more administrative expenses due to nearly 150km distance from Head office to Palakkad area. Expenses like charges of retainer company secretary, professional fees paid to internal auditor, cost auditor, fixed assets verifier etc. were to be incurred during the year. On the other side, the company have taken all the effective measures to bring the A&G expenses under control by the following measures:

- Non-payment of sitting fees to the Board members.

- Avoided expenses for conducting meeting of the Board members by shifting the venue to KINFRA office.

- Non-payment of Dividend to shareholders in spite of making profit.

Break-up of the A&G expenses are given in the attached Form-M. Hon’bleCommission may, therefore, kindly approve the A&G expenses of Rs.99.97 lakhsclaimed in the True up petition, including the ED u/s.3 to the tune of Rs.48.62 lakhs.

- R&M Expenses

A comparison of the R&M Expenses approved in the ARR and the actual R&M Expenses incurred by the company during the year 2017-18 are tabulated in Table-12below:

Table - 12

(Rs. in Lakhs)

| R&M ExpensesApproved in ARR order 2017-18 | Actual R&M Expensesincurred during 2017-18 |
| --- | --- |
| 34.12 | 89.01 |

Major part of R&M Expenses was incurred for the operation and maintenance of the sub-stations and the contract of which was awarded through proper tendering. There are 110 KV and 22KV Substations and 11KV station spread at different locations. Hence, KPUPL is incurring transmission and distribution O&M cost. The operation and maintenance of substations are carried out with qualified personnel as specified in CEA manual relating to Safety&Electric Supply Regulations 2010. Also note that, for supplying uninterrupted power to the areas, KPUPL is using 11KV RMUs and UG cabling system with ring mains.

In view of the limited competition for bidding contracts of such small magnitude, there has been an increasing trend of expenditure. A worksheet indicating the trend of awarded rates is attached asAnnexure-B for ready reference.Other components of R&M expenses were support contract for pre-paid metering (PPMS), GSM bills for supporting PPMS etc.Break-up of the R&M expenses is attached as Annexure-C for ready reference.

Hon’bleCommission may, therefore, kindly approve the R&M Expensesof Rs.89.01 lakhs claimed in the True up petition.

- Depreciation

The depreciation of the assets is calculated on straight-line method over the useful life of the asset at the rates prescribed in Appendix- 1 to the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff for Distribution and Retail Sale of Electricity under MYT Framework) Regulations, 2006. The total depreciation calculated for the year 2017-18 is Rs.71.40 lakhs.

A comparison of the depreciation approved in the ARR and the actual Depreciation worked out by the company during the year 2017-18 is tabulated in Table-13below.

Table - 13

(Rs. in Lakhs)

| Depreciation approved in ARR | Actual Depreciation |
| --- | --- |
| 70.32 | 71.40 |

The Hon’ble Commission may kindly note that the total depreciation calculated for the year 2017-18 is Rs.71.40lakhs and requested to approve the claim in this true up petition.

- Interest and Finance Charges

As per the regulation 17 of the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff for Distribution and Retail Sale of Electricity under MYT Framework) Regulations, 2006“For financing of future capital cost of projects, a Debt: Equity ratio of 70:30 should be adopted. The Distribution Licensee would be free to have higher quantum of equity investments. The equity in excess of this norm should be treated as loans advanced at the weighted average rate of interest and for a weighted average tenor of the long-term debt component of the project after ascertaining the reasonableness of the interest rates and taking into account the effect of debt restructuring done, if any.”  The debt: equity ratio as per the asset transfer agreement executed on 07.09.2016 and the supplementary agreement dated 27.10.2017 is 70:30. The effective date of transfer of the assets was considered as 01.02.2010. Accordingly, the company has issued 2,16,438 equity shares of Rs.10/- each at a premium of Rs.136/- each, aggregating to an amount of Rs.3,15,99,948/- and availed loan from the promoter KINFRA for an amount of Rs.7,37,40,737/-. Hence, the total equity participation by the promoter is increased from Rs.10,00,000/- to Rs.3,25,99,948/- and the debt portion had been revised to Rs.7,37,40,737/-.The effect of the same was brought to the books in the year 2017-18 to comply with the requirements of the Companies Act, 2013.

As per the regulation 17 of the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff for Distribution and Retail Sale of Electricity under MYT Framework) Regulations, 2006, the licensee is eligible for interest on normative loan for the debt component. The company had earlier availed loan of Rs.235 Lakhs from KINFRA at an interest rate of 11.5% per annum, the rate at which KINFRA has been obtaining investment fund from Govt. of Kerala, for completion of the first phase of the sub-station at Kinfra Integrated Industrial & Textile Park at Palakkad. Refund of the loan of Rs.235 lakhs was commenced at 60 equated monthly instalments (EMI) from April 2017. The interest on loan of Rs.737.41 lakhs was provided in books in the year 2017-18 and refund of the same was commenced from 01.04.2018 at 180 EMIs. The details of interest on loans for the year 2017-18are tabulated in Table-14 below:

Table - 14

(Rs. in Lakhs)

| Debt at the end of the year | Rate of interest | Interest & finance Charges |
| --- | --- | --- |
| Debt portion of the consideration for Asset Transfer Rs. 737.41 Lakhs | 11.50% | 84.80 |
| Against security deposit to consumers & others | 4.00% | 2.77 |
| Interest on loan paid to KIFRA (availed in 2014-15 for completing the Palakkad sub-station) |  | 32.82 |
| Total amount |  | 120.39 |
| Less: Capitalised |  | 0.00 |
| Net amount of interest | . | 120.89 |

The Hon’ble Commission is requested to approve the claim of Interest & Finance charges in this true up petition.

- Return on Equity

As per the regulation 20 of the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff for Distribution and Retail Sale of Electricity under MYT Framework) Regulations, 2006 the Return on equity shall be computed on the equity base determined in accordance with clause 17 above and shall be @ 14% per annum.

The Hon’ble APTEL in Para 27 of the order on Appel No. 121 of 2011 dated 3rd October 2011 in the matter of Madhya Pradesh Power Generating Company Limited Versus MPERC stated that “In the light of the above we are of the opinion that the Commission should have applied the Tariff Regulations, 2005 dealing with the excess equity with reference to the date of the opening of the balance sheet i.e. 1.6.2005, the date on which the generation undertakings of MPSEB got vested in the Appellant and not from the date of commercial operation. The Commission has wrongly calculated the interest on equity by considering the normative repayment of excess equity in 10 yearly instalments from the date of commercial operation of the respective power station instead of acknowledging the excess equity as on the date of transfer of equity to the Appellant. We, therefore, direct the Commission to recalculate the interest on ‘normative loan’ i.e. equity in excess of 30% from the date of opening balance sheet.”

It’s clear from the above order of Hon’ble APTEL that the RoE should be allowed from the date of vesting of assets in the transferee. As per the assets transfer agreement dated 07.09.2016 and the supplementary agreement dated 27.10.2017, the effective date of transfer of the assets was considered as 01.02.2010. The debt: equity ratio as per the asset transfer agreement is 70:30. Accordingly, the company has issued 2,16,438 equity shares of Rs.10/- each at a premium of Rs.136/- each, aggregating to an amount of Rs.3,15,99,948/- during the year. Hence, the total equity participation by the promoter is increased from Rs.10,00,000/- to Rs.3,25,99,948/-.The Company is, therefore, eligible to get ROE of Rs.45.64Lakhs for the year 2017-18.

The calculation of Return on Equity for the year 2017-18 is shown in Table-15.

Table - 15

(Rs. in Lakhs)

| Equity at the end of the year | Rate of return | Return on Equity |
| --- | --- | --- |
| 326.00 | 14% | 45.64 |

- Capital Addition

The details of the additional capitalization made by the company during the year 2017-18are tabulated in Table-16below.

Table - 16

(Rs in Lakhs)

| Sl No | Description of asset | Amount |
| --- | --- | --- |
| 01 | Metering equipments | 5.70 |
| 02 | Lightening Arrestors | 0.14 |
| 03 | Switchgears | 0.24 |
| 04 | Transformers | 18.41 |
| 05 | Cables | 4.53 |
| 06 | Sub-station equipments | 1.55 |
| 07 | Furniture & fixtures | 0.05 |
| 08 | Personal computers | 0.89 |
| 09 | Software | 1.09 |
| 10 | Office equipments | 0.06 |
|  | Total amount | 32.66 |

Hon’bleCommission is requested to kindly accord approval for the additional capital expenditure incurred in 2017-18.

- Summary

The summary of the petition for True up of accounts for the year 2017-18 is given in Table-17below for the kind consideration of the Hon’ble Commission:

Table- 17

(Rs in Lakhs)

| Particulars | ARR-ERC Approved | True up claim |
| --- | --- | --- |
| Revenue from sale of power | 7328.00 | 5673.16 |
| Non-tariff Income | 34.00 | 68.71 |
| Total Income | 7362.00 | 5741.87 |
| Expenses: |  |  |
| Power Purchase Cost | 6708.00 | 5285.12 |
| R&M Expenses | 34.12 | 89.01 |
| Employee Cost | 24.54 | 49.72 |
| A&G Expenses | 66.78 | 99.97 |
| Depreciation | 70.32 | 71.40 |
| Interest & Finance Charges | 4.29 | 120.39 |
| ROE | 1.40 | 45.64 |
| Total Expense | 6909.45 | 5761.25 |
| Revenue Surplus/(Deficit) | 452.55 | (19.38) |
| Add: Net Prior period Income | 0.00 | 0.00 |
| Less: Provision for income tax/ MAT/ Deferred Tax Asset | 0.00 | 0.24 |
| Net Revenue Surplus/(Deficit) | 452.55 | (19.62) |
| Revenue Surplus/(Deficit) for the previous year 2016-17 |  | 3375.63 |
| Cumulative Revenue Surplus/(Deficit)upto the year 2017-18 |  | 3356.01 |

The net revenue deficit for the year 2017-18 as per the true up petition works out to Rs.19.62 Lakhs and the cumulative revenue surplusup to the year 2017-18 is Rs.3356.01 Lakhs. The Hon’ble Commission may kindly approve the same for the year 2017-18.

PRAYER

This petition for True up of accounts for the year 2017-18 of KINESCO Power and Utilities Private Limited alongwith the revised forms is submitted and placed before the Hon’ble Kerala State Electricity Regulatory Commission with a request to

- Approve the true up petition based on the revised forms and Annexures submitted herewith for the financial year 2017-18.

- Approve the actual T&D loss of 1.72% for the year 2017-18.

- Compute interest on the regulatory surplus to include in other income, after removing the expenses that have not been approved by the Hon’ble Commission like Electricity duty u/s.3 till the year 2017-18.

- Approve the revenue deficit of Rs.19.62 lakhsfor the financial year 2017-18 and the cumulative revenue surplus of Rs.3356.01 lakhs.

- Approve the capital expenditure of Rs.32.66Lakhs for 2017-18.

- Condone any inadvertent omissions, errors, shortcomings and permit KPUPL to add/change/modify/alter this filing and make further submissions as may be required at a future date.

- Pass such other and further order as deemed fit and proper in the facts and circumstances of the case.

(Ajithkumar.T.M)

# Chief Executive Officer

# List of documents attached:

| Sl | Particulars | Annex. |
| --- | --- | --- |
| 1 | Proof of remittance of Electricity Duty & Supply Surcharge along with copies of challans for the period 2017-18. | A |
| 2 | Summary of the awarded rates of R&M contracts through tendering process. | B |
| 3 | Detailed split-up of the R&M expenses for the period 2017-18 | C |
| 4 | Fixed Assets addition for the year 2017-18 with justification for procurement | D |
| 5 | Forms A to W for true up of accounts for the year 2017-18 | E |
| 6 | Copy of audited financial statements and auditors report for the year 2017-18 | F |