A 	PETITION

The Petitioner respectfully submits as under:

  - This application for approval of the Multi-Year Tariff (MYT) proposal for the control period of five financial years from the 1st day of April 2022 to 31st day of March 2027 is filed before the Hon’ble Kerala State Electricity Regulatory Commission (KSERC) (hereinafter referred to as Hon’ble Commission) in accordance with the provisions of the Electricity Act, 2003.

2. 	This application has been prepared as per the terms and conditions for determination of tariff under Section 61 of the Electricity Act, 2003 and the terms and conditions of the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff) Regulations, 2021 issued by the Hon’ble Commission.

BACKGROUND FOR THE PETITION

The Hon’ble Commission has notified Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff) Regulations, 2021 on 16.11.2021 directing all licensees in the State of Kerala to file MYT proposals for the control period 2022-23 to 2026-27 on or before 31st December 2021.  CSEZA through letter No.CSEZ-CSZA0H(12)/1/2022-SEZ  Cochin/361 dated 01.02.2022 requested the Hon’ble Commission for an extension of time upto 28th February 2022  for filing the MYT petition. The Hon’ble Commission has accepted and granted time extension for filing MYT petition accordingly vide their letter No.340/Con(F) /2022/KSERC dated 10.2.2022.  CSEZA hereby submit the MYT petition for consideration of the Hon’ble Commission.

B.   INTRODUCTION

1.1	Cochin Special Economic Zone (CSEZ), is a Government owned Special Economic Zone under the Ministry of Commerce and Industry, Department of Commerce, Government of India.  The Zone, comprising an area of 105 acres, is located at Kakkanad. The Cochin Special Economic Zone Authority, constituted under the SEZ Act 2005, is the Developer of the Zone providing infrastructure and other related services to the Zone.

1.2	The Zone has been set up with the objective of promoting exports and creating employment opportunities. Exporting industries are provided with infrastructure facilities like power, water, effluent treatment facility, communication etc. The power distribution network was revamped by the Central Government to provide uninterrupted and quality power to the consumers in the Zone.

1.3	Government of Kerala granted Power distribution license to CSEZ vide G.O.(Rt)No.118/02/PD dated 20.06.2002. On obtaining NOC from the KSERC, vide their letter No.KERC/CSEZ/2/71/2005 dated 01.01.2005, CSEZ started power distribution inside the Zone w.e.f. 01.05.2005.

1.4 Performance of CSEZA, for the past completed two years, based on retail parameters are given below:

Performance indices

| Year | Billing Efficiency (%) | Collection Efficiency (%) |
| --- | --- | --- |
| 2019-20 | 100 | 100 |
| 2020-21 | 100 | 100 |

C.	APPROACH TO FILING

1.1	CSEZA has taken earnest effort to study the past trends and the present performance to prepare and submit this MYT proposal and projections for the control period of FY 2022-23 to 2026--27.  Operational, Financial and other performance assumptions and projections have been considered in the computation of this proposal.

1.2	The MYT proposal for the control period of FY 2022-23 to FY 2026-27 has been discussed in detail in Section D of the Petition.

D. 	Components of Aggregate Revenue Requirement and Expected Revenue from Charges under MYT Plan

1	Classification of consumers:

Following are the categories of consumers under the jurisdiction of CSEZA.

HT category

- HT – I(A) Industrial

- HT – I (B)Industrial

- HT – III(B) Agricultural

LT category

- LT – IV (A) Industry

- LT – IV (B) Industry -IT & IT Enabled Service

- LT – VI General (A)

- LT – VI General (B)

- LT – VI General (C)

- LT – VI General (D)

- LT – VI General (F)

- LT – VII (A)

- LT-VII (C)

- LT – VIII (B) Metered streetlights

2	Consumer Mix / No. of consumers

As on 31.03.2022 it is estimated that composition of Consumers will be 29 HT consumers, 136 LT consumers of various categories, totaling 165.  The consumer mix, consumption pattern, etc. depends on financial stability around the world as consumers of the Zone are export oriented units.  As such, consumer pattern is expected to continue as in the previous years.  As on 31.03.2022, it is estimated that about 83% will be sold to HT consumers alone.   Details are given below:

| Consumer Category | No of Consumers | % of Total Consumption |
| --- | --- | --- |
| HT -1(A) -Industrial | 27 | 76.93 |
| HT -1 (B)-Industrial-IT/IT Enabled | 1 | 3.36 |
| HT- III(B)-Agricultural | 1 | 2.40 |
| LT –IV(A)-Industrial | 60 | 10.75 |
| LT-IV(B)-Industrial-IT/IT Enabled | 33 | 5.27 |
| LT- Other Categories | 43 | 1.29 |
| Total | 165 | 100 |

3	Contract demand:

The contract demand under the executed Power Purchase Agreement with KSEB is 13000 kVA. The same is valid up to 01.04.2025.

4 	Revenue from Sale of power

Sale of energy during the control period is worked out on the basis of existing trend in the consumption pattern of the consumers in the Zone.   Please refer table below for the projection of Energy sale for the MYT Control period.

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23 (Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Energy sale (MU) | 56.71 | 50.36 | 54.49 | 55.68 | 56.58 | 56.95 | 56.95 | 56.95 |

It is humbly brought to the attention of Hon’ble Commission that there has been reduction in energy sale in year 2020 & 2021compared to 2019-20  due to the outbreak of COVID-19 pandemic and consequent reduction in power demand.  Hence, CSEZA has considered actual Energy Sale and Revenue from Sale of Power for FY 2021-22 upto December 2021 as the basis for projection for MYT Control Period.  As the land usage inside the Zone has reached saturation level, vertical expansion is the only option. Increase in energy sale projected for 2022-23 to 2026-27 is due to the expected additional energy consumption for new load of SDF project and ZLD plant from the estimated sale of FY 2021-22. The projections in Revenue from Sale of Power is made on the basis of existing selling rate per unit for each categories of consumers as per the prevailing KSERC tariff Order.   For details of Revenue from Sale of Power kindly refer Form D 2.1 attached.

Summary of  containing Revenue from sale of power  expected in the MYT period is shown below:

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23 (Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Revenue from Sale of power (Rs. in lakh) | 3880.28 | 3553.40 | 3771.38 | 3808.54 | 3869.26 | 3894.66 | 3894.66 | 3894.66 |

5	Renewable Energy Generation Power Purchase from Renewable Sources

As per Kerala State Electricity Regulatory Commission (Renewable Energy and Net Metering) Regulations 2020, every distribution licensee shall meet the renewable energy obligation at the percentage specified therein.  Accordingly, RPO for 2021-22 is 17 % (10.25 % non-solar & 6.25% solar) of the energy consumption. Regulations stipulate that for the purpose of computing the RPO, the quantum of energy met from large hydro sources of power with capacity above 25 MW, commissioned on or before 08.03.2019 shall be deducted. The said regulation has not specified RPO to be met by Licensees for the MYT control period.  CSEZA has installed 636kWp roof top solar plant in the year 2017-18 in order to generate solar power. Another grid connected solar Power plant of 653kWp was commissioned by CSEZA in April 2021.  The average annual solar power generation estimated for the MYT Control period is 1369613 kWh. This estimation of Renewable energy generation for 2021-22 is based on the actual solar generation up to 31.12.2021.

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23-(Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Solar power generation & supply (MU) | 0.9401 | 1.5769 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37 |

CSEZA earnestly make efforts to meet the RPO. As pointed out in point No.4 above, there is no space or other facilities for generating neither non-solar nor solar energy within the licensed area of CSEZA. In view of the above, to meet the RPO obligation, CSEZA has to go for procurement of Renewable Energy from external sources for meeting remaining Obligation after accounting the internal solar generation. But, CSEZA is unable to procure renewable energy from outside sources through Open access, as KSEBL cited Clause 15(2) of Open Access Regulation 2013 and objected that CSEZA, being a power distribution licensee, cannot procure power from Open Access within the Contract demand as per PPA executed with KSEBL.  In other words, CSEZA can procure Open Access power above the Contract Demand only. As the Regulation stipulate RPO as per percentage of Energy consumption, and since entire power requirement of CSEZA is met from KSEBL, the above objection will disable CSEZA from procuring R E Power from Open market to meet the RPO.

In addition, as per KSERC (Renewable Energy and Net Metering) Regulations 2020, Buyer Licensee do not have separate RPO if the seller Licensee Meets the RPO.  Since entire power requirement of CSEZA is met from KSEBL, it is requested that KSEBL may meet the RPO of CSEZA.  Further, power met from Hydro sources shall be considered for actual RPO obligation.   Hence, cost of REC procurement has not been included in the purchase cost.

6	Distribution loss

Trends of Distribution Loss actually occurred for the previous years as well as for the period from 01.04.2021 to 31.12.2021 has been considered as basis for a realistic projection of distribution loss for the MYT control period 2022-23 to 2026-27.

Details and basis is tabulated below:

|  | Power purchased from KSEBL-MU | Solar Power Generation-MU | Total Input Power-MU | Total energy sold-MU | Distribution loss -MU | Distribution loss as a % of Total input power |
| --- | --- | --- | --- | --- | --- | --- |
| 2017-18 (Actuals) | 55.741 | 0.512 | 56.254 | 55.387 | 0.867 | 1.542 |
| 2018-19 (Actuals) | 56.189 | 0.9134 | 57.102 | 55.911 | 1.19 | 2.085 |
| 2019-20 (Actuals) | 56.58 | 0.9401 | 57.52 | 56.71 | 0.809 | 1.407 |
| 2020-21 (Actuals) | 49.429 | 1.576 | 51.006 | 50.356 | 0.65 | 1.274 |
| 2021-22 Estimated (based on purchase, sale and solar generation including, December 2021) | 53.93813 | 1.369613 | 55.30775 | 54.4946 | 0.813 | 1.470 |
| Average Distribution Loss ( 2017-18,2018-19, 2019-20 , 2020-21 & 2021-22) |  |  |  |  |  | 1.556 |
| Distribution loss considered for FY 2022-23 |  |  |  |  |  | 1.45% |
|  | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 |  |
| Distribution loss projection for MYT period 2022-23 to 2026-27 | 1.450 | 1.436 | 1.421 | 1.407 | 1.393 |  |
| Basis- (1 % loss reduction target per year from loss projected previous year) |  |  |  |  |  |  |

Out of the total distribution loss, a part is in the 110kV/11kV Power transformers and balance in the 11 KV System and LT system. Computation of distribution loss in the 110/11 KV power transformers and in 11 kV & LT distribution system is detailed in the Annexure A to this MYT petition.  Refer Form D 6.2 attached detailing appropriation of distribution loss.

Also, CSEZA has engaged an Accredited Energy Auditing Firm to study the existing distribution loss and for making possible loss reduction methods and the report will be available within next three months. Once the report is made available CSEZA would do the needful accordingly.

Hence, CSEZA requests Hon’ble Commission to approve the reasonable T&D loss projected for the MYT control period 2022-23 to 2026-27 as projected above.

7	Power Demand projection:

The average monthly maximum demand of CSEZA for FY 2019-20 was 10892 KVA & for FY 2020-21 was 9789 KVA.  Average monthly maximum demand estimated for FY 2021-22 based on actual up to 31.12.2021 comes to 9862 KVA.  Consequent to outbreak of COVID-19 pandemic there has been considerable reduction in power demand by consumers compared to FY 2019-20 resulting in reduction in maximum demand with KSEBL. CSEZA expects only a marginal increase in additional power requirement for MYT control period from the demand estimated for FY 2021-22. The additional load estimated for the MYT control period are the loads for new SDF project being completed and load for ZLD plant of CSEZA (Zero Liquid Discharge Plant). In view of the above, a realistic projection in power requirement is made in this petition for MYT Control period 2022-23 to 2026-27. Tabulation of demand projection is given below:

| Year | Average Monthly Recorded Maximum Demand-kVA | Estimated load increase from FY 2021-22-KVA | Projected Monthly Maximum Demand-kVA |
| --- | --- | --- | --- |
| 2019-20 Actual | 10892 |  |  |
| 2020-21 Actual | 9789 |  |  |
| 2021-22 - Estimated based on actual up to 31.12.2021 | 9862 |  | 9862 |
| 2022-23 Projected |  | 343 | 10205 (9862+343) |
| 2023-24 Projected |  | 604 | 10460(9862+604) |
| 2024-25 Projected |  | 711 | 10573(9862+711) |
| 2025-26 Projected |  | 711 | 10573(9862+711) |
| 2026-27 projected |  | 711 | 10573(9862+711) |

8	Estimation of Power Purchase from KSEBL and Purchase Cost projections

CSEZA is sourcing power from KSEBL since inception of its distribution business.  CSEZA distributes power to a very limited area and there is no scope for lateral expansion of the Zone area.  Though there is scope for vertical expansion, occupancy of land or single storied standard design factories hinder expansion in that direction.  As such, CSEZA is not expecting any huge leap from its present power requirement in the control period under consideration other than the additional load for new SDF project and ZLD plant.  Therefore, for the time being, power shall be procured from KSEBL only. Open Access Power procurement is not considered by CSEZA for the control period.

The approach and basis for computing and projection of Power Purchase is as below:

Step 1 - Energy Sale( KWH) for 2021-22 is first estimated based on the actual up to 31.12.2021.

Step 2 - Energy Sale (KWH) for 2022-23 to 2026-27 are estimated by considering Additional energy Consumption estimated for new SDF and ZLD plant.

Step 3 - Worked out the Total Energy Input (KWH) to facilitate the above projected energy sale considering the projected Distribution Loss percentage projected for respective years. Total Input Power required = Total Sale KWH projected divided by distribution loss % projected for respective years.

Step 4 - Deduct Solar Generation projected for the respective years of MYT control period from the Total Input Energy projected (KSEBL + Solar) to arrive at power proposed to be procured from KSEBL.

Computation and projection of power Purchase (KWH) for MYT Control period is given below:

| Year | Energy Sale (kWH) | Distribution loss % | Total Input Power Required (KSEBL + Solar) (kWH) | Solar Generation estimated (kWH) | Power to be purchased from KSEBL (kWH) |
| --- | --- | --- | --- | --- | --- |
| 2021-22 (estimated) | 54494583 | 1.47 | 55307747 | 1369613 | 53938133 |
| 2022-23 | 55680855 | 1.45 | 56500106 | 1369613 | 55130493 |
| 2023-24 | 56581143 | 1.436 | 57405485 | 1369613 | 56035872 |
| 2024-25 | 56951799 | 1.421 | 57772749 | 1369613 | 56403136 |
| 2025-26 | 56951799 | 1.407 | 57764546 | 1369613 | 56394932 |
| 2026-27 | 56951799 | 1.393 | 57756345 | 1369613 | 56386731 |

For computing the power purchase cost, the present rate of Rs.340/- as fixed charge per KVA/month  and energy charge of Rs.5.60 per unit have been taken into consideration details.  Kindly refer Forms D 3.1 attached for Power Purchase cost projection.

A table containing the summary of power procurement plan and cost projection is given below:

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23-(Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Power Purchase (MU) | 56.58 | 49.43 | 53.94 | 55.13 | 56.04 | 56.40 | 56.39 | 56.39 |
| Average monthly Maximum Demand KVA projected | 10892 | 9789 | 9862 | 10205 | 10466 | 10573 | 10573 | 10573 |
| Demand Charges,@ Rs 340/KVA per month (Rs. In lakh) | 445.84 | 399.40 | 402.36 | 416.37 | 426.99 | 431.37 | 431.37 | 431.37 |
| Energy Charge@ Rs 5.6/kWH (Rs. In lakh) | 3136.45 | 2768.05 | 3020.54 | 3087.31 | 3138.01 | 3158.58 | 3158.12 | 3157.66 |
| Total Power Purchase cost (Rs. in lakh) | 3582.29 | 3167.46 | 3422.90 | 3503.67 | 3565 | 3589.94 | 3589.49 | 3589.03 |
| Solar power generation & supply (MU) | 0.9401 | 1.5769 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37 | 1.37 |

Though CSEZA has considered internal solar power generation, cost of the same has not been included in the purchase cost projected.

9	OTHER  INCOME (Non-Tariff income)

The non-tariff income is computed on the basis of a reasonable return from fixed deposits, interest on security deposit made with KSEBL, 1% commission for the collection of electricity duty & surcharge payable to the State Government.   Apart from the above, meter rent collected from consumers is also included in the Other Income.  Form D 2.4 attached may be referred for details of Other Income projected.

Other Income projections for the MYT control Period 2022-23 to 2026-27 is tabulated below:

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23-(Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non-Tariff income (Rs. in lakh) | 124.36 | 97.05 | 71.50 | 68.64 | 68.79 | 71.48 | 72.98 | 76.39 |

10	O&M Expenses

Total O & M expenses for 2019-20 & 2020-21 in actuals and estimation/projections for 2021-22 & MYT control period 2022-23 to 2026-27 is tabulated below:

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23-(Projected) | 2023-24 (Projected | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total O&M Expenses (Rs. in lakh) | 173.88 | 182.57 | 197.55 | 229.40 | 216.45 | 228.49 | 229.83 | 237.10 |

Please refer D 3.4 for total O& M Expenses comprise of Employee Expenses, A&G Expenses and  Repair & Maintenance expenses. The details are further explained below.

10.1	Employee Expenses

It is brought to the attention of the Hon’ble Commission that CSEZA do not have own technical manpower and entire O&M Activities are got done through outsourced O & M Agency. Administrative activities are managed by CSEZA’s staff.  Technical aspects and overall management of the power distribution system is executed through an O&M Agency.  This includes manning of 110 kV Substation and the entire distribution lines.  Assistance of a separate sub agency, tendered and finalized by the main O&M agency, is taken for achieving the smooth functioning of the system.   Hence the Employee Expenses of CSEZA constitutes the following:

- Pro rata Salary Expenses of CSEZA Staff working for Power Distribution business with apportionment based on time spent. Salary expenses of persons directly engaged by CSEZA for assisting CSEZA for administrative, legal as well as regulatory matters are also included.

- Man power expenses paid to outsourced O & M Agency. This shall also include manpower charges paid to sub Agency for operation, manning of Substation as well as for attending day to day small maintenance works.

Hon’ble Commission has directed CSEZA to furnish separate petition for approval of employee expenses. CSEZA is working on the same and hereby requests Hon’ble Commission to allow time extension for filing the petition since CSEZA has floated EOI for selection of O& M Agency and on selection of a new O&M Agency only, actual employee expenses could be known.  However, the Employee Expenses (being paid to O & M Agency) for MYT Control Period has been estimated considering actual Employee expenses for the period 2021-22 and considering reasonable cost escalation to cover inflation as well as to include annual increments etc.

Bureau of Energy efficiency under Ministry of Power Government of India has notified new BEE regulations 2021 stipulating yearly mandatory energy auditing and reporting quarterly energy accounting by DISCOMs. For this, CSEZA have to have certified energy manager and IT manager as part of the Energy Audit cell. CSEZA intends to get these services outsourced through O & M Agency which will be extra compared to previous years.

Actual Expenses paid to O & M Agency  for 2021-22 is considered as a base and 10 % escalation is taken for 2022-23 & 2023-24. Subsequently 8%, 12% and 16% escalation has been considered for projecting Employee expenses for period 2024-25 to 2026-27 over and above the projections for 2022-23. Annual salary expenses for CSEZA’s staff working for Power Distribution System for 2021-22 is considered as a base figure and annual increments considered for arriving the expenses of CSEZA staff for 2022-23.  The projections are made on a conservative basis.  An annual increase of 3%, as per the Seventh Pay Commission, is considered for CSEZA staff for the MYT period.

Please see Annexure B for basis of projecting Employee expenses for 2021-22 and 2022-23 and  refer Form D 3.4 (a) for further details.

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23 (Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gross Employee Expenses (Rs. In lakh) | 138.96 | 137.93 | 141.28 | 153.53 | 154.39 | 165.26 | 171.17 | 177.11 |

10.2     Administrative and General Expenses

Administrative and General Expenses for the year 2019-20 &, 2020-21 in actuals and projections for 2021-22, as well as  MYT control period 2022-23 to 2026-27 are given below.  The breakup of various expenses are detailed in Form D 3.4 (b).  It is brought to the attention of Hon’ble Commission that from 2021-22 onwards CSEZA has to engage accredited auditor for conducting yearly mandatory Energy Accounting/Auditing as per stipulations in Bureau of Energy Efficiency Energy auditing and Energy Accounting Regulations, 2021.   Fee for this energy auditing will be an addition to the expenses compared to previous years. Professional charges for preparation of DPR for capital investment above Rs.15 lakh will also have to be incurred additionally.  Insurance premium charges for assets of power distribution system will also increase consequent to addition of new assets capitalized. CSEZA request Hon’ble Commission to consider and approve A & G Expenses as projected and not to restrict such expenses to the norms in MYT Tariff Regulations 2021.  CSEZA has not included Section 3 duty in the A&G Expenses  as directed by the Hon’ble Commission.

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23 (Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total A&G Expenses (Rs. In lakh) | 29.73 | 35.70 | 43.59 | 45.67 | 38.29 | 41.17 | 41.18 | 42.13 |

10.3	Repair & Maintenance Expenses

The Repair and Maintenance expenses projections for the MYT control period 2022-23 to 2026-27 and 2021-22 as well as actuals for 2019-20 & 2020-21 are tabulated below. Annexure C and Form D 3.4 (c) may please be referred for the proposed planning of Repair & Maintenance expenses. Hon’ble Commission has fixed norms for R &M expenses based on the actual trued up figures for 2018-19 and applying cost escalation. CSEZA request Hon’ble Commission to consider and approve R & M Expenses as projected notwithstanding the norms in MYT tariff Regulations 2021.  Apart from the above, CSEZA request Hon’ble Commission to approve other R & M Expenses which may have to be incurred in case of emergency and also necessary to provide quality power supply to its esteemed consumers though the same is not planned now.

| Particulars | 2019-20 (Actuals) | 2020-21 (Actuals) | 2021-22 (Estimated) | 2022-23 (Projected) | 2023-24 (Projected) | 2024-25 (Projected) | 2025-26 (Projected) | 2026-27 (Projected) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total R &M Expenses (Rs. In lakh) | 5.20 | 8.95 | 12.67 | 30.20 | 23.77 | 22.06 | 17.48 | 17.87 |

11	Capital Expenditure Plan

CSEZA request the Commission to permit it to file separate and detailed petition for Capital Expenditure for MYT period as the same will require preparation of DPR for expenditure more than Rs.15 Lakh. However, preliminary capital expenditure plan of CSEZA for the MYT control period 2022-23 to 2026-27 are described below for consideration by the Hon’ble Commission.

| Sl. No | Year | Estimated Amount (Rs. in lakh) | Financing Plan |
| --- | --- | --- | --- |
| 1 | 2022-23 | 154.55 | It is proposed to meet the expenditure from the surplus available in CSEZA’s Power Distribution System Account |
| 2 | 2023-24 | 73.00 |  |
| 3 | 2024-25 | 95.90 |  |
| 4 | 2025-26 | 52.50 |  |
| 5 | 2026-27 | 38.73 |  |
| 6 | Total For MYT period | 414.68 |  |

Summary of the plan expenditure is given below:

| Sl. No | Description of works | Estimated amount (Rs.) | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | Expected Date of Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Supply, Installation, Testing and Commissioning of Smart Energy meters and prepaid energy management system. Which includes replacement of existing Energy meters with new and establishing communication facility with BEE portal as per the latest BEE regulation. | 1,50,79,640 (1,45,89,640 for smart meters + 4,90,000 for software) | 1,50,79,640 |  |  |  |  | 30-09-2023 |
| 2 | SITC of New ACB Buscoupler for the Distribution Transformers 1 & 2 at SDF 17 | 21,50,000 |  |  |  | 21,50,000 |  | 30-09-2025 |
| 3 | Procurement of 1 No. 11/ 0.433KV 500 KVA USS Transformer as spare in Power distribution system. | 12,00,000 |  |  |  | 12,00,000 |  | 31-08-2025 |
| 4 | Replacement of section A side of 11 KV VCB Panel including Section A Incomer & Aux Transformer | 93,00,000 |  |  | 93,00,000 |  |  | 31-12-2024 |
| 5 | Replacement of section - B, 11 KV panel at 110 KV substation Including Section B Incomer and Bus coupler | 73,00,000 |  | 73,00,000 |  |  |  | 31-12-2023 |
| 6 | Replacement of distribution UG cable (11KV 3Cx 240 Sq.mm unearthed XLPE Aluminium cable) | 19,00,000 |  |  |  | 19,00,000 |  | 30-09-2025 |
| 7 | Procurement of thermal imaging camera | 1,50,000 | 1,50,000 |  |  |  |  | 31-01-2023 |
| 8 | Replacing of 30V,100Ah battery bank for control system of 1250KVA No1 Transformer at SDF 17-Tr1 | 75,000 |  |  |  |  | 75,000 | 31-10-2026 |
| 9 | Replacing of 30V,100Ah battery bank for control system of 1250KVA No1 Transformer at SDF 17 -Tr2 | 75,000 | 75,000 |  |  |  |  | 31-01-2023 |
| 10 | Replacing of 30V,100Ah battery bank for control system of 1250KVA distribution transformer at SD 43 | 75,000 |  |  |  |  | 75,000 | 31-10-2026 |
| 11 | Replacing of 110V,120Ah battery bank for control system of 110KV substation | 2,15,000 |  |  | 2,15,000 |  |  | 31-10-2024 |
| 12 | Replacing of 12V SMPH battery bank for5KVA UPS | 75,000 |  |  | 75,000 |  |  | 31-10-2024 |
| 13 | Purchase of Computers -2 Nos. | 1,50,000 | 1,50,000 |  |  |  |  | 31-12-2022 |
| 14 | SITC of HT cable for new Ring in 110 KV Substation | 37,22,990 |  |  |  |  | 37,22,990 | 31-12-2026 |
| Total |  |  | 1,54,54,640 | 73,00,000 | 95,90,000 | 52,50,000 | 38,72,990 |  |
| Total for MYT period from 2022-23 to 2026-27 |  |  | 4,14,67,630 |  |  |  |  |  |

A detailed note on Capital Expenditure Plan is attached as Annexure-D to this petition. Form D 4.2 may be referred for details of consolidated report of Asset Additions proposed during the control period.

12	Depreciation

Depreciation expenditure for the Control Period from FY 2022-23 to FY 2026-27 has been computed in accordance with Regulation 27 of KSERC (Terms and Conditions for Determination of Tariff) Regulations, 2021 and also considering the asset-class wise depreciation rates as provided under the said Regulations.  In addition to the yearly depreciation for existing assets, depreciation for new assets added also has been considered .In respect of the assets expected to be added during the years in the Control Period, depreciation has been considered from the date of capitalization expected in that year. Form D 3.5 may be referred for fixed assets and depreciation.

| Particulars | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 |
| --- | --- | --- | --- | --- | --- |
| Depreciation on assets (Rs. in lakh) | 101.82 | 110.41 | 114.30 | 117.89 | 119.42 |

13	Return on Equity/Investment

Return on NFA for the MYT control period 2022-23 to 2026-27 has been computed as per Regulation 28 of KSERC (Terms and Conditions for Determination of Tariff) Regulations, 2021 return on NFA has been claimed as 5.5 % of NFA at the beginning of the financial year. Form D 3.8 may be referred for further details.

| Particulars | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 |
| --- | --- | --- | --- | --- | --- |
| Return on Investment (Rs. In lakh) | 72.06 | 74.97 | 72.90 | 71.92 | 68.32 |

14	Aggregate Revenue Requirement

Aggregate Revenue Requirement (ARR) for the control period starting from FY 2022-23 to FY 2026-27 is given below:

(Rs. in lakh)

| Particulars | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 |
| --- | --- | --- | --- | --- | --- |
| Cost of power purchase | 3503.67 | 3565 | 3589.94 | 3589.49 | 3589.03 |
| O&M Expenses | 229.40 | 216.45 | 228.49 | 229.83 | 237.11 |
| Depreciation | 101.82 | 110.41 | 114.30 | 117.89 | 119.42 |
| Return on Equity | 72.06 | 74.97 | 72.90 | 71.92 | 68.32 |
| Total Aggregate Revenue Requirement | 3906.96 | 3966.84 | 4005.63 | 4009.13 | 4013.87 |

15	Expected Revenue from Charges

Expected Revenue from Charges for the control period starting from FY 2022-23 to FY 2026-27 are as under:

(Rs. in lakh)

| Particulars | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY 2026-27 |
| --- | --- | --- | --- | --- | --- |
| Revenue from Sale of Power | 3808.54 | 3869.26 | 3894.66 | 3894.66 | 3894.66 |
| Other Income (Non-Tariff income) | 68.64 | 68.79 | 71.48 | 72.98 | 76.39 |
| Expected Revenue from Charges | 3877.18 | 3938.05 | 3966.14 | 3967.64 | 3971.05 |

16	Revenue Gap/Surplus

Revenue Gap/Surplus for the first control period is given as under:

(Rs. in lakh)

| Particulars | FY 2022-23 | FY 2023-24 | FY 2024-25 | FY 2025-26 | FY2026-27 |
| --- | --- | --- | --- | --- | --- |
| Aggregate Revenue Requirement | 3906.96 | 3966.84 | 4005.63 | 4009.13 | 4013.87 |
| Expected Revenue from Charges | 3877.18 | 3938.05 | 3966.14 | 3967.64 | 3971.05 |
| Revenue Gap | 29.78 | 28.79 | 39.49 | 41.49 | 42.82 |

PRAYERS TO THE HON’BLE COMMISSION

- CSEZA respectfully prays that the Hon’ble Commission may accept the MYT Petition for the control period 2022-23 to 2026-27in accordance with the principles contained in the Kerala State Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff) Regulations, 2021.

- CSEZA further respectfully submits that the Hon’ble Commission may be pleased to approve the projections of operational parameters, additional capitalization proposed for MYT proposal for FY 2022-23 to 2026-27.

- CSEZA respectfully seeks an opportunity to present its case prior to the finalization of the Tariff Order.

- CSEZA may also be permitted to propose suitable changes to the Petition and the mechanism of meeting the revenue requirement on further analysis, prior to the final approval by the Hon’ble Commission.

- CSEZA may be permitted additional time for submitting separate Employee Expenses and Capital Expenditure petitions for the approval of the Hon’ble Commission.

- CSEZA for the time being has projected certain O & M Expenses for the Control Period. However, if any one time and emergency expenses not planned now which may have to be incurred may also be allowed by Hon’ble Commission at the time of truing up.

- The Capital Expenditure plan proposed is based on the present planning and estimation. However, if any additional capital expenditure may have to be incurred during the control period, CSEZA may be allowed to submit separate proposal for consideration of the Hon’ble Commission.

- CSEZA requests the Hon’ble Commission to condone any inadvertent omissions/errors/rounding off difference/shortcomings and permit CSEZA to add/alter this filing and make further submissions as may be required at a future date.

- Pass such further and other orders, as the Hon’ble Commission may deem fit and proper, keeping in view of the facts and circumstances of the case.

- CSEZA further requests that the bulk supply tariff for CSEZA may suitably be fixed to cover the revenue gap projected in the petition.

……………..