Kochi

16. 08. 2022

FORM 1

[See Regulation 24(3)]

General Heading for petitions

BEFORE THE KERALA STATE ELECTRICITY

REGULATORY COMMISSION

PETITION NO.

IN THE MATTER OF:

Petition for Single Point Supply and Sharing of Electricity Charges for M/s. Lulu Cyber Park Pvt. Ltd under Regulation 56, sub regulation (2) of Kerala State Electricity Supply Code 2014.

Reference:

- Electricity Act 2003

- Kerala State Electricity Regulatory Commission (Conduct of Business) Third Amendment Regulation, 2014.

- Kerala State Electricity Supply Code, 2014.

- KSERC Order dated 21.12.2017 on OP No. 06/2017.

# KINESCO Power and Utilities Private Limited

# Ground Floor, CFC Building, Kinfra Park Office,

# Infopark P.O, Kakkanad.

To,

The Hon’ble Kerala State Electricity Regulatory Commission

Thiruvananthapuram

Sir,

Sub:	Submission of Petition for Single Point Supply and Sharing of Electricity Charges for M/s. Lulu Cyber Park Pvt. Ltd under Regulation 56, sub regulation (2) of Kerala State Electricity Supply Code 2014.

The petitioner respectfully submits as follows:

- The applicant, M/s. Lulu Cyber Park Pvt. Ltd, Infopark, is one of HT Consumer (Consumer No. 110) of KINESCO Power and Utilities Pvt. Ltd.(KPUPL) under HT 1B tariff. This tariff is applicable to IT and IT Enabled Services. The power connection was effected on 23.01.2018 with a contract demand of 2900 KVA. The contract demand was further reduced to 1800 KVA vide agreement no. 21/2020-21 dated 23.07.2020.

- KPUPL had filed a petition dated 09.05.2017 (OP No. 6/2017) for Single Point Supply and sharing of electricity charges under Regulation 56 (2) of Kerala State Electricity Supply code 2014 based on the application submitted by M/s. Lulu Cyber Park Pvt. Ltd, Infopark.

- Hearing on the petition no. OP 6/2017 was conducted on 11.07.2017 in the Court Room of the Hon’ble Commission and based on that, issued an order dated 21.12.2017, in which Hon’ble Commission directed KPUPL to approach the Commission for approval of tariff for single point supply with proper tariff proposal after the infrastructure in the premises made suitable for availing single point supply. (Copy enclosed herewith as Annexure-1)

- M/s. Lulu Cyber Park have modified their installation suitable for availing Single Point Supply and obtained scheme approval vide Letter No. B1-0020/18/EIE dated 08.05.2019 from Electrical Inspectorate (submitted herewith as Annexure – 2). The energisation sanction order from Electrical Inspectorate has also been obtained vide Letter No. B1-22917/18/EIE dated 15.09.2020 (submitted herewith as Annexure – 3).

- They have also submitted the details of individual beneficiary connections and consumptions in M/s. Lulu Cyber Tower for the years from 2017-18 to 2020-21 (4 years) (submitted herewith as Annexure – 4). Hon’ble Commission may kindly be noted that as per the details submitted by M/s. Lulu Cyber Park Ltd, approx. 97.22% of the power is shared by the common utility loads and IT companies who are the tenants at Cyber Park. The percentage share of power for Commercial establishments like Banking and Restaurants comes to 2.78 %. The details of contract demand and percentage share of Demand & Energy by various categories of consumers as submitted by M/s. Lulu Cyber Park Ltd, are shown in tables 1 & 2 below.

Contract Demand of M/s. Lulu Cyber Park Ltd – 1800 KVA

Existing Tariff Category – HT IB (IT & ITES)

Table – 1 – Details of Contract Demand and percentage share

| Sl. No. | Type of Business | Total Contract Demand (KVA) | % ge Share on Recorded Demand |
| --- | --- | --- | --- |
| 1. | IT Companies | 758 | 42.11 % |
| 2. | Banking & Restaurant Service | 50 | 2.78 % |
| 3. | Common Facility Loads | 992 | 55.11 % |

Table – 2 – Details of Energy Consumption for the years from 2017-18 to 2020-21

| Sl. No. | Type of Business | % Share on Energy Consumption |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2017-18 | 2018-19 | 2019-20 | 2020-21 | Average |
| 1. | IT Companies | 52.45 % | 50.79 % | 47.97 % | 52.43 % | 50.91 % |
| 2. | Banking & Restaurant Service | 2.57 % | 2.35 % | 2.48 % | 1.34 % | 2.19 % |
| 3. | Common Facility Loads | 44.98 % | 46.85 % | 49.54 % | 46.23 % | 46.90 % |

- Under these circumstances, we hereby recommend that Hon’ble Commission may kindly accord sanction to M/s. Lulu Cyber Park Ltd for availing power under Single Point Supply.

- Hon’ble Commission may kindly consider the following points while fixing the tariff for M/s. Lulu Cyber Park for Single Point Supply.

- The existing tariff applicable to M/s. Lulu Cyber Park is under HT I B, ie. Rs. 410 per KVA as Demand Charge and Rs. 6.60 per KWh as Energy Charges as per the schedule of tariff issued by Hon’ble Commission with effect from 26.06.2022.

- As per the details furnished by M/s. Lulu Cyber Park for the years from 2017-18 to 2020-21, 42.11% of the demand is shared by the IT Companies and the balance 57.89% of the demand is shared by Common Facility Loads, Banking and Restaurant Services together. Moreover, considering the share of energy consumption, an average of 50.91 % of the total energy consumption is shared by in-house IT Companies and the balance 49.09% of the total energy consumption is shared by Common Facility, Banking and Restaurant Services together for the years from 2017-18 to 2020-21.

- The Hon’ble Commission may kindly note that the BST rates applicable to KPUPL is Rs.380 per KVA as Demand Charge and Rs.6.15 per KWh as Energy Charge as per the schedule of tariff issued by Hon’ble Commission with effect from 26.06.2022 while the tariff applicable to M/s. Lulu Cyber Park is Rs. 410 per KVA as Demand Charge and Rs. 6.60 per KWh as Energy Charges (HT I B tariff).

- There is a mixture of tariff among the tenants in the building of M/s. Lulu Cyber Park like LT IV B (IT&ITES), LT VII A (Commercial) etc. Currently, being an HT consumer, they are remitting electricity duty under section – 4 at a rate of 10 paise per unit of energy consumed. If the individual tenants pay electricity duty under section – 4 to Govt. of Kerala, they would have charged 10% of energy charge towards duty. The same has been intimated by Electrical Inspectorate during their audit conducted at KPUPL. Hence if the Single Point Consumer remits electricity duty according to the units consumed, there will be a duty loss to Govt. of Kerala. Hence, Hon’ble Commission may consider the following requests in the matter of Electricity Duty.

- Single Point Consumer may remit the electricity duty under section-4 according to the energy charges instead of units consumed to avoid duty loss to Government.

- Since the Single Point Consumer is distributing the energy in their premises, they shall pay electricity duty under section – 3 on the energy consumed as per Kerala Electricity Duty Act 1963.

- Single Point Consumer shall collect the electricity duty under section-4 from its consumers and remit the same to the respective distribution licensee in accordance with the provisions of the Kerala Electricity Duty Act-1963 and the rules made thereunder.

- The Single Point Consumer shall collect, on a no profit no loss basis, the cost of energy consumed by the individual beneficiaries. The monthly account statement of energy sale and purchase should be made available to the licensee to ensure that no burden has put on the consumer by over billing.

- The licensee shall have the right to inspect the Single Point Supply premise to ensure that any misuse of tariff, any unauthorized extension of load etc. are not happening at the premises. The Single Point Consumer shall adhere with the Indian Electricity Act-2003 and Kerala Electricity Supply Code–2014 for issuing power to its tenants.

- The tariff for the sale of power by the Single Point Consumer to its consumers (tenants) within the single point area shall not exceed the tariff fixed by the Hon’ble KSERC.

- All the electrical installations including individual establishments to which supply is given by the Single Point Consumer shall be subjected to the inspection, testing and approval by the Electrical Inspector as provided by the Indian Electricity Act 2003 and Kerala Electricity Supply Code, 2014. Also, any load addition or deletion in the connected load by any individual consumer or the Single Point Consumer shall be made only after the scheme approval and energization sanction by Electrical Inspectorate.

- The Single Point Consumer is bound to supply electricity to all the tenants of the building. The licensee (KPUPL) shall have the right to use the building network to supply to a tenant in the building if the Single Point Consumer denies the connection to that particular tenant.

- Under these circumstances, Hon’ble Commission may kindly fix the ToD tariff at least to the existing Bulk Supply Tariff (BST) applicable for KPUPL plus wheeling charges as per the prevailing rates to M/s. Lulu Cyber Park Ltd for Single Point Supply, considering the transmission and distribution loss incurred by the licensee.

| Sl. No. | Item | Tariff |
| --- | --- | --- |
| 1. | Existing Tariff of M/s. Lulu Cyber Tower - 1 (HT I B (IT & ITES)) | Ref: Tariff order w.e.f. 26.06.2022 |
|  | - Demand Charges (Rs. per KVA of Billing Demand / Month) | 410 |
|  | - Energy Charges (Rs./KWh)(ToD Billing) | 6.60 |
| 2. | Proposed Tariff (Single Point Supply) under ToD Tariff | Ref: Tariff order w.e.f. 26.06.2022 |
|  | - Demand Charges (Rs. per KVA of Billing Demand / Month) | 380 (BST of KPUPL) |
|  | - Energy Charges (Rs./KWh)(ToD Billing) | 6.15 (BST of KPUPL) |
|  | - Wheeling Charges (Rs./KWh) | 0.61 |
|  | - Electricity Duty u/s -3 (Rs./KWh) | 0.06 |

Hon’ble Commission may kindly allow KPUPL to collect demand charge at a rate of Rs. 380/- per KVA (BST of KPUPL) and energy charges at a rate of Rs. 6.15/- per KWh (BST of KPUPL) on ToD tariff from Single Point Consumer. In addition to this Hon’ble Commission may also allow KPUPL to collect wheeling charges and electricity duty u/s – 3 for the units consumed by the single point consumer at the prevailing rates as per tariff order and Kerala Electricity Duty Act 1963 through the monthly bill issued from KPUPL.

Prayer

This petition is placed before the Hon’ble Commission with a prayer to consider the application submitted by M/s. Lulu Cyber Park Ltd, Infopark, Kakkanad for Single Point Supply License to their Building, Lulu Cyber Tower No. 1.

- Hon’ble Commission may allow Single Point Supply and Sharing of Electricity Charges for M/S. Lulu Cyber Park Pvt. Ltd Infopark, Kakkanad for their building their Building, Lulu Cyber Tower No. 1 under Regulation 56, sub regulation (2) of Kerala State Electricity Supply Code 2014.

- Hon’ble Commission may fix at least to the existing Bulk Supply Tariff (BST) applicable for KPUPL as ToD tariff of the Single Point Consumer plus wheeling charges and electricity duty u/s – 3 for the units consumed by the single point consumer at the prevailing rates as per the latest tariff order and Kerala Electricity Duty Act 1963 through the monthly bill issued from KPUPL.

- Hon’ble Commission may grant permission to collect, on a no profit no loss basis, the cost of energy consumed by the individual beneficiaries (tenants) as per the retail tariff fixed by the Commission from time to time.

- Single Point Consumer shall pay the electricity duty under section-4 according to the energy charges instead of units consumed to avoid duty loss to Government.

- Single Point Consumer shall pay monthly, electricity duty under section – 3 on the energy consumed as per Kerala Electricity Duty Act 1963, since they are distributing the energy in their premises.

- Single Point Consumer shall collect the electricity duty under section-4 from its consumers and remit the same to distribution licensee monthly in accordance with the provisions of the Kerala Electricity Duty Act-1963 and the rules made thereunder.

- Hon’ble Commission authorize the distribution licensee KPUPL to inspect the Single Point Supply premise to ensure that any misuse of tariff, any unauthorized extension of load etc. are not happening at the Single Point Supply premises.

- Hon’ble Commission may direct M/s. Lulu Cyber Park to adhere with the Indian Electricity Act-2003 and Kerala Electricity Supply Code–2014 for Single Point Supply and Sharing of Electricity Charges to its tenants.

T. M. Ajithkumar

Chief Executive Officer